### Supplementary Document: Pre-Installation LIMS Implementation Self-Assessment Checklist

This checklist is designed to ensure all necessary preparations are made prior to the installation of a Laboratory Information Management System (LIMS), and that the choice of system is appropriate for the context. It covers critical aspects required for a successful and sustainable deployment.

#### 1. Financial Investment

Initial Costs:

- Does the LIMS vendor have a clearly communicated total cost for software purchase?

- Does the laboratory have adequate budget to cover the cost of purchasing necessary hardware?

- Are initial setup services and vendor technical support included in the purchase cost?

- Was the procurement process transparent and did it follow best practices?

Ongoing Costs:

- Have all recurring expenses such as software licenses been outlined and clearly described?

- Are ongoing maintenance fees for hardware and software documented and budgeted for?

- Does the laboratory have a plan to cover technical support services costs?

- Is there a plan for ongoing training and professional development costs for relevant staff?

- Has a financial sustainability plan been developed to ensure ongoing costs will be covered?

Funding Sources:

- Has the laboratory secured budget allocation from the government to cover initial and ongoing costs?

- Are international grants and private sector contributions identified and secured?

- Is there a documented plan for a gradual funding transition from external donors to the Ministry of Health?

#### 2. Infrastructure

Power Supply:

- Does the facility always have a reliable and stable power supply?

- If not, are backup generators available and functional?

- Are there measures in place to mitigate power outages, such as UPS systems for critical equipment?

Internet Connectivity:

- Does the facility have a high-quality and reliable internet connection, including adequate speed and uptime?

- Has the laboratory measured bandwidth, latency, and frequency of internet disruptions, and factored this in?

- Is there a plan to upgrade to a fibre optic or satellite connection to improve internet reliability and speed?

- Does the laboratory have service level agreements with internet providers to ensure continuous internet service for LIMS operation if required?

#### 3. Human Resources

Technical Expertise:

- Does the laboratory have access to IT support staff with the necessary skills for LIMS maintenance?

- Are current skill levels of IT support staff assessed through skills assessments?

- Have training needs for IT staff been identified to ensure adequate support for the LIMS?

- Is there a training program developed and implemented for IT staff focused on LIMS maintenance and troubleshooting?

Scientific Expertise:

- Are laboratory personnel familiar with microbiology workflows relevant to LIMS requirements?

- Have ‘super users’ been identified and trained in each department to lead LIMS customisation and first-line support efforts?

- Is there a continuous training program developed and implemented for laboratory personnel to handle LIMS updates and new functionalities?

Training Programs:

- Are initial setup training programs developed and implemented for all LIMS users?

- Are ongoing education and professional development programs in place to keep staff updated on system changes?

- Are regular training sessions planned and conducted to ensure all staff are proficient with the LIMS?

#### 4. System-wide Integration

Compatibility:

- Is the LIMS compatible with existing laboratory equipment, including analysers and automated systems?

- Has the facility conducted testing to ensure successful interfacing with automated antimicrobial susceptibility testing (AST) systems?

Data Exchange:

- Are interfaces established and tested for seamless data exchange between the LIMS and other hospital systems, if available?

- Are data formats standardised to ensure compatibility and integration?

- Are protocols and workflows developed for efficient data integration and transfer?

Workflow Automation:

- Are routine tasks identified that can be automated using the LIMS?

- Is barcode scanning implemented for efficient sample tracking and management?

- Is automated result reporting set up to minimise manual data entry and errors?

#### 5. Regulatory Requirements

Compliance:

- Does the LIMS comply with relevant local and international regulatory requirements, including data protection policies?

- Has the facility conducted a review to ensure alignment with data protection standards such as General Data Protection Regulation (GDPR)?

Data Security:

- Are strong data security measures implemented, including user authentication and access control levels?

- Is data encryption ensured for sensitive information?

- Are regular security audits conducted to identify and mitigate potential vulnerabilities?

#### 6. Appropriateness for Microbiology

Antimicrobial Testing Standards:

- Is the LIMS configured to support international standards for AST (e.g., EUCAST, CLSI)?

- Are breakpoints and interpretive criteria regularly updated in the system?

Customisable Reporting:

- Can the system generate customisable reports for microbiology results?

- Are templates for different types of reports able to be developed and set up based on user needs?

- Do the reports meet the clinical and operational requirements of both laboratory staff and clinicians?

Data Management:

- Can the system handle the complex data structures inherent in microbiology results?

- Can the LIMS manage qualitative, semi-qualitative, and quantitative data?

- Can the system manage multiple organisms and their respective susceptibility profiles within a single sample?

- Are customisable expert rules and comments for interpreting antimicrobial breakpoints implemented and easily utilised?