Additional Table 2. Proportion of public health care facilities where specific technologies were always or generally available

| Technologies | Primary public health care facilities |  |  | Secondary public health care facility |  |
| --- | --- | --- | --- | --- | --- |
|  | Urban N = 257 | Rural N = 280 | Total N = 537 | CHC N = 415 | DH N = 335 |
|  | % (95% CI) |  |  |  |  |
| Cardio-vascular diseases |  |  |  |  |  |
| Adult Weighing Scale | 98.8 (96.4-99.6) | 97.5 (94.8-98.8) | 98.1 (96.6-99.0) | 99.0 (97.5-99.6) | 99.1 (97.3-99.7) |
| Stadiometer | 67.7 (61.7-73.2) | 61.8 (55.9-67.3) | 64.6 (60.5-68.6) | 77.3 (73.1-81.1) | 88.1 (84.1-91.1) |
| Measuring Tape | 67.7 (61.7-73.2) | 76.4 (71.1-81.0) | 72.3 (68.3-75.9) | 80.5 (76.4-84.0) | 84.2 (79.9-87.7) |
| Blood Pressure measuring device | 99.6 (97.3-99.9) | 99.6 (97.5-100.0) | 99.6 (98.5-99.9) | 99.8 (98.3-100.0) | 100.0 (100.0-100.0) |
| Cardiac Monitor | 2.7 (1.3-5.6) | 3.6 (1.9-6.5) | 3.2 (2.0-5.0) | 33.7 (29.3-38.4) | 81.2 (76.6-85.0) |
| Defibrillator | 2.7 (1.3-5.6) | 3.9 (2.2-7.0) | 3.4 (2.1-5.3) | 25.1 (21.1-29.5) | 72.8 (67.8-77.3) |
| Electrocardiograph (ECG) machine | 16.3 (12.3-21.4) | 11.1 (7.9-15.3) | 13.6 (10.9-16.8) | 68.2 (63.5-72.5) | 96.7 (94.2-98.2) |
| 12 Channel stress ECG Tread Mill | NA | NA | NA | 7.5 (5.3-10.4) | 30.4 (25.7-35.6) |
| ECG Roll | 14.8 (10.9-19.7) | 8.2 (5.5-12.1) | 11.4 (8.9-14.3) | 47.2 (42.5-52.1) | 86.3 (82.1-89.6) |
| Reagents /kits for Lipid profile | 16.0 (12.0-21.0) | 8.9 (6.1-12.9) | 12.3 (9.8-15.4) | 37.6 (33.0-42.4) | 68.7 (63.5-73.4) |
| Chronic Respiratory Diseases |  |  |  |  |  |
| Nebulizer | 51.4 (45.2-57.4) | 70.0 (64.4-75.1) | 61.1 (56.9-65.1) | 91.3 (88.2-93.7) | 98.5 (96.5-99.4) |
| Oxygen mask | 53.7 (47.6-59.7) | 77.5 (72.2-82.0) | 66.1 (62.0-70.0) | 97.6 (95.6-98.7) | 97.9 (95.7-99.0) |
| Oxygen Cylinder | 57.6 (51.4-63.5) | 81.8 (76.8-85.9) | 70.2 (66.2-73.9) | 98.6 (96.8-99.4) | 98.8 (96.9-99.6) |
| Pulse Oximeter | 19.8 (15.4-25.2) | 35.0 (29.6-40.8) | 27.7 (24.1-31.7) | 74.7 (70.3-78.7) | 94.0 (90.9-96.1) |
| Stethoscope | 99.2 (96.9-99.8) | 99.3 (97.2-99.8) | 99.3 (98.0-99.7) | 99.5 (98.1-99.9) | 100.0 (100.0-100.0) |
| Diabetes Mellitus |  |  |  |  |  |
| Glucometer | 80.5 (75.2-84.9) | 81.8 (76.8-85.9) | 81.2 (77.7-84.3) | 93.5 (90.7-95.5) | 93.7 (90.6-95.9) |
| Biochemical Analyzer | 26.5 (21.4-32.2) | 21.4 (17.0-26.6) | 23.8 (20.4-27.6) | 61.2 (56.4-65.8) | 93.1 (89.9-95.4) |
| Reagents/ kits for Glucose test | 28.8 (23.6-34.6) | 24.3 (19.6-29.7) | 26.4 (22.9-30.4) | 57.3 (52.5-62.0) | 80.9 (76.3-84.8) |
| Lancets | 81.3 (76.1-85.6) | 81.4 (76.4-85.6) | 81.4 (77.8-84.5) | 87.2 (83.7-90.1) | 89.3 (85.5-92.2) |
| Glucostrips | 69.3 (63.3-74.6) | 70.7 (65.1-75.8) | 70.0 (66.0-73.8) | 82.4 (78.4-85.8) | 89.6 (85.8-92.4) |
| Urine strips (Protein) | 59.5 (53.4-65.4) | 66.1 (60.3-71.4) | 62.9 (58.8-66.9) | 86.5 (82.9-89.5) | 94.9 (92.0-96.8) |
| Miscellaneous |  |  |  |  |  |
| Infusion set | 62.6 (56.5-68.4) | 75.7 (70.3-80.4) | 69.5 (65.4-73.2) | 91.8 (88.7-94.1) | 94.9 (92.0-96.8) |
| Laryngoscope | 18.7 (14.4-23.9) | 29.6 (24.6-35.3) | 24.4 (20.9-28.2) | 71.6 (67.0-75.7) | 88.7 (84.8-91.6) |
| Adult ambu bag | 38.5 (32.8-44.6) | 72.1 (66.6-77.1) | 56.1 (51.8-60.2) | 90.6 (87.4-93.1) | 96.1 (93.4-97.7) |
| Torch/ Examination light | 83.7 (78.6-87.7) | 84.3 (79.5-88.1) | 84.0 (80.6-86.9) | 88.9 (85.5-91.6) | 91.6 (88.2-94.2) |
| Vaginal Speculum | 63.0 (56.9-68.7) | 75.7 (70.3-80.4) | 69.6 (65.6-73.4) | 90.4 (87.1-92.9) | 83.6 (79.2-87.2) |
| Microscope | 73.9 (68.2-78.9) | 77.9 (72.6-82.4) | 76.0 (72.2-79.4) | 97.1 (95.0-98.4) | 99.7 (97.9-100.0) |
| X-Ray Machine | NA | NA | NA | 72.5 (68.0-76.6) | 98.8 (96.9-99.6) |
| Ultrasound | NA | NA | NA | 38.6 (34.0-43.3) | 94.3 (91.3-96.4) |
| CAT Scan | NA | NA | NA | 4.1 (2.6-6.5) | 48.1 (42.7-53.4) |

* NA- Not available