Additional file 3

Questionnaire

| Unique identifier |  |
| --- | --- |
| Name of PHC clinic |  |
| Name of District |  |
| Name of sub-district |  |
| Name of Community |  |
| Condition of road network | Non-pliable road [ ] Poor road but pliable [ ] Good road [ ] |
| Availability of air-conditioned storage room | Yes [ ] No [ ] |
| Date |  |

- Socio-demographic information

Age (years):

Sex: Male [ ] Female [ ]

Level of education: Certificate [ ] Diploma [ ] Degree [ ] Masters [ ] Ph.D. [ ]

Occupation/ profession:

Professional rank/cadre:

Total years of working experience:

Years of working in this clinic:

Leadership position (if any):

| - Audit 1 (hands-on) | Yes | No | N/A | Comment |
| --- | --- | --- | --- | --- |
| - Did the study participant wash hands and dried before starting to test? |  |  |  |  |
| - Did the study participant read/use the information sheet or test insert? |  |  |  |  |
| - Was it difficult for the study participant to remove the test device from the foil pouch? |  |  |  |  |
| - Did the study participant successfully place material on a flat surface and open all pouches? |  |  |  |  |
| - Did the study participant wear examination gloves? |  |  |  |  |
| - Did the study participant label the test kit? |  |  |  |  |
| - Did the study participant correctly choose the ring or middle finger? |  |  |  |  |
| - Did the study participant massage and warm their hands? |  |  |  |  |
| - Did the study participant clean the finger with an alcohol swab and let it dry? |  |  |  |  |
| - Did the study participant successfully press down firmly to prick their skin? |  |  |  |  |
| - Did the study participant safely discard the lancet? |  |  |  |  |
| - Did the study participant successfully wipe away the first drop of blood with tissue and then rub it to create a second large drop of blood? |  |  |  |  |
| - Did the study participant use the specimen dropper to collect the drop of blood? |  |  |  |  |
| - Did the study participant collect the blood up to the marked ring of the specimen dropper (10µl)? |  |  |  |  |
| - Did the study participant successfully dispense the whole blood into the round specimen well (marked ‘S’) of the device? |  |  |  |  |
| - Did the study participant safely discard the used specimen dropper? |  |  |  |  |
| - Was the study participant able to easily turn the cap to open the assay diluent? |  |  |  |  |
| - Did the study participant dispense exactly 4 drops of the assay diluent into the same round well of the device? |  |  |  |  |
| - Did the study participant close the cap of the assay diluent after use? |  |  |  |  |
| - Did the study participant read the test results within the stipulated time (5-20 mins)? |  |  |  |  |
| - Did the study participant interpret the results correctly? |  |  |  |  |
| - Did the study participant safely discard the used test kit? |  |  |  |  |
| - If invalid results were obtained, did the study participant attempt to retest? |  |  |  |  |

| - Audit 2 (User-perception) | Very easy | Easy | Not easy |
| --- | --- | --- | --- |
| - Reading/using the information sheet or test insert |  |  |  |
| - Removing the test device from the foil pouch |  |  |  |
| - Sample collection using finger prick |  |  |  |
| - Collecting the drop of blood with the specimen dropper |  |  |  |
| - Dispensing the whole blood into the round specimen well (marked ‘S’) of the device |  |  |  |
| - Opening the cap of the assay diluent |  |  |  |
| - Dispensing the assay diluent into the same well of the device? |  |  |  |
| - Timing the test |  |  |  |
| - Reading the test results |  |  |  |
| - Interpreting the test results |  |  |  |

| - The System Usability Scale (SUS)-Quantitative | Strongly Disagree | Disagree | Neutral | Agree | Strongly Agree |
| --- | --- | --- | --- | --- | --- |
|  | 1 | 2 | 3 | 4 | 5 |
| - I think that I would like to use this test frequently. |  |  |  |  |  |
| - I found the test unnecessarily complex. |  |  |  |  |  |
| - I thought the test kit was easy to use. |  |  |  |  |  |
| - I think that I would need the support of a technical person to be able to use this test. |  |  |  |  |  |
| - I found the various functions in this test were well integrated. |  |  |  |  |  |
| - I thought there was too much inconsistency in this test. |  |  |  |  |  |
| - I would imagine that most people would learn to use this test very quickly. |  |  |  |  |  |
| - I found the test very awkward to use. |  |  |  |  |  |
| - I felt very confident using the test. |  |  |  |  |  |
| - I needed to learn a lot of things before I could get going with this test. |  |  |  |  |  |

| - Inter-reader concordance (Test on each other) |  |  |
| --- | --- | --- |
| Participant's HCV POC test result | Researcher’s HCV POC test results | Comment |
| Inter-operator concordance |  |  |
| Participant’s HCV POC test result | Researcher’s HCV POC test results | Comment |

| - Inter-reader concordance (Random standard blood sample) |  |  |
| --- | --- | --- |
| Participant’s HCV POC test result | Researcher’s HCV POC test results | Comment |
| Inter-operator concordance |  |  |
| Participant’s HCV POC test result | Researcher’s HCV POC test results | Comment |

Thank you for taking the time to respond to this questionnaire.