Table S10. Regular PCR reaction system

| Components (50 μL) | Volume(μL) |
| --- | --- |
| PrimerStar Buffer | 10 |
| dNTPs (2.5 mM) | 4 |
| Primer-F (10 μM) | 1 |
| Primer-R (10 μM) | 1 |
| Template | 1 |
| PrimerStar | 0.5 |
| ddH2O Annealing temperature | 32.5 58℃ |

Table S11. Double enzyme reaction system

| Components (50 μL) | Volume (μL) |
| --- | --- |
| 10 x Q.cut buffer | 5 |
| EcoRI | 1.5 |
| PstI | 1.5 |
| ddH2O | 1 |

(Reaction condition: 37℃ 30 ~ 40 min)

Table S12. Ligation system

| Components (10 μL) | Volume (μL) |
| --- | --- |
| T4 ligase | 1 |
| T4 ligase buffer | 4 |
| Linearized Vector | 0.5 |
| Insert Gene | 4.5 |

Table S13. In-Fusion system:

| Components | Volume |
| --- | --- |
| 5X In-Fusion HD Enzyme Premix | 2 μL |
| Linearized Vector * | 50 ~ 200 ng |
| Purified PCR segments** | 10 ~ 200 ng |
| dH2O(deionized water) | Total 10 μL |

Notes: * < 10 kb: 50 ~ 100 ng, > 10 kb: 50 ~ 200 ng; ** < 0.5 kb: 10 ~ 50 ng, 0.5 kb ~ 10 kb: 50ng ~ 100ng, >10 kb: 50 ng ~ 200 ng

Table S14. Protocol for M9 minimal medium preparation.

| Volume | Agent | Component | Concentration |
| --- | --- | --- | --- |
| 200 mL | 5X stock | Na2HPO4 | 30 g/L |
|  |  | KH2PO4 | 15 g/L |
|  |  | NaCl | 2.5 g/L |
|  |  | NH4Cl | 5 g/L |
|  |  | CaCl2 (Optional) | 15 mg/L |
| 1 mL | MgSO4·7H2O | -- | 1 M |
| 10 mL | Carbon source | Sugar or glycerol | 20% |
| 0.1 mL | Vitamin B1 | -- | 0.5% |
| 5 mL | Casamino Acids | -- | 20% |
| Case dependent | Ampicillin | 100 μL/mL |  |

Notes: Filter sterilization for all micronutrients is recommended, and add sterilized water to final volume of 1 liter.

Table S15. Instrument setting of the plate reader for fluorescence measurement.

| Instrument | FlexStation 3 |
| --- | --- |
| Measurement Type | Endpoint |
| Read Mode | RFUs, Top read |
| Wavelength | Emission: 518nm |
|  | Excitation:485nm |
| Cutoff | Auto |
| Sensitivity | 6 flashes per well |
| PMT settings | Auto |
| Autocalibrate | On |