Table S2: Program settings for re-arraying.

| Setting | Value |
| --- | --- |
| Volume | 40 µL |
| Pipetting tool | TS_300 |
| Transfer type | Pipette |
| Use filter tips | True |
| Change tips | Before each aspiration |
| Aspiration | Default |
| Dispensing | Dispense from defined height: 10.0 mm from bottom. No additional movement. |
| Mix before aspirating | False |
| Mix after dispensing | False |
| Standard liquid type | Protein |
| Change parameter | Yes (modified) |
| Aspiration speed | 7 mm/s |
| Dispensing speed | 7 mm/s |
| Blow delay | 0 ms |
| Blow speed | 11 mm/s |
| Immersion depth aspiration | -3 mm |
| Immersion depth dispense | 3 mm |
| Initial stroke | 0 % |
| Blow movement | 0 % |
| Prewetting | 0 cycles |