[bookmark: _GoBack][bookmark: OLE_LINK1]Table S4 Retention times, diagnostic MRM transitions and optimized instrument settings (Retention Time, RT; Collision Energy, CE; Dwell Time, DT)
	Analytes
	RT (min)
	ESI mode
	Precursor ion > product ion
	CE (eV)
	DT (msec)

	tryptophan
	3.79
	+
	205.25>143.05
	-32
	0.493

	indolecarboxylic acid
	3.912
	-
	160.10>40.15
	41
	0.493

	 indoleacetic acid
	3.58
	+
	176.15>116.15
	35
	0.493

	indolepropionic acid
	4.984
	+
	190.10>116.25
	40
	0.493

	indoleacrylic acid
	5.12
	+
	188.05>170.15
	-13
	0.493

	Indole
	5.024
	+
	118.10>65.1
	-33
	0.493

	5-Hydroxyindole-2-carboxylic acid (IS)
	6.083
	-
	176.05>115.20
	38
	0.493



