## Index_Abbreviation
Additional Excel File 1: Contains all data collected during the experiments, organized into separate sheets.
Sheet1_Experimental_Data: Analyzed data and tables.
Hydrophone Position: Test-tube measurements at different frequencies, with hydrophones placed in two different positions.
First H1 and H2 is inserted into the water column within the tube (IN water column) and second H1 and H2 got positioned with the hydrophone tip level with the inner tube wall (OUT wall level à as during tomography experiments).
All sound pressure levels (SPLs) are reported in dB re 1 μPa.
Signal Generator Setting Data: Experimental tests done using the Img-Tank and the Test-Tank.
Different frequencies and signal generator settings were used (output in Vpp, individual settings)
To see the difference between the output signals measured with the hydrophones H1 and H2, both shakers produced pure tones at different frequencies, with both identical and adjusted settings.
The generator settings were standardized for both tubes (Img-tank and Test-tank). Measurements at the center of the tube were performed exclusively with Test-tube.
Sheet2_Raw_Data_beamline_exp: Raw data used for analysis, categorized by frequency, phases (0° & 180°) and hydrophone (H1, H2, and central hydrophone).
Sheet3_Raw_Data_SiG_setting: Raw data including individual signal generator settings and measurements with both shakers operating simultaneously, measured with Test-Tank, categorized by frequency, phases (0° & 180°) and hydrophone (RT, RB, TC).
Img-Tank: Imaging Tank for beamline experiments with two openings
Test-Tank: Tests for experiments in the five openings
RT: hydrophone referenc position Top located near the upper shaker
RB: hydrophone referenc position bottom, located near the lower shaker
TC: position of the hydrophone located at the center instad of the test-subject
SiG: Signal Generator
SPLs: Sound Pressure Levels
Vpp: Peak-to-peak Voltage

## Sheet1_Experimental_Data
mean Experimental Data | [9 empty] | Table Manuscript (± S.E.)
Frequency (Hz) | No. of experiments | Phase° | Img-Tank - RT SPLs (dB re 1 μPa) | Img-Tank - RB SPLs (dB re 1 μPa) | mean diff. between RT and RB | absolut diff. of raw data between RT and RB | Test-Tank – TC SPLs (dB re 1 μPa) | diff. between center 0°vs180° (test_tank) |  | Frequency (Hz) | No. of experiments | Phase (°) | ET2O-H1 SPLs (dB re 1 μPa) | ET2O-H1 SPLs (dB re 1 μPa) | TT5O – 0° Center SPLs (dB re 1 μPa)
|  |  | mean | mean |  |  | mean
450 | 9 | 0 | 158.3 | 158.3 | 0 | 0.1 | 162.4 | 15.2667 |  | A.N |  |  | 118.0 | 118.5
550 | 119 | 0 | 156.7 | 156.7546 | 0.054622 | 0.1 | 159.3891 | 18.2973 |  | 450 | 9 | 0 | 158.3 (± 1.7) | 158.3 (± 1.7) | 162.4 (± 1.8)
700 | 116 | 0 | 155.5103 | 155.5872 | 0.076923 | 0.1 | 160.9897 | 18.0809 |  | 550 | 119 | 0 | 156.7 (± 0.3) | 156.8 (± 0.3) | 159.4 (± 0.4)
1250 | 74 | 0 | 156.7595 | 156.7405 | 0.018919 | 0.1 | 164.2304 | 7.6304 |  | 700 | 116 | 0 | 155.5 (± 0.4) | 155.6 (± 0.4) | 161.0 (0.4)
1500 | 49 | 0 | 155.1878 | 155.1735 | 0.014286 | 0.1 | 163.949 | 24.449 |  | 1250 | 74 | 0 | 156.8 (± 0.5) | 156.7 (± 0.5) | 164.2 (± 0.5)
1750 | 26 | 0 | 149.4808 | 149.4731 | 0.0076923 | 0.1 | 155.5269 |  |  | 1500 | 49 | 0 | 155.2 (± 0.8) | 155.2 (± 0.8) | 163.9 (± 0.7)
2000 | 3 | 0 | 142.9 | 142.8667 | 0.033333 | 0 | 149.3667 |  |  | 1750 | 26 | 0 | 149.5 (± 1.2) | 149.5 (± 1.2) | 155.5 (± 1.1)
[10 empty] | 2000 | 3 | 0 | 142.9 (± 2.1) | 142.9 (± 2.0) | 149.4 (± 2.3)
450 | 3 | 180 | 154.8667 | 154.6 | 0.26667 | 0.3 | 147.1333
550 | 73 | 180 | 156.9137 | 156.9562 | 0.042466 | 0.1 | 141.0918 |  |  | 450 | 4 | 180 | 153.7 (± 3.1) | 154.8 (± 3.0) | 147.2 (± 2.8)
700 | 90 | 180 | 157.12 | 157.16 | 0.04 | 0.1 | 142.9089 |  |  | 550 | 73 | 180 | 156.9 (± 0.4) | 157.0 (± 0.4) | 141.1 (± 1.0)
1250 | 7 | 180 | 157.5429 | 157.4714 | 0.071429 | 0.2 | 156.6 |  |  | 700 | 90 | 180 | 157.1 (± 0.4) | 157.2 (± 0.4) | 142.9 (± 0.6)
1500 | 2 | 180 | 147.85 | 148.05 | 0.2 | 0.3 | 139.5 |  |  | 1250 | 7 | 180 | 157.5 (± 0.9) | 157.5 (± 0.6) | 156.6 (± 0.9)
[10 empty] | 1500 | 2 | 180° | 147.9 (± 7.5) | 148.1 (± 7.8) | 139.5 (± 10.2)
sum | 571
Hydrophone Position
Frequency (Hz) | Phase° | Test-Tank-RT SPLs (dB re 1 μPa) - IN water column | Test-Tank-RT SPLs (dB re 1 μPa) - OUT wall level | diff. between in & out RT | Test-Tank-RB SPLs (dB re 1 μPa) - IN water column | Test-Tank-RB SPLs (dB re 1 μPa) - OUT wall level | diff. between in & out RB | Test-Tank-– 0° TC SPLs (dB re 1 μPa) - IN water column | Test-Tank-– 0° TC SPLs (dB re 1 μPa) - OUT wall level | diff. between in & out TC
550 | 0 | 159.7 | 160.7 | 1 | 159.7 | 160.7 | 1 | 160.7 | 163 | 2.3
700 | 0 | 160 | 160 | 0 | 160 | 160 | 0 | 159.8 | 159.5 | 0.3
1250 | 0 | 155 | 156.3 | 1.3 | 155 | 156.4 | 1.4 | 160.9 | 163.1 | 2.2
1500 | 0 | 157.1 | 157.1 | 0 | 157.1 | 157.2 | 0.1 | 164 | 163.2 | 0.8
1750 | 0 | 153 | 152.5 | -0.5 | 153 | 152.5 | 0.5 | 158.3 | 156.8 | 1.5
2000 | 0 | 142.2 | 142.2 | 0 | 142.2 | 142.2 | 0 | 149.1 | 149.1 | 0
Signal Generator Setting Data
Frequency (Hz) | Measurement | Signal Generator output (Vpp) | Img-Tank - RT SPLs (dB re 1 μPa) | Img-Tank - RB SPLs (dB re 1 μPa) | diff. between Img-Tank - RT & RB | Test-Tank - RT SPLs (dB re 1 μPa) | Test-Tank - RB SPLs (dB re 1 μPa) | diff. between Test-Tank - RT & RB | Test-Tank - TC – 0° SPLs (dB re 1 μPa) | Test-Tank - TC - 180° SPLs (dB re 1 μPa) | SPL diff. between Test-Tank - 0° & 180° | measurements comparisons | SPL diff. between settings Test-Tank - 0° | SPL diff. between settings Test-Tank - 180°
450 | 1 | same settings | 168.81 | 171 | 2.19 | 169.7 | 172.1 | 2.4 | 179.6 | 175.7 | 3.9 | 1 vs. 2 | 9.05 | 23.6
| 2 | adjusted | 162.7 | 162.7 | 0 | 162.7 | 162.7 | 0 | 170.55 | 152.1 | 18.45 | 1 vs. 3 | 18.1 | 30.55
| 3 | adjusted | 152.4 | 152.5 | 0.1 | 152.4 | 152.8 | 0.4 | 161.5 | 145.15 | 16.35
550 | 1 | same settings | 171 | 173.6 | 2.6 | 171.3 | 174.2 | 2.9 | 178.65 | 173 | 5.65 | 1 vs. 2 | 9.9 | 22
| 2 | adjusted | 165.7 | 165.5 | 0.2 | 165.7 | 165.5 | 0.2 | 168.75 | 151 | 17.75 | 1 vs. 3 | 20.85 | 30.85
| 3 | adjusted | 155.2 | 155.1 | 0.1 | 155 | 155.3 | 0.3 | 157.8 | 142.15 | 15.65
700 | 1 | same settings | 161.5 | 165.7 | 4.2 | 171.4 | 167.5 | 3.9 | 170.65 | 169.5 | 1.15 | 1 vs. 2 | 9.45 | 25.8
| 2 | adjusted | 159.6 | 159.9 | 0.3 | 159.6 | 159.9 | 0.3 | 161.2 | 143.7 | 17.5 | 1 vs. 3 | 14.05 | 35.5
| 3 | adjusted | 147.7 | 147.8 | 0.1 | 147.7 | 147.8 | 0.1 | 156.6 | 134 | 22.6
1250 | 1 | same settings | 163.3 | 157.7 | 5.6 | 158.6 | 166 | 7.4 | 168.05 | 162.75 | 5.3 | 1 vs. 2 | 6.9 | 10.05
| 2 | adjusted | 156.7 | 156.6 | 0.1 | 156.7 | 156.6 | 0.1 | 161.15 | 152.7 | 8.45 | 1 vs. 3 | 11.95 | 16.45
| 3 | adjusted | 147.4 | 147.3 | 0.1 | 147.4 | 147.3 | 0.1 | 156.1 | 146.3 | 9.8
1750 | 1 | same settings | 163.4 | 154.8 | 8.6 | 163.8 | 153.2 | 10.6 | 159.7 | 159 | 0.7 | 1 vs. 2 | 1.85 | 17.8
| 2 | adjusted | 150.6 | 150.8 | 0.2 | 150.6 | 150.8 | 0.2 | 157.85 | 141.2 | 16.65 | 1 vs. 3 | 9.05 | 24.1
| 3 | adjusted | 142.7 | 142.9 | 0.2 | 142.7 | 142.9 | 0.2 | 150.65 | 134.9 | 15.75
2000 | 1 | same settings | 158.6 | 147.7 | 10.9 | 147.7 | 157.2 | 9.5 | 166.2 | 159.1 | 7.1 | 1 vs. 2 | 7.75 | 16.7
| 2 | adjusted | 150.7 | 150.9 | 0.2 | 150.7 | 150.9 | 0.2 | 158.45 | 142.4 | 16.05 | 1 vs. 3 | 17.2 | 28.2
| 3 | adjusted | 140.9 | 140.8 | 0.1 | 140.9 | 140.8 | 0.1 | 149 | 130.9 | 18.1

## Sheet2_Raw_Data_beamline_exp
| Img-Tank - RT SPLs (dB re 1 μPa) | Img-Tank - RB SPLs (dB re 1 μPa) | differences between RT and RB | Test-Tank 0° – TC SPLs (dB re 1 μPa) | Img-Tank - RT SPLs (dB re 1 μPa) | Img-Tank - RB SPLs (dB re 1 μPa) | differences between RT and RB | Test-Tank 0° – TC SPLs (dB re 1 μPa) | Img-Tank - RT SPLs (dB re 1 μPa) | Img-Tank - RB SPLs (dB re 1 μPa) | differences between RT and RB | Test-Tank 0° – TC SPLs (dB re 1 μPa) | Img-Tank - RT SPLs (dB re 1 μPa) | Img-Tank - RB SPLs (dB re 1 μPa) | differences between RT and RB | Test-Tank 0° – TC SPLs (dB re 1 μPa) | Img-Tank - RT SPLs (dB re 1 μPa) | Img-Tank - RB SPLs (dB re 1 μPa) | differences between RT and RB | Test-Tank 0° – TC SPLs (dB re 1 μPa) | Img-Tank - RT SPLs (dB re 1 μPa) | Img-Tank - RB SPLs (dB re 1 μPa) | differences between RT and RB | Test-Tank 0° – TC SPLs (dB re 1 μPa) | Img-Tank - RT SPLs (dB re 1 μPa) | Img-Tank - RB SPLs (dB re 1 μPa) | differences between RT and RB | Test-Tank 0° – TC SPLs (dB re 1 μPa) | Img-Tank - RT SPLs (dB re 1 μPa) | Img-Tank - RB SPLs (dB re 1 μPa) | differences between RT and RB | Test-Tank 180° – TC SPLs (dB re 1 μPa) | Img-Tank - RT SPLs (dB re 1 μPa) | Img-Tank - RB SPLs (dB re 1 μPa) | differences between RT and RB | Test-Tank 180° – TC SPLs (dB re 1 μPa) | Img-Tank - RT SPLs (dB re 1 μPa) | Img-Tank - RB SPLs (dB re 1 μPa) | differences between RT and RB | Test-Tank 180° – TC SPLs (dB re 1 μPa) | Img-Tank - RT SPLs (dB re 1 μPa) | Img-Tank - RB SPLs (dB re 1 μPa) | differences between RT and RB | Test-Tank 180° – TC SPLs (dB re 1 μPa) | Img-Tank - RT SPLs (dB re 1 μPa) | Img-Tank - RB SPLs (dB re 1 μPa) | differences between RT and RB | Test-Tank 180° – TC SPLs (dB re 1 μPa)
Frequency | 450-RT | 450-RB |  | 450-TC | 550-RT | 550-RB |  | 550-TC | 700-RT | 700-RB |  | 700-TC | 1250-RT | 1250-RB |  | 1250-TC | 1500-RT | 1500-RB |  | 1500-TC | 1750-RT | 1750-RB |  | 1750-TC | 2000-RT | 2000-RB |  | 2000-TC | 450-RT-180° | 450-RB-180° |  | 450-TC-180° | 550-RT-180° | 550-RB-180° |  | 550-TC-180° | 700-RT-180° | 700-RB-180° |  | 700-TC-180° | 1250-RT-180° | 1250-RB-180° |  | 1250-TC-180° | 1500-RT-180° | 1500-RB-180° |  | 1500-TC-180°
| 160.5 | 160.5 | 0 | 165.7 | 159 | 159 | 0 | 168.2 | 155 | 155.6 | 0.6 | 169.5 | 150.3 | 150.1 | 0.2 | 162.6 | 143.2 | 143.2 | 0 | 158.1 | 141.6 | 141.4 | 0.2 | 149.4 | 140 | 140 | 0 | 145.9 | 150.8 | 150.4 | 0.4 | 143.2 | 160.1 | 160 | 0.1 | 147.8 | 159 | 159.1 | 0.1 | 149.9 | 160.3 | 160.2 | 0.1 | 158.8 | 155.3 | 155.8 | 0.5 | 149.7
| 160.5 | 160.5 | 0 | 165.7 | 159 | 159 | 0 | 168.2 | 155 | 155.6 | 0.6 | 169.5 | 148.4 | 148.6 | 0.2 | 161.4 | 144 | 144 | 0 | 160.7 | 141.6 | 141.4 | 0.2 | 149.4 | 141.8 | 141.8 | 0 | 148.5 | 150.8 | 150.4 | 0.4 | 143.2 | 158.3 | 158.1 | 0.2 | 146.3 | 158.6 | 158.5 | 0.1 | 148.8 | 154 | 154 | 0 | 153.3 | 140.4 | 140.3 | 0.1 | 129.3
| 160.5 | 160.5 | 0 | 165.2 | 160.1 | 160 | 0.1 | 162.6 | 155 | 155.6 | 0.6 | 169.5 | 150.2 | 150.2 | 0 | 164 | 155.3 | 155.8 | 0.5 | 166.2 | 147.9 | 147.8 | 0.1 | 146.2 | 146.9 | 146.8 | 0.1 | 153.7 | 163 | 163 | 0 | 155 | 158.1 | 158.3 | 0.2 | 146.3 | 152.2 | 152.3 | 0.1 | 144.1 | 157.7 | 157.7 | 0 | 156.4
| 160.5 | 160.5 | 0 | 165.7 | 158.3 | 158.1 | 0.2 | 160.5 | 158.4 | 158.4 | 0 | 172.6 | 160.3 | 160.2 | 0.1 | 167.7 | 140.4 | 140.3 | 0.1 | 150.7 | 147.9 | 147.8 | 0.1 | 146.2 | [8 empty] | 158.2 | 158.2 | 0 | 146.2 | 150.7 | 150.7 | 0 | 142.3 | 157.5 | 157 | 0.5 | 156.5 | 147.85 | 148.05 | 0.3 | 139.5
| 164.2 | 164.2 | 0 | 167.4 | 158.2 | 158.4 | 0.2 | 160.5 | 155 | 155.6 | 0.6 | 169.5 | 152.5 | 152.9 | 0.4 | 160 | 146.2 | 146.3 | 0.1 | 156.4 | 140.5 | 140.6 | 0.1 | 149.9 | 142.9 | 142.8667 | 0.033333 | 149.3667 | 154.8667 | 154.6 | 0.26667 | 147.1333 | 157.4 | 157.4 | 0 | 145.1 | 161.1 | 161.1 | 0 | 152.3 | 161.1 | 161.4 | 0.3 | 160.5
| 150.1 | 150.3 | 0.2 | 153.9 | 158.1 | 158.3 | 0.2 | 160.6 | 155 | 155.1 | 0.1 | 169.5 | 162.5 | 162.4 | 0.1 | 169.9 | 154.2 | 154.2 | 0 | 164.1 | 150.1 | 150.1 | 0 | 161.9 | [8 empty] | 157.4 | 157.4 | 0 | 145.1 | 157 | 157 | 0 | 147.9 | 155.4 | 155.2 | 0.2 | 154.7
| 150.1 | 150.3 | 0.2 | 153.9 | 158.2 | 158.2 | 0 | 160.7 | 149 | 149 | 0 | 165 | 166.6 | 166.7 | 0.1 | 162 | 156.8 | 156.8 | 0 | 167.7 | 150.9 | 150.9 | 0 | 163.1 | [8 empty] | 157.6 | 157.7 | 0.1 | 145.1 | 154.2 | 154.2 | 0 | 143.4 | 156.8 | 156.8 | 0 | 156
| 155.6 | 155.3 | 0.3 | 158.5 | 157.8 | 157.9 | 0.1 | 149.9 | 147.1 | 147.1 | 0 | 162.9 | 154 | 154 | 0 | 165.4 | 151.2 | 151.1 | 0.1 | 160.8 | 146.2 | 146.4 | 0.2 | 153.8 | [8 empty] | 158.2 | 158.1 | 0.1 | 146.1 | 157 | 157 | 0 | 146.3
| 163 | 163 | 0 | 165.6 | 157.4 | 157.4 | 0 | 159.8 | 156.3 | 156.3 | 0 | 175.3 | 157.7 | 157.7 | 0 | 165.2 | 157.7 | 157.6 | 0.1 | 167.3 | 145.9 | 145.8 | 0.1 | 153.1 | [8 empty] | 156.1 | 156.4 | 0.3 | 147.3 | 157 | 157 | 0 | 146.1 | 157.5429 | 157.4714 | 0.15714 | 156.6
[5 empty] | 157.4 | 157.4 | 0 | 159.8 | 156.3 | 156.3 | 0 | 176 | 157.5 | 157 | 0.5 | 159.1 | 154.4 | 154.3 | 0.1 | 164 | 147 | 147 | 0 | 154.4 | [8 empty] | 152.5 | 152.1 | 0.4 | 140.7 | 154.3 | 154.2 | 0.1 | 143.3
| 158.3333 | 158.3444 | 0.077778 | 162.4 | 149.7 | 149.8 | 0.1 | 152.2 | 155.7 | 155.8 | 0.1 | 176.1 | 151.9 | 151.9 | 0 | 166 | 155.4 | 155.4 | 0 | 165.8 | 142.4 | 142.1 | 0.3 | 149.9 | [8 empty] | 160 | 160.1 | 0.1 | 144.5 | 155.3 | 155.3 | 0 | 144.3
[5 empty] | 157.6 | 157.7 | 0.1 | 159.8 | 157.1 | 157.4 | 0.3 | 162 | 158.2 | 158.8 | 0.6 | 168.8 | 155.4 | 155.3 | 0.1 | 165.6 | 142.2 | 142.3 | 0.1 | 149.5 | [8 empty] | 158.4 | 158.5 | 0.1 | 147.1 | 149.7 | 149.8 | 0.1 | 140.5
[5 empty] | 158.2 | 158.1 | 0.1 | 160.8 | 159 | 159.1 | 0.1 | 163.5 | 161.1 | 161.4 | 0.3 | 163 | 157.1 | 157.2 | 0.1 | 167.4 | 146.6 | 146.6 | 0 | 154 | [8 empty] | 157.2 | 157.2 | 0 | 142.8 | 163.2 | 163.3 | 0.1 | 154.7
[5 empty] | 156.1 | 156.4 | 0.3 | 158.8 | 158.6 | 158.5 | 0.1 | 163.4 | 155.4 | 155.2 | 0.2 | 164.6 | 160.1 | 160.7 | 0.6 | 170.3 | 151.7 | 151.8 | 0.1 | 158.7 | [8 empty] | 157.3 | 157.3 | 0 | 142.8 | 168.6 | 168.8 | 0.2 | 159.6
[5 empty] | 152.5 | 152.1 | 0.4 | 154.6 | 152.2 | 152.3 | 0.1 | 157.1 | 156.8 | 156.8 | 0 | 154 | 160.2 | 160.2 | 0 | 170.3 | 147.8 | 147.8 | 0 | 154.5 | [8 empty] | 165.7 | 165.8 | 0.1 | 150 | 150.3 | 149.9 | 0.4 | 138.4
[5 empty] | 160 | 160.1 | 0.1 | 162.6 | 150.7 | 150.7 | 0 | 155.6 | 146.2 | 146.1 | 0.1 | 163.4 | 141.3 | 141.3 | 0 | 151.5 | 140.9 | 140.8 | 0.1 | 147.9 | [8 empty] | 149.3 | 149.6 | 0.3 | 134.6 | 146.4 | 146.4 | 0 | 136.7
[5 empty] | 158.4 | 158.5 | 0.1 | 160.9 | 161.1 | 161.1 | 0 | 166 | 155.5 | 155.2 | 0.3 | 171.4 | 142.9 | 142.7 | 0.2 | 153.1 | 147.1 | 147.3 | 0.2 | 154.5 | [8 empty] | 145.5 | 145.6 | 0.1 | 133.1 | 154.3 | 154.3 | 0 | 142.6
[5 empty] | 162 | 162 | 0 | 166.9 | 157 | 157 | 0 | 162 | 163.3 | 163 | 0.3 | 163.6 | 152.5 | 152 | 0.5 | 162.6 | 155.1 | 155.2 | 0.1 | 162.7 | [8 empty] | 154.2 | 154.2 | 0 | 143.3 | 157 | 157.2 | 0.2 | 140.3
[5 empty] | 157.8 | 157.7 | 0.1 | 160.3 | 154.2 | 154.2 | 0 | 158.9 | 155.3 | 155.1 | 0.2 | 157.3 | 155.5 | 155.3 | 0.2 | 165.7 | 157.1 | 157.2 | 0.1 | 164.6 | [8 empty] | 160.7 | 160.7 | 0 | 138 | 156.8 | 156.8 | 0 | 145.1
[5 empty] | 157.2 | 157.2 | 0 | 159.7 | 157 | 157 | 0 | 162 | 157.4 | 157.2 | 0.2 | 160.7 | 153.7 | 153.8 | 0.1 | 163.9 | 154.2 | 154.2 | 0 | 157.8 | [8 empty] | 158.5 | 158.5 | 0 | 135.6 | 152.1 | 152.3 | 0.2 | 130.7
[5 empty] | 157.3 | 157.3 | 0 | 159.7 | 158 | 158.1 | 0.1 | 162 | 152.5 | 152.4 | 0.1 | 166.4 | 159.1 | 159.2 | 0.1 | 169.1 | 157.8 | 157.9 | 0.1 | 161.4 | [8 empty] | 158.5 | 158.7 | 0.2 | 135.6 | 153.3 | 153.8 | 0.5 | 128.1
[5 empty] | 165.7 | 165.8 | 0.1 | 168.3 | 154.3 | 154.2 | 0.1 | 159.2 | 158 | 158.2 | 0.2 | 168.4 | 156.6 | 156.7 | 0.1 | 165.7 | 155.3 | 155.3 | 0 | 158.9 | [8 empty] | 153.8 | 153.8 | 0 | 132.7 | 150.7 | 150.6 | 0.1 | 133.2
[5 empty] | 154.7 | 154.6 | 0.1 | 160.3 | 155.3 | 155.3 | 0 | 160.1 | 160.5 | 160.1 | 0.4 | 171.6 | 145 | 145.1 | 0.1 | 155.6 | 155.7 | 155.7 | 0 | 158.9 | [8 empty] | 155 | 155 | 0 | 132.8 | 157.1 | 157.3 | 0.2 | 140.7
[5 empty] | 149.1 | 149.2 | 0.1 | 152.1 | 149.7 | 149.8 | 0.1 | 154.9 | 163.5 | 163.4 | 0.1 | 169.5 | 156.2 | 156.1 | 0.1 | 165.7 | 153.5 | 153.4 | 0.1 | 157.2 | [8 empty] | 158.5 | 158.4 | 0.1 | 138.6 | 155.3 | 155.3 | 0 | 141.1
[5 empty] | 160.7 | 160.8 | 0.1 | 163.5 | 163.2 | 163.3 | 0.1 | 168.4 | 161.3 | 161.1 | 0.2 | 153 | 154 | 154 | 0 | 164.5 | 159.5 | 159.5 | 0 | 162.9 | [8 empty] | 158.6 | 158.8 | 0.2 | 138.6 | 154.3 | 154.2 | 0.1 | 142.2
[5 empty] | 160.7 | 160.8 | 0.1 | 163.5 | 168.6 | 168.8 | 0.2 | 173.5 | 144.4 | 144.4 | 0 | 155.6 | 154 | 153.8 | 0.2 | 164.3 | 160 | 160 | 0 | 162.9 | [8 empty] | 160.2 | 160.4 | 0.2 | 138 | 155.1 | 155.8 | 0.7 | 142.2
[5 empty] | 146.3 | 146.6 | 0.3 | 149.5 | 155.6 | 155.5 | 0.1 | 160.6 | 147.3 | 147.3 | 0 | 155.6 | 157.9 | 157.8 | 0.1 | 167.9 | [12 empty] | 162.9 | 162.6 | 0.3 | 151.1 | 160.2 | 160.1 | 0.1 | 144.6
[5 empty] | 149.3 | 149.6 | 0.3 | 152.2 | 140.8 | 140.4 | 0.4 | 145.3 | 147.3 | 147.6 | 0.3 | 167.9 | 155.5 | 155.4 | 0.1 | 157.8 | 149.4808 | 149.4731 | 0.084615 | 155.5269 | [8 empty] | 163.6 | 163.3 | 0.3 | 146.6 | 153.5 | 153.7 | 0.2 | 139.1
[5 empty] | 153.7 | 154 | 0.3 | 156.3 | 150.3 | 149.9 | 0.4 | 155.1 | 159.7 | 159.8 | 0.1 | 164.8 | 155.3 | 155.4 | 0.1 | 157.8 | [12 empty] | 157.3 | 157.3 | 0 | 134.6 | 160.2 | 160.3 | 0.1 | 152.6
[5 empty] | 145.5 | 145.6 | 0.1 | 147.8 | 146.4 | 146.4 | 0 | 151.4 | 156.6 | 156.6 | 0 | 162.7 | 156.5 | 156.7 | 0.2 | 166.4 | [12 empty] | 157.3 | 157.3 | 0 | 134.6 | 160.2 | 160.3 | 0.1 | 152.6
[5 empty] | 145.5 | 145.6 | 0.1 | 147.8 | 154.3 | 154.3 | 0 | 159.3 | 154.2 | 154.3 | 0.1 | 167.6 | 157 | 157 | 0 | 165.1 | [12 empty] | 157.3 | 157.3 | 0 | 134.6 | 159.7 | 159.5 | 0.2 | 137.5
[5 empty] | 154.2 | 154.2 | 0 | 156.8 | 151.4 | 151.6 | 0.2 | 154.7 | 159.2 | 159.3 | 0.1 | 164.8 | 154.2 | 154.2 | 0 | 164 | [12 empty] | 155.5 | 156 | 0.5 | 130.1 | 155.5 | 155.6 | 0.1 | 142.2
[5 empty] | 157.7 | 157.8 | 0.1 | 161.2 | 151.4 | 151.6 | 0.2 | 154.7 | 156.6 | 156.8 | 0.2 | 163.8 | 153.1 | 153 | 0.1 | 159.9 | [12 empty] | 160.2 | 160.4 | 0.2 | 138 | 160 | 160 | 0 | 152.6
[5 empty] | 157.7 | 157.7 | 0 | 161.2 | 157 | 157.2 | 0.2 | 160.9 | 155.2 | 155 | 0.2 | 167.5 | 153.3 | 153.2 | 0.1 | 160.2 | [12 empty] | 159.6 | 159.4 | 0.2 | 143.8 | 160.7 | 160.8 | 0.1 | 152.6
[5 empty] | 157.7 | 157.7 | 0 | 161.2 | 156.8 | 156.8 | 0 | 160.9 | 159.3 | 159.3 | 0 | 167.5 | 154.6 | 154.6 | 0 | 161.4 | [12 empty] | 153.2 | 153.1 | 0.1 | 133.5 | 157 | 157.2 | 0.2 | 141.3
[5 empty] | 157.7 | 157.7 | 0 | 161.2 | 152.1 | 152.3 | 0.2 | 157.3 | 159.1 | 159 | 0.1 | 164.8 | 161.3 | 161.3 | 0 | 168.3 | [12 empty] | 158 | 158.5 | 0.5 | 138.6 | 155.2 | 155.3 | 0.1 | 142.2
[5 empty] | 157.5 | 157.5 | 0 | 161.2 | 153.3 | 153.8 | 0.5 | 158.2 | 156.6 | 156.3 | 0.3 | 158.5 | 161.9 | 161.9 | 0 | 168.7 | [12 empty] | 161.1 | 161.6 | 0.5 | 150.2 | 161.2 | 161.2 | 0 | 152.6
[5 empty] | 160.7 | 160.7 | 0 | 163.7 | 150.7 | 150.6 | 0.1 | 156 | 150.1 | 150.1 | 0 | 164.8 | 162.3 | 162.3 | 0 | 169.1 | [12 empty] | 158.4 | 158.1 | 0.3 | 138.6 | 155.9 | 156.2 | 0.3 | 141.3
[5 empty] | 158.5 | 158.5 | 0 | 161.4 | 157.1 | 157.3 | 0.2 | 162.3 | 156.8 | 156.6 | 0.2 | 165.5 | 162.3 | 162.3 | 0 | 169.1 | [12 empty] | 153 | 153.1 | 0.1 | 128 | 155.3 | 155.6 | 0.3 | 142.2
[5 empty] | 158.5 | 158.7 | 0.2 | 161.4 | 155.3 | 155.3 | 0 | 160.5 | 157.2 | 157.3 | 0.1 | 165.5 | 160.2 | 160.3 | 0.1 | 167.4 | [12 empty] | 156.1 | 156.1 | 0 | 129.9 | 156.8 | 156.7 | 0.1 | 141.6
[5 empty] | 153.8 | 153.8 | 0 | 156 | 154.3 | 154.2 | 0.1 | 159.1 | 157.4 | 157.3 | 0.1 | 163.9 | 160.2 | 160.4 | 0.2 | 167.4 | [12 empty] | 156.9 | 156.9 | 0 | 129.9 | 155 | 155.1 | 0.1 | 142.2
[5 empty] | 155 | 155 | 0 | 158.2 | 155.3 | 155.8 | 0.5 | 159.1 | 155.7 | 155.7 | 0 | 153.2 | 160.2 | 160 | 0.2 | 167.4 | [12 empty] | 159.2 | 159.5 | 0.3 | 143.2 | 156.9 | 157 | 0.1 | 155.7
[5 empty] | 158.5 | 158.4 | 0.1 | 161.4 | 160.2 | 160.1 | 0.1 | 165.4 | 144.9 | 144.9 | 0 | 165.1 | 160 | 160 | 0 | 167.4 | [12 empty] | 161.2 | 161.3 | 0.1 | 150.2 | 156.9 | 157 | 0.1 | 155.7
[5 empty] | 158.6 | 158.8 | 0.2 | 161.4 | 155.4 | 155.6 | 0.2 | 159.1 | 156.9 | 156.9 | 0 | 170 | 162.1 | 162.1 | 0 | 168 | [12 empty] | 153.1 | 153.2 | 0.1 | 128 | 152.3 | 152.4 | 0.1 | 136
[5 empty] | 160.2 | 160.4 | 0.2 | 163.3 | 163.1 | 163.3 | 0.2 | 168.1 | 161.7 | 161.7 | 0 | 164.1 | 151.3 | 150.7 | 0.6 | 157.2 | [12 empty] | 153.2 | 153.3 | 0.1 | 128 | 152.2 | 152.2 | 0 | 136
[5 empty] | 162.9 | 162.6 | 0.3 | 165.6 | 153.5 | 153.7 | 0.2 | 158.5 | 155.9 | 155.6 | 0.3 | 165.1 | 162.3 | 162.2 | 0.1 | 168.2 | [12 empty] | 155.2 | 155.3 | 0.1 | 135.4 | 152.6 | 152.6 | 0 | 136
[5 empty] | 163.6 | 163.3 | 0.3 | 166.6 | 153.2 | 153.4 | 0.2 | 158.5 | 156.9 | 156.9 | 0 | 165.1 | 160.1 | 160.1 | 0 | 165.9 | [12 empty] | 155.2 | 155.3 | 0.1 | 135.4 | 152 | 152 | 0 | 136
[5 empty] | 157.3 | 157.3 | 0 | 160.2 | 160.2 | 160.3 | 0.1 | 165.3 | 156.4 | 156.4 | 0 | 165.1 | 160.2 | 160.2 | 0 | 165.9 | [12 empty] | 154.8 | 154.7 | 0.1 | 133.1 | 156.1 | 156.1 | 0 | 140.5
[5 empty] | 157.3 | 157.3 | 0 | 160.2 | 160.2 | 160.3 | 0.1 | 165.3 | 156 | 156.1 | 0.1 | 165.1 | 160 | 160 | 0 | 165.9 | [12 empty] | 155.8 | 155.7 | 0.1 | 135.4 | 156.2 | 156.4 | 0.2 | 140.5
[5 empty] | 157.3 | 157.3 | 0 | 160.2 | 159.7 | 159.5 | 0.2 | 162.2 | 156.2 | 156.2 | 0 | 162.2 | [16 empty] | 155.4 | 155.5 | 0.1 | 135.4 | 152.8 | 152.8 | 0 | 136
[5 empty] | 155.5 | 156 | 0.5 | 158 | 155.5 | 155.6 | 0.1 | 159.1 | 153.8 | 153.9 | 0.1 | 164.1 | 155.1878 | 155.1735 | 0.10816 | 163.949 | [12 empty] | 155.7 | 155.6 | 0.1 | 135.4 | 154.6 | 154.7 | 0.1 | 137.6
[5 empty] | 160.2 | 160.4 | 0.2 | 163.3 | 160 | 160 | 0 | 165.3 | 155.6 | 155.7 | 0.1 | 165.1 | [16 empty] | 156 | 156 | 0 | 129.9 | 154.9 | 155 | 0.1 | 140.7
[5 empty] | 159.6 | 159.4 | 0.2 | 162.4 | 160.7 | 160.8 | 0.1 | 165.3 | 156.3 | 156.3 | 0 | 167.4 | [16 empty] | 155.8 | 155.9 | 0.1 | 135.4 | 155.4 | 155.4 | 0 | 140.3
[5 empty] | 153.2 | 153.1 | 0.1 | 156 | 157 | 157.2 | 0.2 | 162.3 | 159.8 | 159.6 | 0.2 | 161.3 | [16 empty] | 158.2 | 158.5 | 0.3 | 142 | 156.1 | 156.2 | 0.1 | 140.5
[5 empty] | 158 | 158.5 | 0.5 | 161.4 | 155.2 | 155.3 | 0.1 | 159.1 | 154.7 | 154.7 | 0 | 165.6 | [16 empty] | 155.3 | 155.2 | 0.1 | 135.4 | 156.5 | 156.5 | 0 | 140.5
[5 empty] | 161.1 | 161.6 | 0.5 | 164.3 | 161.2 | 161.2 | 0 | 165.3 | 159.1 | 159 | 0.1 | 159.7 | [16 empty] | 155.8 | 155.8 | 0 | 135.4 | 159.7 | 159.5 | 0.2 | 143.3
[5 empty] | 158.4 | 158.1 | 0.3 | 161.4 | 155.9 | 156.2 | 0.3 | 161 | 153.3 | 153.4 | 0.1 | 161.4 | [16 empty] | 156.5 | 156.6 | 0.1 | 144.9 | 159.7 | 159.8 | 0.1 | 143.3
[5 empty] | 153 | 153.1 | 0.1 | 155.9 | 155.3 | 155.6 | 0.3 | 159.1 | 155 | 154.9 | 0.1 | 163 | [16 empty] | 155.6 | 155.7 | 0.1 | 135.4 | 159.1 | 159.7 | 0.6 | 143.3
[5 empty] | 156.1 | 156.1 | 0 | 159.2 | 156.8 | 156.7 | 0.1 | 161.8 | 156.7 | 156.7 | 0 | 167.8 | [16 empty] | 158.3 | 158.3 | 0 | 142 | 159.7 | 159.7 | 0 | 143.3
[5 empty] | 156.9 | 156.9 | 0 | 159.2 | 155 | 155.1 | 0.1 | 159.1 | 162.7 | 162.7 | 0 | 167.8 | [16 empty] | 170 | 170 | 0 | 156.7 | 158 | 157.9 | 0.1 | 140.6
[5 empty] | 159.2 | 159.5 | 0.3 | 162 | 156.9 | 157 | 0.1 | 161.9 | 162.5 | 162.5 | 0 | 166.65 | [16 empty] | 150.3 | 150.7 | 0.4 | 147.9 | 160.9 | 160.8 | 0.1 | 143.3
[5 empty] | 161.2 | 161.3 | 0.1 | 164.3 | 156.9 | 157 | 0.1 | 161.9 | 160.6 | 160.8 | 0.2 | 166.6 | [16 empty] | 150.6 | 150.6 | 0 | 147.9 | 157.5 | 157.4 | 0.1 | 140.6
[5 empty] | 153.1 | 153.2 | 0.1 | 155.9 | 152.3 | 152.4 | 0.1 | 157.4 | 158.2 | 158.3 | 0.1 | 163.8 | [16 empty] | 149.9 | 149.9 | 0 | 149.3 | 160.4 | 160.4 | 0 | 144.3
[5 empty] | 153.2 | 153.3 | 0.1 | 155.9 | 152.2 | 152.2 | 0 | 157.4 | 156.1 | 156.1 | 0 | 161.8 | [16 empty] | 158 | 158.1 | 0.1 | 156.9 | 158.9 | 158.8 | 0.1 | 142
[5 empty] | 155.2 | 155.3 | 0.1 | 157.8 | 152.6 | 152.6 | 0 | 157.4 | 155 | 154.9 | 0.1 | 160.7 | [16 empty] | 150.2 | 150 | 0.2 | 147.9 | 159 | 159.2 | 0.2 | 142.8
[5 empty] | 155.2 | 155.3 | 0.1 | 157.8 | 152 | 152 | 0 | 157.4 | 160 | 160 | 0 | 165.5 | [16 empty] | 155 | 155.1 | 0.1 | 152.2 | 157.7 | 157.7 | 0 | 139.1
[5 empty] | 155.5 | 155.6 | 0.1 | 157.8 | 156.1 | 156.1 | 0 | 161.3 | 160 | 160 | 0 | 165.5 | [16 empty] | 155.1 | 155.1 | 0 | 152.2 | 155 | 154.9 | 0.1 | 137.9
[5 empty] | 155.5 | 155.6 | 0.1 | 153.4 | 156.2 | 156.4 | 0.2 | 161.3 | 159 | 159.1 | 0.1 | 164.6 | [16 empty] | 156.8 | 156.8 | 0 | 153.6 | 156.7 | 156.7 | 0 | 142.2
[5 empty] | 154.8 | 154.7 | 0.1 | 157.5 | 152.8 | 152.8 | 0 | 157.4 | 160.5 | 160.5 | 0 | 165.5 | [16 empty] | 155 | 155 | 0 | 152.2 | 163.3 | 163.4 | 0.1 | 146.2
[5 empty] | 155.8 | 155.7 | 0.1 | 157.8 | 154.6 | 154.7 | 0.1 | 159.6 | 162 | 161.9 | 0.1 | 167.8 | [16 empty] | 162 | 162 | 0 | 106.6 | 161.6 | 161.6 | 0 | 144.7
[5 empty] | 155.4 | 155.5 | 0.1 | 157.8 | 154.9 | 155 | 0.1 | 159.8 | 160.3 | 160.2 | 0.1 | 165.5 | [16 empty] | 160.1 | 160 | 0.1 | 156.9 | 161.2 | 161.2 | 0 | 144.7
[5 empty] | 155.7 | 155.6 | 0.1 | 157.8 | 155.4 | 155.4 | 0 | 160.5 | 160 | 160 | 0 | 165.5 | [16 empty] | 158.2 | 158.3 | 0.1 | 156.9 | 161.2 | 161.2 | 0 | 144.7
[5 empty] | 156 | 156 | 0 | 159.2 | 156.1 | 156.2 | 0.1 | 161.3 | 163.3 | 163.2 | 0.1 | 167.8 | [16 empty] | 157.5 | 157.5 | 0 | 156.4 | 158.3 | 158.3 | 0 | 140.7
[5 empty] | 155.8 | 155.9 | 0.1 | 157.8 | 155.6 | 155.6 | 0 | 160.5 | 161.2 | 161.3 | 0.1 | 167.8 | [20 empty] | 160.5 | 160.4 | 0.1 | 144.3
[5 empty] | 158.2 | 158.5 | 0.3 | 160.9 | 156.5 | 156.5 | 0 | 161.3 | [20 empty] | 156.9137 | 156.9562 | 0.11918 | 141.0918 | 160.8 | 160.5 | 0.3 | 144.3
[5 empty] | 155.3 | 155.2 | 0.1 | 153.4 | 156.9 | 156.7 | 0.2 | 161.3 | 156.7595 | 156.7405 | 0.11622 | 164.2304 | [20 empty] | 160.7 | 160.8 | 0.1 | 144.3
[5 empty] | 155.2 | 155.3 | 0.1 | 157.8 | 159.7 | 159.5 | 0.2 | 164.7 | [24 empty] | 155.6 | 155.8 | 0.2 | 137.9
[5 empty] | 155.8 | 155.8 | 0 | 157.8 | 159.7 | 159.8 | 0.1 | 164.7 | [24 empty] | 157.1 | 157.2 | 0.1 | 139.1
[5 empty] | 156.5 | 156.6 | 0.1 | 159.4 | 159.1 | 159.7 | 0.6 | 164.7 | [24 empty] | 157.1 | 157.1 | 0 | 139.1
[5 empty] | 155.6 | 155.7 | 0.1 | 157.8 | 159.7 | 159.7 | 0 | 164.7 | [24 empty] | 155 | 155 | 0 | 137.9
[5 empty] | 155.8 | 155.5 | 0.3 | 153.4 | 158 | 157.9 | 0.1 | 163.2 | [24 empty] | 160.2 | 160.1 | 0.1 | 144.3
[5 empty] | 158.3 | 158.3 | 0 | 160.9 | 160.9 | 160.8 | 0.1 | 166.1 | [24 empty] | 157.5 | 157.6 | 0.1 | 139.1
[5 empty] | 158.5 | 158.4 | 0.1 | 160.9 | 157.5 | 157.4 | 0.1 | 163.2 | [24 empty] | 161.4 | 161.3 | 0.1 | 144.7
[5 empty] | 160.1 | 160.1 | 0 | 162.9 | 160.4 | 160.9 | 0.5 | 164.2 | [24 empty] | 160.1 | 160.1 | 0 | 144.3
[5 empty] | 160.2 | 160.7 | 0.5 | 162.9 | 158.9 | 158.8 | 0.1 | 162.2 | [24 empty] | 155.1 | 155.2 | 0.1 | 137.9
[5 empty] | 167.9 | 167.9 | 0 | 170.1 | 159 | 159.2 | 0.2 | 162.4 | [24 empty] | 162 | 162 | 0 | 145.7
[5 empty] | 150.3 | 150.7 | 0.4 | 152 | 157.7 | 157.7 | 0 | 161 | [24 empty] | 160.1 | 160 | 0.1 | 144.3
[5 empty] | 155.7 | 155.7 | 0 | 158.1 | 157.7 | 157.7 | 0 | 161 | [24 empty] | 159.3 | 159.2 | 0.1 | 145.3
[5 empty] | 155.7 | 155.7 | 0 | 158.1 | 155 | 154.9 | 0.1 | 159.4 | [24 empty] | 159.5 | 159.4 | 0.1 | 145.3
[5 empty] | 154.4 | 154.8 | 0.4 | 157 | 156.7 | 156.7 | 0 | 159.9 | [24 empty] | 158.4 | 158.4 | 0 | 143
[5 empty] | 155.7 | 155.8 | 0.1 | 158.1 | 163.3 | 163.4 | 0.1 | 166.6
[5 empty] | 156.7 | 156.7 | 0 | 159.2 | 161.6 | 161.6 | 0 | 165.1 | [24 empty] | 157.12 | 157.16 | 0.10222 | 142.9089
[5 empty] | 156.1 | 156.1 | 0 | 159.2 | 161.2 | 161.2 | 0 | 165.1
[5 empty] | 155.7 | 155.7 | 0 | 158.1 | 161.2 | 161.2 | 0 | 165.1
[5 empty] | 156.1 | 156 | 0.1 | 159.2 | 158.3 | 158.3 | 0 | 161.6
[5 empty] | 156.1 | 156.4 | 0.3 | 159.2 | 160.5 | 160.4 | 0.1 | 164.2
[5 empty] | 156.1 | 156.4 | 0.3 | 159.2 | 160.8 | 160.7 | 0.1 | 164.2
[5 empty] | 155.8 | 155.8 | 0 | 158.1 | 160.7 | 160.8 | 0.1 | 164.2
[5 empty] | 159.8 | 159.8 | 0 | 162.2 | 155.6 | 155.8 | 0.2 | 159.4
[5 empty] | 160.3 | 160.5 | 0.2 | 162.8 | 157.1 | 157.2 | 0.1 | 161
[5 empty] | 158.1 | 158.4 | 0.3 | 161.4 | 157.1 | 157.1 | 0 | 161
[5 empty] | 154.8 | 154.9 | 0.1 | 158.2 | 155 | 155 | 0 | 159.4
[5 empty] | 157.3 | 157.3 | 0 | 160.7 | 160.2 | 160.1 | 0.1 | 164.2
[5 empty] | 155.3 | 155.4 | 0.1 | 158.1 | 157.5 | 157.6 | 0.1 | 161
[5 empty] | 150.6 | 150.6 | 0 | 152 | 161.4 | 161.3 | 0.1 | 165.1
[5 empty] | 149.9 | 149.9 | 0 | 153.3 | 160.1 | 160.1 | 0 | 164.2
[5 empty] | 158 | 158.1 | 0.1 | 161.3 | 165.5 | 165 | 0.5 | 168.6
[5 empty] | 150.2 | 150 | 0.2 | 152 | 155.1 | 155.2 | 0.1 | 159.4
[5 empty] | 155 | 155.1 | 0.1 | 158.1 | 162 | 162 | 0 | 165.1
[5 empty] | 155.1 | 155.1 | 0 | 158.1 | 160.1 | 160 | 0.1 | 164.2
[5 empty] | 157.1 | 157.2 | 0.1 | 160.7 | 159.3 | 159.2 | 0.1 | 162.3
[5 empty] | 156.8 | 156.8 | 0 | 159.2 | 159.5 | 159.4 | 0.1 | 162.3
[5 empty] | 157.3 | 157.3 | 0 | 160.7 | 158.9 | 158.9 | 0 | 161.3
[5 empty] | 155 | 155 | 0 | 158.1 | 168.1 | 168 | 0.1 | 171.1
[5 empty] | 162 | 162 | 0 | 166.5 | 158.4 | 158.4 | 0 | 161.4
[5 empty] | 160.1 | 160 | 0.1 | 162.8 | 158.4 | 158.4 | 0 | 161.4
[5 empty] | 158.2 | 158.3 | 0.1 | 161.3
[5 empty] | 157.5 | 157.5 | 0 | 160.7 | 156.8009 | 156.8595 | 0.12586 | 162.3
[5 empty] | 157.3 | 157.2 | 0.1 | 160.7
[5 empty] | 156.7 | 156.7546 | 0.11513 | 159.3891
Dieses Diagramm ist in Ihrer Version von Excel nicht verfügbar. Wenn Sie diese Form bearbeiten oder diese Arbeitsmappe in einem anderen Dateiformat speichern, wird das Diagramm dauerhaft beschädigt.
Dieses Diagramm ist in Ihrer Version von Excel nicht verfügbar. Wenn Sie diese Form bearbeiten oder diese Arbeitsmappe in einem anderen Dateiformat speichern, wird das Diagramm dauerhaft beschädigt.
Dieses Diagramm ist in Ihrer Version von Excel nicht verfügbar. Wenn Sie diese Form bearbeiten oder diese Arbeitsmappe in einem anderen Dateiformat speichern, wird das Diagramm dauerhaft beschädigt.
Dieses Diagramm ist in Ihrer Version von Excel nicht verfügbar. Wenn Sie diese Form bearbeiten oder diese Arbeitsmappe in einem anderen Dateiformat speichern, wird das Diagramm dauerhaft beschädigt.
Dieses Diagramm ist in Ihrer Version von Excel nicht verfügbar. Wenn Sie diese Form bearbeiten oder diese Arbeitsmappe in einem anderen Dateiformat speichern, wird das Diagramm dauerhaft beschädigt.
Dieses Diagramm ist in Ihrer Version von Excel nicht verfügbar. Wenn Sie diese Form bearbeiten oder diese Arbeitsmappe in einem anderen Dateiformat speichern, wird das Diagramm dauerhaft beschädigt.
Dieses Diagramm ist in Ihrer Version von Excel nicht verfügbar. Wenn Sie diese Form bearbeiten oder diese Arbeitsmappe in einem anderen Dateiformat speichern, wird das Diagramm dauerhaft beschädigt.
Dieses Diagramm ist in Ihrer Version von Excel nicht verfügbar. Wenn Sie diese Form bearbeiten oder diese Arbeitsmappe in einem anderen Dateiformat speichern, wird das Diagramm dauerhaft beschädigt.
Dieses Diagramm ist in Ihrer Version von Excel nicht verfügbar. Wenn Sie diese Form bearbeiten oder diese Arbeitsmappe in einem anderen Dateiformat speichern, wird das Diagramm dauerhaft beschädigt.
Dieses Diagramm ist in Ihrer Version von Excel nicht verfügbar. Wenn Sie diese Form bearbeiten oder diese Arbeitsmappe in einem anderen Dateiformat speichern, wird das Diagramm dauerhaft beschädigt.
Dieses Diagramm ist in Ihrer Version von Excel nicht verfügbar. Wenn Sie diese Form bearbeiten oder diese Arbeitsmappe in einem anderen Dateiformat speichern, wird das Diagramm dauerhaft beschädigt.
Dieses Diagramm ist in Ihrer Version von Excel nicht verfügbar. Wenn Sie diese Form bearbeiten oder diese Arbeitsmappe in einem anderen Dateiformat speichern, wird das Diagramm dauerhaft beschädigt.
Dieses Diagramm ist in Ihrer Version von Excel nicht verfügbar. Wenn Sie diese Form bearbeiten oder diese Arbeitsmappe in einem anderen Dateiformat speichern, wird das Diagramm dauerhaft beschädigt.

## Sheet3_Raw_Data_SiG_setting
Frequency | Phase (°) | SiG-Setting upper Shaker (Vpp) | SiG-Setting lower Shaker (Vpp) | Img-Tank RT 0° - SPLs (dB re 1 μPa) | Img-Tank RB 0° - SPLs (dB re 1 μPa) | Img-Tank 0° - RT/RB same time SPLs (dB re 1 μPa) | Test-Tank TC 0° - SPLs (dB re 1 μPa) | Frequenz | Phase (°) | SiG-Setting upper Shaker (Vpp) | SiG-Setting lower Shaker (Vpp) | Img-Tank RT 180° - SPLs (dB re 1 μPa) | Img-Tank RB18 0° - SPLs (dB re 1 μPa) | Img-Tank 0° - RT/RB same time SPLs (dB re 1 μPa) | Test-Tank TC 180° - SPLs (dB re 1 μPa) | measureing same SPLs of H1&H2 to get relative SPL in center
450 | 0 | 0.9 | 0.4 | 160.5 | 160.5 | 162.6/160.1 | 165.7 | 450 | 180 | 0.4 | 0.3 | 150.8 | 150.4 | 149,2/156,5 | 143.2
450 | 0 | 0.9 | 0.4 | 160.5 | 160.5 | 162.6/160.1 | 165.7 | 450 | 180 | 0.4 | 0.3 | 150.8 | 150.4 | 149,2/156,5 | 143.2
450 | 0 | 0.9 | 0.4 | 160.5 | 160.5 | 162.6/160.1 | 165.2 | 450 | 180 | 0.7 | 0.4 | 150.3 | 155.4 | 150.1/154,8 | 147.3
450 | 0 | 0.9 | 0.4 | 160.5 | 160.5 | 162.6/160.1 | 165.7 | 450 | 180 | 1.1 | 0.4 | 163 | 163 | 163,5/158,9 | 155
450 | 0 | 1.8 | 1.5 | 164.2 | 164.2 | 166,1/164,3 | 167.4
450 | 0 | 0.4 | 0.3 | 150.1 | 150.3 | 156,7/142,8 | 153.9 | 550 | 180 | 2.5 | 0.24 | 160.1 | 160 | 155,1/159 | 147.8
450 | 0 | 0.4 | 0.3 | 150.1 | 150.3 | 156,7/142,8 | 153.9 | 550 | 180 | 2 | 0.2 | 158.3 | 158.1 | 153,4/157,2 | 146.3
450 | 0 | 1.3 | 0.4 | 155.6 | 155.3 | 156,6/151 | 158.5 | 550 | 180 | 3.3 | 0.2 | 158.1 | 158.3 | 150,0/157,8 | 146.3
450 | 0 | 1.1 | 0.4 | 163 | 163 | 164,3/158,4 | 165.6 | 550 | 180 | 4 | 0.2 | 158.2 | 158.2 | 150,6/157,8 | 146.2
[8 empty] | 550 | 180 | 0.9 | 0.4 | 157.4 | 157.4 | 157,5/156,1 | 145.1
550 | 0 | 1.2 | 0.4 | 159 | 159 | 161/159,9 | 168.2 | 550 | 180 | 0.9 | 0.4 | 157.4 | 157.4 | 157,5/156,1 | 145.1
550 | 0 | 1.2 | 0.4 | 159 | 159 | 160,8/159.1 | 168.2 | 550 | 180 | 0.9 | 0.4 | 157.6 | 157.7 | 157,6/156,3 | 145.1
550 | 0 | 2.5 | 0.24 | 160.1 | 160 | 163,8/160,8 | 162.6 | 550 | 180 | 0.9 | 0.42 | 158.2 | 158.1 | 158,7/155,2 | 146.1
550 | 0 | 2 | 0.2 | 158.3 | 158.1 | 161,7/159,7 | 160.5 | 550 | 180 | 0.7 | 0.32 | 156.1 | 156.4 | 156,9/153.1 | 147.3
550 | 0 | 2 | 0.2 | 158.2 | 158.4 | 161,4/160,0 | 160.5 | 550 | 180 | 0.2 | 1.7 | 152.5 | 152.1 | 147,6/152,3 | 140.7
550 | 0 | 3.3 | 0.2 | 158.1 | 158.3 | 162,1/157,4 | 160.6 | 550 | 180 | 4.2 | 0.5 | 160 | 160.1 | 155,6/159,4 | 144.5
550 | 0 | 4 | 0.2 | 158.2 | 158.2 | 162,2/158,2 | 160.7 | 550 | 180 | 3.4 | 0.41 | 158.4 | 158.5 | 154,4/157,1 | 147.1
550 | 0 | 4 | 0.19 | 157.8 | 157.9 | 162,0/157,2 | 149.9 | 550 | 180 | 3 | 0.4 | 157.2 | 157.2 | 153,4/157,8 | 142.8
550 | 0 | 0.9 | 0.38 | 157.4 | 157.4 | 158,7/156,0 | 159.8 | 550 | 180 | 3.5 | 0.5 | 157.3 | 157.3 | / | 142.8
550 | 0 | 0.9 | 0.4 | 157.4 | 157.4 | 158,8/156 | 159.8 | 550 | 180 | 0.7 | 1.8 | 165.7 | 165.8 | 172,9/166,1 | 150
550 | 0 | 0.35 | 0.15 | 149.7 | 149.8 | 151,1/148,2 | 152.2 | 550 | 180 | 3.5 | 0.1 | 149.3 | 149.6 | 142,3/146,6 | 134.6
550 | 0 | 0.9 | 0.4 | 157.6 | 157.7 | 158,9/156,3 | 159.8 | 550 | 180 | 0.33 | 0.08 | 145.5 | 145.6 | 143,9/144,7 | 133.1
550 | 0 | 0.9 | 0.42 | 158.2 | 158.1 | 159.6/156.9 | 160.8 | 550 | 180 | 0.9 | 0.24 | 154.2 | 154.2 | 152,0/153,9 | 143.3
550 | 0 | 0.7 | 0.32 | 156.1 | 156.4 | 157.6/155.5 | 158.8 | 550 | 180 | 0.9 | 0.55 | 160.7 | 160.7 | 161,1/160,4 | 138
550 | 0 | 0.2 | 1.7 | 152.5 | 152.1 | 156/152,7 | 154.6 | 550 | 180 | 2.5 | 0.4 | 158.5 | 158.5 | 151,6/158,4 | 135.6
550 | 0 | 4.2 | 0.5 | 160 | 160.1 | 163,4/158,7 | 162.6 | 550 | 180 | 2.3 | 0.4 | 158.5 | 158.7 | 154,8/158,1 | 135.6
550 | 0 | 3.4 | 0.41 | 158.4 | 158.5 | 161,7/157 | 160.9 | 550 | 180 | 1.3 | 0.22 | 153.8 | 153.8 | 149,9/153,4 | 132.7
550 | 0 | 3.4 | 0.42 | 162 | 162 | 165,2/160 | 166.9 | 550 | 180 | 1.5 | 0.26 | 155 | 155 | 151,3/154,6 | 132.8
550 | 0 | 3 | 0.4 | 157.8 | 157.7 | 160,8/156 | 160.3 | 550 | 180 | 1.5 | 0.4 | 158.5 | 158.4 | 155,5/158,6 | 138.6
550 | 0 | 3 | 0.4 | 157.2 | 157.2 | 161/156,6 | 159.7 | 550 | 180 | 1.5 | 0.4 | 158.6 | 158.8 | 156,1/158,1 | 138.6
550 | 0 | 3.5 | 0.5 | 157.3 | 157.3 | / | 159.7 | 550 | 180 | 1.3 | 0.5 | 160.2 | 160.4 | 159,3/159,7 | 138
550 | 0 | 0.7 | 1.8 | 165.7 | 165.8 | 170,8/166,9 | 168.3 | 550 | 180 | 1.7 | 0.7 | 162.9 | 162.6 | 159,3/158,2 | 151.1
550 | 0 | 0.2 | 0.5 | 154.7 | 154.6 | 162,4/155,6 | 160.3 | 550 | 180 | 1.9 | 0.7 | 163.6 | 163.3 | 162,9/162 | 146.6
550 | 0 | 0.1 | 0.27 | 149.1 | 149.2 | 159,1/148,0 | 152.1 | 550 | 180 | 3 | 0.34 | 157.3 | 157.3 | 151,6/156,9 | 134.6
550 | 0 | 0.4 | 1.05 | 160.7 | 160.8 | 165,4/163 | 163.5 | 550 | 180 | 3 | 0.34 | 157.3 | 157.3 | 151,6/156,9 | 134.6
550 | 0 | 0.4 | 1.1 | 160.7 | 160.8 | 167,8/162,2 | 163.5 | 550 | 180 | 3 | 0.34 | 157.3 | 157.3 | 151,6/156,9 | 134.6
550 | 0 | 3.2 | 0.1 | 146.3 | 146.6 | 148,0/146,0 | 149.5 | 550 | 180 | 2.4 | 0.29 | 155.5 | 156 | 148,4/156,2 | 130.1
550 | 0 | 3.5 | 0.1 | 149.3 | 149.6 | 153,3/150,7 | 152.2 | 550 | 180 | 0.5 | 0.8 | 160.2 | 160.4 | 165,3/161,5 | 138
550 | 0 | 3.4 | 0.11 | 153.7 | 154 | 157,5/155,4 | 156.3 | 550 | 180 | 1 | 0.6 | 159.6 | 159.4 | 168,9/162,4 | 143.8
550 | 0 | 0.33 | 0.08 | 145.5 | 145.6 | 148/142,8 | 147.8 | 550 | 180 | 0.21 | 0.3 | 153.2 | 153.1 | 160,1/151,8 | 133.5
550 | 0 | 0.33 | 0.08 | 145.5 | 145.6 | 148,1/142,8 | 147.8 | 550 | 180 | 0.4 | 0.6 | 158 | 158.5 | 163,7/159,5 | 138.6
550 | 0 | 0.9 | 0.24 | 154.2 | 154.2 | 156,7/152,7 | 156.8 | 550 | 180 | 0.7 | 0.7 | 161.1 | 161.6 | 164,5/162,1 | 150.2
550 | 0 | 0.9 | 0.38 | 157.7 | 157.8 | 159,5/157,2 | 161.2 | 550 | 180 | 0.4 | 0.9 | 158.4 | 158.1 | 166/159,4 | 138.6
550 | 0 | 0.9 | 0.37 | 157.7 | 157.7 | 159,5/157,0 | 161.2 | 550 | 180 | 0.34 | 0.8 | 153 | 153.1 | 163,7/147,4 | 128
550 | 0 | 0.9 | 0.37 | 157.7 | 157.7 | 159,5/157,0 | 161.2 | 550 | 180 | 0.3 | 0.7 | 156.1 | 156.1 | 165,1/156,7 | 129.9
550 | 0 | 0.9 | 0.37 | 157.7 | 157.7 | 159,5/157,0 | 161.2 | 550 | 180 | 1.1 | 0.4 | 156.9 | 156.9 | 149,2/156,8 | 129.9
550 | 0 | 0.65 | 0.37 | 157.5 | 157.5 | 158,7/156,7 | 161.2 | 550 | 180 | 1.4 | 0.5 | 159.2 | 159.5 | 152,4/158,8 | 143.2
550 | 0 | 0.9 | 0.55 | 160.7 | 160.7 | 161,7/160,8 | 163.7 | 550 | 180 | 0.5 | 1 | 161.2 | 161.3 | 167,4/162,5 | 150.2
550 | 0 | 2.5 | 0.4 | 158.5 | 158.5 | 162,5/158,5 | 161.4 | 550 | 180 | 0.2 | 0.4 | 153.1 | 153.2 | 154.6 | 128
550 | 0 | 2.3 | 0.4 | 158.5 | 158.7 | 161,4/157,4 | 161.4 | 550 | 180 | 0.2 | 0.4 | 153.2 | 153.3 | 161,6/153,5 | 128
550 | 0 | 1.3 | 0.22 | 153.8 | 153.8 | 156,6/152,3 | 156 | 550 | 180 | 2.9 | 0.3 | 155.2 | 155.3 | 149,7/155,0 | 135.4
550 | 0 | 1.5 | 0.26 | 155 | 155 | 157,8/153,7 | 158.2 | 550 | 180 | 2.9 | 0.3 | 155.2 | 155.3 | 148,5/155,6 | 135.4
550 | 0 | 1.5 | 0.4 | 158.5 | 158.4 | 160.8/156.4 | 161.4 | 550 | 180 | 1.5 | 0.25 | 154.8 | 154.7 | 147,0/154,8 | 133.1
550 | 0 | 1.5 | 0.4 | 158.6 | 158.8 | 160,9/157,1 | 161.4 | 550 | 180 | 1.7 | 0.3 | 155.8 | 155.7 | 147,2/155,8 | 135.4
550 | 0 | 1.3 | 0.5 | 160.2 | 160.4 | 162,1/159,5 | 163.3 | 550 | 180 | 1.7 | 0.27 | 155.4 | 155.5 | 149,5/155,0 | 135.4
550 | 0 | 1.7 | 0.7 | 162.9 | 162.6 | 164,6/162,4 | 165.6 | 550 | 180 | 0.3 | 0.6 | 155.7 | 155.6 | 164,6/155,9 | 135.4
550 | 0 | 1.9 | 0.7 | 163.6 | 163.3 | 165,3/161,4 | 166.6 | 550 | 180 | 0.3 | 0.62 | 156 | 156 | 163,9/157,4 | 129.9
550 | 0 | 3 | 0.34 | 157.3 | 157.3 | 161.2/157,3 | 160.2 | 550 | 180 | 0.2 | 0.58 | 155.8 | 155.9 | 165,8/156,7 | 135.4
550 | 0 | 3 | 0.34 | 157.3 | 157.3 | 161.2/157,3 | 160.2 | 550 | 180 | 3.6 | 0.5 | 158.2 | 158.5 | 152,2/158,6 | 142
550 | 0 | 3 | 0.34 | 157.3 | 157.3 | 161.2/157,3 | 160.2 | 550 | 180 | 1.9 | 0.3 | 155.3 | 155.2 | 151,3/155,3 | 135.4
550 | 0 | 2.4 | 0.29 | 155.5 | 156 | 159,2/153,9 | 158 | 550 | 180 | 1.4 | 0.4 | 155.8 | 155.8 | 148,5/156,1 | 135.4
550 | 0 | 0.5 | 0.8 | 160.2 | 160.4 | 160,7/160,8 | 163.3 | 550 | 180 | 0.6 | 0.4 | 156.5 | 156.6 | 157,0/156,3 | 144.9
550 | 0 | 1 | 0.6 | 159.6 | 159.4 | 164,6/163,6 | 162.4 | 550 | 180 | 0.5 | 0.31 | 155.6 | 155.7 | 155,9/155,2 | 135.4
550 | 0 | 0.21 | 0.3 | 153.2 | 153.1 | 154,9/153 | 156 | 550 | 180 | 0.3 | 0.83 | 158.3 | 158.3 | 166,7/159,1 | 142
550 | 0 | 0.4 | 0.6 | 158 | 158.5 | 158,8/158,7 | 161.4 | 550 | 180 | 1.5 | 3.3 | 170 | 170 | 173,4/172,4 | 156.7
550 | 0 | 0.7 | 0.7 | 161.1 | 161.6 | 161,7/160,7 | 164.3 | 550 | 180 | 0.4 | 0.48 | 150.3 | 150.7 | 159/149,1 | 147.9
550 | 0 | 0.4 | 0.9 | 158.4 | 158.1 | 161,6/161,3 | 161.4 | 550 | 180 | 0.17 | 0.21 | 150.6 | 150.6 | 157,2/153,4 | 147.9
550 | 0 | 0.34 | 0.8 | 153 | 153.1 | 158,1/156,2 | 155.9 | 550 | 180 | 0.16 | 0.2 | 149.9 | 149.9 | 154,2/155,2 | 149.3
550 | 0 | 0.3 | 0.73 | 156.1 | 156.1 | 164,1/157,6 | 159.2 | 550 | 180 | 0.42 | 0.52 | 158 | 158.1 | 162,4/163,4 | 156.9
550 | 0 | 1.1 | 0.37 | 156.9 | 156.9 | 160,8/157,7 | 159.2 | 550 | 180 | 0.18 | 0.21 | 150.2 | 150 | 156.3/155,4 | 147.9
550 | 0 | 1.4 | 0.5 | 159.2 | 159.5 | 163,2/160,2 | 162 | 550 | 180 | 0.32 | 0.32 | 155 | 155.1 | 159,9/160,1 | 152.2
550 | 0 | 0.5 | 1 | 161.2 | 161.3 | 162,8/163,0 | 164.3 | 550 | 180 | 0.36 | 0.4 | 155.1 | 155.1 | 163,1/158,0 | 152.2
550 | 0 | 0.2 | 0.39 | 153.1 | 153.2 | 159,7/152,2 | 155.9 | 550 | 180 | 0.4 | 0.39 | 156.8 | 156.8 | 162,7/162,1 | 153.6
550 | 0 | 0.2 | 0.39 | 153.2 | 153.3 | 158,4/153,7 | 155.9 | 550 | 180 | 0.31 | 0.31 | 155 | 155 | 159,3/159,1 | 152.2
550 | 0 | 2.9 | 0.27 | 155.2 | 155.3 | 159,4/154,5 | 157.8 | 550 | 180 | 0.69 | 0.72 | 162 | 162 | 167,8/164,9 | 106.6
550 | 0 | 2.9 | 0.3 | 155.2 | 155.3 | 139,4/154,6 | 157.8 | 550 | 180 | 0.57 | 0.59 | 160.1 | 160 | 164,2/165,5 | 156.9
550 | 0 | 2.9 | 0.28 | 155.5 | 155.6 | 159,5/154,8 | 157.8 | 550 | 180 | 0.46 | 0.45 | 158.2 | 158.3 | 163,3/163,3 | 156.9
550 | 0 | 2.9 | 0.3 | 155.5 | 155.6 | 159,8/154,8 | 153.4 | 550 | 180 | 0.4 | 0.38 | 157.5 | 157.5 | 160,6/163,2 | 156.4
550 | 0 | 1.5 | 0.25 | 154.8 | 154.7 | 159,2/155,0 | 157.5
550 | 0 | 1.7 | 0.28 | 155.8 | 155.7 | 160,2/156,0 | 157.8 | 700 | 180 | 4 | 0.45 | 159 | 159.1 | 152,3/158,7 | 149.9
550 | 0 | 1.7 | 0.27 | 155.4 | 155.5 | 160,0/156,0 | 157.8 | 700 | 180 | 3.6 | 0.4 | 158.6 | 158.5 | 152,2/157,9 | 148.8
550 | 0 | 0.3 | 0.6 | 155.7 | 155.6 | 159,3/159,2 | 157.8 | 700 | 180 | 0.9 | 0.4 | 152.2 | 152.3 | 147,7/150,4 | 144.1
550 | 0 | 0.3 | 0.62 | 156 | 156 | 166,0/154,2 | 159.2 | 700 | 180 | 0.7 | 0.35 | 150.7 | 150.7 | 146,8/148,4 | 142.3
550 | 0 | 0.2 | 0.58 | 155.8 | 155.9 | 165,3/156,8 | 157.8 | 700 | 180 | 2.4 | 1.2 | 161.1 | 161.1 | 157,3/158,6 | 152.3
550 | 0 | 3.6 | 0.5 | 158.2 | 158.5 | 162,2/157,4 | 160.9 | 700 | 180 | 1.5 | 0.8 | 157 | 157 | 153,9/155 | 147.9
550 | 0 | 1.9 | 0.3 | 155.3 | 155.2 | 158,2/153,3 | 153.4 | 700 | 180 | 3.6 | 0.5 | 154.2 | 154.2 | 147,2/153,5 | 143.4
550 | 0 | 1.9 | 0.3 | 155.2 | 155.3 | 158,3/153,3 | 157.8 | 700 | 180 | 4.1 | 0.6 | 157 | 157 | 148,1/155,2 | 146.3
550 | 0 | 1.4 | 0.35 | 155.8 | 155.8 | 160,2/156,0 | 157.8 | 700 | 180 | 4.1 | 0.6 | 157 | 157 | 150,8/157,5 | 146.1
550 | 0 | 0.6 | 0.36 | 156.5 | 156.6 | 157,5/156,4 | 159.4 | 700 | 180 | 4.1 | 0.53 | 154.3 | 154.2 | 149,8/152,5 | 143.3
550 | 0 | 0.5 | 0.31 | 155.6 | 155.7 | 156,4/155,1 | 157.8 | 700 | 180 | 4.3 | 0.6 | 155.3 | 155.3 | 149,1/154,2 | 144.3
550 | 0 | 0.5 | 0.3 | 155.8 | 155.5 | 156,5/154,9 | 153.4 | 700 | 180 | 0.2 | 0.38 | 149.7 | 149.8 | 151,8/147,5 | 140.5
550 | 0 | 0.3 | 0.83 | 158.3 | 158.3 | 168,5/156,3 | 160.9 | 700 | 180 | 0.9 | 1.68 | 163.2 | 163.3 | 163,8/159,9 | 154.7
550 | 0 | 0.3 | 1.1 | 158.5 | 158.4 | 167,4/159,3 | 160.9 | 700 | 180 | 1.9 | 3.4 | 168.6 | 168.8 | 169,4/165,5 | 159.6
550 | 0 | 0.4 | 1 | 160.1 | 160.1 | 163,6/162,8 | 162.9 | 700 | 180 | 3.8 | 0.1 | 150.3 | 149.9 | 147,6/141,2 | 138.4
550 | 0 | 0.4 | 1.1 | 160.2 | 160.7 | 166,6/162,4 | 162.9 | 700 | 180 | 0.77 | 0.2 | 146.4 | 146.4 | 141,1/144,8 | 136.7
550 | 0 | 1.2 | 1.43 | 167.9 | 167.9 | 177,2/166,1 | 170.1 | 700 | 180 | 1.9 | 0.52 | 154.3 | 154.3 | 148,9/152,8 | 142.6
550 | 0 | 0.4 | 0.48 | 150.3 | 150.7 | 160,8/153,4 | 152 | 700 | 180 | 0.9 | 0.69 | 157 | 157.2 | 149,3/155,4 | 140.3
550 | 0 | 0.7 | 0.78 | 155.7 | 155.7 | 165,6/159,5 | 158.1 | 700 | 180 | 0.9 | 0.66 | 156.8 | 156.8 | 149,8/155,1 | 145.1
550 | 0 | 0.7 | 0.78 | 155.7 | 155.7 | 165,7/159,6 | 158.1 | 700 | 180 | 2.7 | 0.4 | 152.1 | 152.3 | 145,4/150,8 | 130.7
550 | 0 | 0.6 | 0.7 | 154.4 | 154.8 | 164,6/158,4 | 157 | 700 | 180 | 3.1 | 0.46 | 153.3 | 153.8 | 146,3/153,0 | 128.1
550 | 0 | 0.7 | 0.8 | 155.7 | 155.8 | 163,1/163,4 | 158.1 | 700 | 180 | 2.2 | 0.32 | 150.7 | 150.6 | 144,1/149,9 | 133.2
550 | 0 | 0.3 | 0.38 | 156.7 | 156.7 | 165,7/151,9 | 159.2 | 700 | 180 | 4.7 | 0.7 | 157.1 | 157.3 | 149,6/156,4 | 140.7
550 | 0 | 0.3 | 0.4 | 156.1 | 156.1 | 166,2/154,7 | 159.2 | 700 | 180 | 3.8 | 0.56 | 155.3 | 155.3 | 148,0/154,6 | 141.1
550 | 0 | 0.3 | 0.36 | 155.7 | 155.7 | 165,5/157,3 | 158.1 | 700 | 180 | 2 | 0.5 | 154.3 | 154.2 | 149,3/152,7 | 142.2
550 | 0 | 0.3 | 0.13 | 156.1 | 156 | 157,5/160,4 | 159.2 | 700 | 180 | 2.2 | 0.6 | 155.1 | 155.8 | 149,3/154,6 | 142.2
550 | 0 | 0.3 | 0.14 | 156.1 | 156.4 | 158,0/158,7 | 159.2 | 700 | 180 | 0.4 | 1 | 160.2 | 160.1 | 154,9/158,5 | 144.6
550 | 0 | 0.3 | 0.14 | 156.1 | 156.4 | 158,1/158,9 | 159.2 | 700 | 180 | 3.1 | 0.45 | 153.5 | 153.7 | 146,7/152,4 | 139.1
550 | 0 | 0.3 | 0.35 | 155.8 | 155.8 | 164,5/156,9 | 158.1 | 700 | 180 | 0.9 | 1.2 | 160.2 | 160.3 | 159,3/157,8 | 152.6
550 | 0 | 0.5 | 0.56 | 159.8 | 159.8 | 168,3/160,6 | 162.2 | 700 | 180 | 0.9 | 1.2 | 160.2 | 160.3 | 159,3/157,8 | 152.6
550 | 0 | 0.5 | 0.67 | 160.3 | 160.5 | 170,5/167,3 | 162.8 | 700 | 180 | 0.8 | 1.1 | 159.7 | 159.5 | 158,1/157,5 | 137.5
550 | 0 | 0.4 | 0.6 | 158.1 | 158.4 | 168,7/160,2 | 161.4 | 700 | 180 | 0.5 | 0.7 | 155.5 | 155.6 | 154,4/153,8 | 142.2
550 | 0 | 0.3 | 0.32 | 154.8 | 154.9 | 162,8/161,2 | 158.2 | 700 | 180 | 1.2 | 1.1 | 160 | 160 | 158,1/157,9 | 152.6
550 | 0 | 0.4 | 0.44 | 157.3 | 157.3 | 165,2/163,6 | 160.7 | 700 | 180 | 0.8 | 1.4 | 160.7 | 160.8 | 161,8/158,6 | 152.6
550 | 0 | 0.3 | 0.37 | 155.3 | 155.4 | 163,8/160,8 | 158.1 | 700 | 180 | 0.5 | 1 | 157 | 157.2 | 157,9/156,2 | 141.3
550 | 0 | 0.17 | 0.21 | 150.6 | 150.6 | 159,3/156,3 | 152 | 700 | 180 | 0.4 | 0.7 | 155.2 | 155.3 | 156,0/153,4 | 142.2
550 | 0 | 0.16 | 0.2 | 149.9 | 149.9 | 159,5/153,4 | 153.3 | 700 | 180 | 0.8 | 1.5 | 161.2 | 161.2 | 161,8/159,3 | 152.6
550 | 0 | 0.42 | 0.52 | 158 | 158.1 | 167,6/160,3 | 161.3 | 700 | 180 | 3 | 0.67 | 155.9 | 156.2 | 150,3/155,4 | 141.3
550 | 0 | 0.18 | 0.21 | 150.2 | 150 | 160/152,7 | 152 | 700 | 180 | 2.7 | 0.6 | 155.3 | 155.6 | 149,8/154,6 | 142.2
550 | 0 | 0.32 | 0.32 | 155 | 155.1 | 164/159,7 | 158.1 | 700 | 180 | 0.5 | 0.8 | 156.8 | 156.7 | 156,5/155,2 | 141.6
550 | 0 | 0.36 | 0.4 | 155.1 | 155.1 | 164,3/160,3 | 158.1 | 700 | 180 | 0.4 | 0.6 | 155 | 155.1 | 155,2/153,3 | 142.2
550 | 0 | 0.4 | 0.47 | 157.1 | 157.2 | 166,9/161,0 | 160.7 | 700 | 180 | 0.5 | 0.8 | 156.9 | 157 | 156,8/155,2 | 155.7
550 | 0 | 0.4 | 0.39 | 156.8 | 156.8 | 164,3/163,5 | 159.2 | 700 | 180 | 0.5 | 0.8 | 156.9 | 157 | 156,8/155,2 | 155.7
550 | 0 | 0.4 | 0.42 | 157.3 | 157.3 | 166,5/161,9 | 160.7 | 700 | 180 | 3.4 | 0.4 | 152.3 | 152.4 | 142,5/152,8 | 136
550 | 0 | 0.31 | 0.31 | 155 | 155 | 163,2/161,6 | 158.1 | 700 | 180 | 3.9 | 0.4 | 152.2 | 152.2 | 146,8/149,3 | 136
550 | 0 | 0.69 | 0.72 | 162 | 162 | 170,8/166,9 | 166.5 | 700 | 180 | 4 | 0.41 | 152.6 | 152.6 | 147,4/149,5 | 136
550 | 0 | 0.57 | 0.59 | 160.1 | 160 | 168,7/162,1 | 162.8 | 700 | 180 | 4 | 0.39 | 152 | 152 | 146,9/149,1 | 136
550 | 0 | 0.46 | 0.45 | 158.2 | 158.3 | 166,2/164,3 | 161.3 | 700 | 180 | 0.4 | 0.76 | 156.1 | 156.1 | 157,2/154,6 | 140.5
550 | 0 | 0.4 | 0.38 | 157.5 | 157.5 | 165,7/161,6 | 160.7 | 700 | 180 | 0.4 | 0.78 | 156.2 | 156.4 | 158,4/154,2 | 140.5
550 | 0 | 0.4 | 0.42 | 157.3 | 157.2 | 164,6/162,4 | 160.7 | 700 | 180 | 4 | 0.5 | 152.8 | 152.8 | 144,2/150,9 | 136
[8 empty] | 700 | 180 | 3.5 | 0.6 | 154.6 | 154.7 | 148,2/154,2 | 137.6
700 | 0 | 2.4 | 0.7 | 155 | 155.6 | 158.5/157.2 | 169.5 | 700 | 180 | 3.6 | 0.6 | 154.9 | 155 | 148,0/154,4 | 140.7
700 | 0 | 2.4 | 0.7 | 155 | 155.6 | 158.5/157.2 | 169.5 | 700 | 180 | 3.9 | 0.7 | 155.4 | 155.4 | 152,0/152,8 | 140.3
700 | 0 | 2.4 | 0.7 | 155 | 155.6 | / | 169.5 | 700 | 180 | 1.2 | 0.7 | 156.1 | 156.2 | 152,1/154,1 | 140.5
700 | 0 | 3.4 | 1 | 158.4 | 158.4 | 161.6/161.2 | 172.6 | 700 | 180 | 0.4 | 0.88 | 156.5 | 156.5 | 158,0/154,8 | 140.5
700 | 0 | 2.4 | 0.7 | 155 | 155.6 | 158.5/157.2 | 169.5 | 700 | 180 | 0.6 | 1.4 | 159.7 | 159.5 | 161,8/158 | 143.3
700 | 0 | 3.3 | 1.5 | 155 | 155.1 | 157,4/154,8 | 169.5 | 700 | 180 | 0.6 | 1.3 | 159.7 | 159.8 | 160,5/158,2 | 143.3
700 | 0 | 1.4 | 0.7 | 149 | 149 | 151,8/149,1 | 165 | 700 | 180 | 0.6 | 1.2 | 159.1 | 159.7 | 160,9/157,6 | 143.3
700 | 0 | 2.9 | 0.54 | 147.1 | 147.1 | 151,1/148,8 | 162.9 | 700 | 180 | 0.6 | 1.3 | 159.7 | 159.7 | 161/157,6 | 143.3
700 | 0 | 3.1 | 0.6 | 156.3 | 156.3 | 159,7/159,8 | 175.3 | 700 | 180 | 2.7 | 0.8 | 158 | 157.9 | 151,1/156 | 140.6
700 | 0 | 3.1 | 0.6 | 156.3 | 156.3 | 159,9/157,8 | 176 | 700 | 180 | 3.8 | 1.1 | 160.9 | 160.8 | 164,3/162,8 | 143.3
700 | 0 | 2.9 | 0.55 | 155.7 | 155.8 | 159,3/158,8 | 176.1 | 700 | 180 | 1.2 | 3.2 | 157.5 | 157.4 | / | 140.6
700 | 0 | 2.8 | 0.35 | 157.1 | 157.4 | 161,1/158,0 | 162 | 700 | 180 | 0.9 | 1.13 | 160.4 | 160.4 | 161,1/161 | 144.3
700 | 0 | 4 | 0.45 | 159 | 159.1 | 162,9/160,2 | 163.5 | 700 | 180 | 0.8 | 0.78 | 158.9 | 158.8 | 160/158.3 | 142
700 | 0 | 3.6 | 0.41 | 158.6 | 158.5 | 162,3/159,5 | 163.4 | 700 | 180 | 0.8 | 0.8 | 159 | 159.2 | 160,2/158,7 | 142.8
700 | 0 | 0.9 | 0.43 | 152.2 | 152.3 | 155,3/153,7 | 157.1 | 700 | 180 | 0.3 | 0.35 | 157.7 | 157.7 | 159,5/156,3 | 139.1
700 | 0 | 0.7 | 0.35 | 150.7 | 150.7 | 153,7/152,5 | 155.6 | 700 | 180 | 0.5 | 0.21 | 155 | 154.9 | 151,2/154,7 | 137.9
700 | 0 | 2.4 | 1.2 | 161.1 | 161.1 | 164/163,1 | 166 | 700 | 180 | 0.6 | 0.26 | 156.7 | 156.7 | 152,2/156,8 | 142.2
700 | 0 | 1.5 | 0.8 | 157 | 157 | 160,3/159,6 | 162 | 700 | 180 | 1.3 | 0.58 | 163.3 | 163.4 | 158,8/163,2 | 146.2
700 | 0 | 3.6 | 0.5 | 154.2 | 154.2 | 158,1/154,4 | 158.9 | 700 | 180 | 0.5 | 0.52 | 161.6 | 161.6 | 161,5/161,1 | 144.7
700 | 0 | 4.1 | 0.6 | 157 | 157 | 159 | 162 | 700 | 180 | 0.5 | 0.52 | 161.2 | 161.2 | 161,2/160,7 | 144.7
700 | 0 | 3.8 | 0.5 | 157 | 158.1 | 162,6/158,6 | 162 | 700 | 180 | 0.5 | 0.52 | 161.2 | 161.2 | 161,3/160,8 | 144.7
700 | 0 | 4.1 | 0.53 | 154.3 | 154.2 | 158.1 | 159.2 | 700 | 180 | 0.3 | 0.38 | 158.3 | 158.3 | 159,2/158,3 | 140.7
700 | 0 | 4.3 | 0.6 | 155.3 | 155.3 | 158,7/155,4 | 160.1 | 700 | 180 | 0.4 | 0.5 | 160.5 | 160.4 | 161,2/160,4 | 144.3
700 | 0 | 0.2 | 0.38 | 149.7 | 149.8 | 146,7/151,6 | 154.9 | 700 | 180 | 0.4 | 0.49 | 160.8 | 160.5 | 161,5/161 | 144.3
700 | 0 | 0.9 | 1.68 | 163.2 | 163.3 | 159,3/164,2 | 168.4 | 700 | 180 | 0.4 | 0.51 | 160.7 | 160.8 | 161,3/161,1 | 144.3
700 | 0 | 1.9 | 3.42 | 168.6 | 168.8 | 165,9/170,1 | 173.5 | 700 | 180 | 0.23 | 0.26 | 155.6 | 155.8 | 156,7/155,1 | 137.9
700 | 0 | 0.4 | 0.75 | 155.6 | 155.5 | 153,1/157,4 | 160.6 | 700 | 180 | 0.35 | 0.32 | 157.1 | 157.2 | 158,5/156,5 | 139.1
700 | 0 | 2.5 | 0.1 | 140.8 | 140.4 | 144,7/145,4 | 145.3 | 700 | 180 | 0.35 | 0.32 | 157.1 | 157.1 | 158,5/156,5 | 139.1
700 | 0 | 3.8 | 0.14 | 150.3 | 149.9 | 153,4/154,7 | 155.1 | 700 | 180 | 0.23 | 0.23 | 155 | 155 | 156,4/154,9 | 137.9
700 | 0 | 0.77 | 0.2 | 146.4 | 146.4 | 150/147,7 | 151.4 | 700 | 180 | 0.42 | 0.48 | 160.2 | 160.1 | 160,7/160,6 | 144.3
700 | 0 | 1.9 | 0.52 | 154.3 | 154.3 | 157,7/155,7 | 159.3 | 700 | 180 | 0.3 | 0.34 | 157.5 | 157.6 | 158,8/157,3 | 139.1
700 | 0 | 0.9 | 0.38 | 151.4 | 151.6 | 154,3/153,1 | 154.7 | 700 | 180 | 0.4 | 0.49 | 161.4 | 161.3 | 163,7/160,9 | 144.7
700 | 0 | 0.9 | 0.38 | 151.4 | 151.6 | 154,3/153,1 | 154.7 | 700 | 180 | 0.4 | 0.42 | 160.1 | 160.1 | 160,7/160,3 | 144.3
700 | 0 | 0.9 | 0.69 | 157 | 157.2 | 160,9/159,2 | 160.9 | 700 | 180 | 0.21 | 0.25 | 155.1 | 155.2 | 156,9/155,4 | 137.9
700 | 0 | 0.9 | 0.66 | 156.8 | 156.8 | 161,1/158,8 | 160.9 | 700 | 180 | 0.47 | 0.59 | 162 | 162 | 164,1/161,3 | 145.7
700 | 0 | 2.7 | 0.4 | 152.1 | 152.3 | 156,0/154,2 | 157.3 | 700 | 180 | 0.42 | 0.45 | 160.1 | 160 | 162,1/159,3 | 144.3
700 | 0 | 3.1 | 0.46 | 153.3 | 153.8 | 157,2/154,1 | 158.2 | 700 | 180 | 0.32 | 0.38 | 159.3 | 159.2 | 161,7/159,1 | 145.3
700 | 0 | 2.2 | 0.32 | 150.7 | 150.6 | 154,6/151,3 | 156 | 700 | 180 | 0.4 | 0.38 | 159.5 | 159.4 | 160,6/159,3 | 145.3
700 | 0 | 4.7 | 0.7 | 157.1 | 157.3 | 160,8/157,6 | 162.3 | 700 | 180 | 0.3 | 0.36 | 158.4 | 158.4 | 160,0/158,8 | 143
700 | 0 | 3.8 | 0.56 | 155.3 | 155.3 | 159,1/155,4 | 160.5
700 | 0 | 2 | 0.5 | 154.3 | 154.2 | 157,7/154,8 | 159.1 | 1250 | 180 | 1 | 1.4 | 160.3 | 160.2 | 146,6/153,1 | 158.8
700 | 0 | 2.2 | 0.6 | 155.1 | 155.8 | 158.8/156,6 | 159.1 | 1250 | 180 | 0.9 | 1.7 | 154 | 154 | 146,9/146,1 | 153.3
700 | 0 | 0.4 | 1 | 160.2 | 160.1 | 163,5/160,8 | 165.4 | 1250 | 180 | 1.2 | 2.3 | 157.7 | 157.7 | 148,4/149,9 | 156.4
700 | 0 | 1.5 | 0.6 | 155.4 | 155.6 | 158,6/156,5 | 159.1 | 1250 | 180 | 1.1 | 2 | 157.5 | 157 | 147,6/148,2 | 156.5
700 | 0 | 3.6 | 1.5 | 163.1 | 163.3 | 166,2/164,8 | 168.1 | 1250 | 180 | 3.8 | 2.4 | 161.1 | 161.4 | 154,9/153,7 | 160.5
700 | 0 | 3.1 | 0.45 | 153.5 | 153.7 | 157,8/154,9 | 158.5 | 1250 | 180 | 1.3 | 2.48 | 155.4 | 155.2 | 166,6/163,0 | 154.7
700 | 0 | 3 | 0.4 | 153.2 | 153.4 | 157,5/154,5 | 158.5 | 1250 | 180 | 2.6 | 2.3 | 156.8 | 156.8 | 152,6/147,2 | 156
700 | 0 | 0.9 | 1.2 | 160.2 | 160.3 | 162/161,9 | 165.3
700 | 0 | 0.9 | 1.2 | 160.2 | 160.3 | 162/161,9 | 165.3 | 1500 | 180 | 0.8 | 0.9 | 155.3 | 155.8 | 145,2/146,1 | 149.7
700 | 0 | 0.8 | 1.1 | 159.7 | 159.5 | 161,2/161,1 | 162.2 | 1500 | 180 | 1.7 | 3 | 140.4 | 140.3 | 148,7/142,3 | 129.3
700 | 0 | 0.5 | 0.7 | 155.5 | 155.6 | 157,3/157,2 | 159.1
700 | 0 | 1.2 | 1.1 | 160 | 160 | 162;3/161,4 | 165.3
700 | 0 | 0.8 | 1.4 | 160.7 | 160.8 | 159,7/159,8 | 165.3
700 | 0 | 0.5 | 1 | 157 | 157.2 | 155,6/159,5 | 162.3
700 | 0 | 0.4 | 0.73 | 155.2 | 155.3 | 153,8/157,1 | 159.1
700 | 0 | 0.8 | 1.48 | 161.2 | 161.2 | 159,7/163,1 | 165.3
700 | 0 | 3 | 0.67 | 155.9 | 156.2 | 159,0/157,3 | 161
700 | 0 | 2.7 | 0.6 | 155.3 | 155.6 | 158,5/156,3 | 159.1
700 | 0 | 0.5 | 0.8 | 156.8 | 156.7 | 156,6/158,6 | 161.8
700 | 0 | 0.4 | 0.64 | 155 | 155.1 | 154,9/156,7 | 159.1
700 | 0 | 0.5 | 0.8 | 156.9 | 157 | 156,7/158,6 | 161.9
700 | 0 | 0.5 | 0.8 | 156.9 | 157 | 156,7/158,6 | 161.9
700 | 0 | 3.4 | 0.4 | 152.3 | 152.4 | 156,7/152,9 | 157.4
700 | 0 | 3.9 | 0.4 | 152.2 | 152.2 | 155,6/154,7 | 157.4
700 | 0 | 4 | 0.41 | 152.6 | 152.6 | 155,4/155,1 | 157.4
700 | 0 | 4 | 0.39 | 152 | 152 | 155,0/154,6 | 157.4
700 | 0 | 0.4 | 0.76 | 156.1 | 156.1 | 153,5/158,1 | 161.3
700 | 0 | 0.4 | 0.78 | 156.2 | 156.4 | 153,1/158,2 | 161.3
700 | 0 | 4 | 0.49 | 152.8 | 152.8 | 157,2/154,7 | 157.4
700 | 0 | 3.5 | 0.59 | 154.6 | 154.7 | 158,3/154,7 | 159.6
700 | 0 | 3.6 | 0.6 | 154.9 | 155 | 158,7/155,0 | 159.8
700 | 0 | 3.9 | 0.66 | 155.4 | 155.4 | 158,6/157,8 | 160.5
700 | 0 | 1.2 | 0.7 | 156.1 | 156.2 | 158,8/158,2 | 161.3
700 | 0 | 1.1 | 0.64 | 155.6 | 155.6 | 158,3/157,6 | 160.5
700 | 0 | 0.4 | 0.88 | 156.5 | 156.5 | 154,1/158,1 | 161.3
700 | 0 | 0.4 | 0.9 | 156.9 | 156.7 | 154,3/158,2 | 161.3
700 | 0 | 0.6 | 1.4 | 159.7 | 159.5 | 155,5/161,5 | 164.7
700 | 0 | 0.6 | 1.3 | 159.7 | 159.8 | 157,7/161,4 | 164.7
700 | 0 | 0.6 | 1.2 | 159.1 | 159.7 | 159,8/160,8 | 164.7
700 | 0 | 0.6 | 1.3 | 159.7 | 159.7 | 157,9/161,2 | 164.7
700 | 0 | 2.7 | 0.8 | 158 | 157.9 | 161,1/160 | 163.2
700 | 0 | 3.8 | 1.1 | 160.9 | 160.8 | 164,3/162,8 | 166.1
700 | 0 | 1.2 | 3.2 | 157.5 | 157.4 | / | 163.2
700 | 0 | 0.9 | 1.13 | 160.4 | 160.9 | 159,5/162,4 | 164.2
700 | 0 | 0.8 | 0.78 | 158.9 | 158.8 | 159,1/160.1 | 162.2
700 | 0 | 0.8 | 0.8 | 159 | 159.2 | 158,5/160,6 | 162.4
700 | 0 | 0.3 | 0.35 | 157.7 | 157.7 | 156,8/159,1 | 161
700 | 0 | 0.3 | 0.35 | 157.7 | 157.7 | 156,9/159,2 | 161
700 | 0 | 0.5 | 0.21 | 155 | 154.9 | 158,3/155,0 | 159.4
700 | 0 | 0.6 | 0.26 | 156.7 | 156.7 | 159,9/157,3 | 159.9
700 | 0 | 1.3 | 0.58 | 163.3 | 163.4 | 166,6/163,6 | 166.6
700 | 0 | 0.5 | 0.52 | 161.6 | 161.6 | 162,1/163,0 | 165.1
700 | 0 | 0.5 | 0.52 | 161.2 | 161.2 | 161,9/162,7 | 165.1
700 | 0 | 0.5 | 0.52 | 161.2 | 161.2 | 162,0/162,8 | 165.1
700 | 0 | 0.3 | 0.38 | 158.3 | 158.3 | 157,7/159,6 | 161.6
700 | 0 | 0.4 | 0.5 | 160.5 | 160.4 | 160,0/161,8 | 164.2
700 | 0 | 0.4 | 0.49 | 160.8 | 160.7 | 161,7/161,2 | 164.2
700 | 0 | 0.4 | 0.51 | 160.7 | 160.8 | 160,4/162 | 164.2
700 | 0 | 0.23 | 0.26 | 155.6 | 155.8 | 156,3/156,2 | 159.4
700 | 0 | 0.35 | 0.32 | 157.1 | 157.2 | 156,1/159,1 | 161
700 | 0 | 0.35 | 0.32 | 157.1 | 157.1 | 156,7/158,8 | 161
700 | 0 | 0.23 | 0.23 | 155 | 155 | 155,4/155,8 | 159.4
700 | 0 | 0.42 | 0.48 | 160.2 | 160.1 | 160,1/161,5 | 164.2
700 | 0 | 0.3 | 0.34 | 157.5 | 157.6 | 157,7/158,9 | 161
700 | 0 | 0.4 | 0.49 | 161.4 | 161.3 | 158,8/162,6 | 165.1
700 | 0 | 0.4 | 0.42 | 160.1 | 160.1 | 160,1/161,2 | 164.2
700 | 0 | 0.8 | 0.79 | 165.5 | 165 | 165,7/166,3 | 168.6
700 | 0 | 0.21 | 0.25 | 155.1 | 155.2 | 153,3/156,8 | 159.4
700 | 0 | 0.47 | 0.59 | 162 | 162 | 159,4/164 | 165.1
700 | 0 | 0.42 | 0.45 | 160.1 | 160 | 159,6/161,3 | 164.2
700 | 0 | 0.32 | 0.38 | 159.3 | 159.2 | 157,0/160,7 | 162.3
700 | 0 | 0.4 | 0.38 | 159.5 | 159.4 | 159,5/160,6 | 162.3
700 | 0 | 0.3 | 0.39 | 158.9 | 158.9 | 157,1/160,1 | 161.3
700 | 0 | 0.9 | 1.2 | 168.1 | 168 | 165,7/169,6 | 171.1
700 | 0 | 0.3 | 0.36 | 158.4 | 158.4 | 157,8/159,0 | 161.4
700 | 0 | 0.3 | 0.36 | 158.4 | 158.4 | 157,8/159,0 | 161.4
1250 | 0 | 2.4 | 3.1 | 150.3 | 150.1 | 156,3/150 | 162.6
1250 | 0 | 1.7 | 3 | 148.4 | 148.6 | 155,9/146 | 161.4
1250 | 0 | 1.6 | 3.1 | 150.2 | 150.2 | 158,3/145,5 | 164
1250 | 0 | 1 | 1.4 | 160.3 | 160.2 | 161,9/162,3 | 167.7
1250 | 0 | 0.4 | 0.6 | 152.5 | 152.9 | 154,2/154,7 | 160
1250 | 0 | 1.3 | 1.8 | 162.5 | 162.4 | 164/164,4 | 169.9
1250 | 0 | 0.9 | 1.7 | 166.6 | 166.7 | 153,2/156,7 | 162
1250 | 0 | 1.2 | 2.3 | 154 | 154 | 162,8/162,8 | 165.4
1250 | 0 | 1 | 2 | 157.7 | 157.7 | 162/162,1 | 165.2
1250 | 0 | 4.7 | 0.74 | 157.5 | 157 | 152,7/153,3 | 159.1
1250 | 0 | 1.6 | 2.7 | 151.9 | 151.9 | 161,5/162,2 | 166
1250 | 0 | 3.8 | 2.4 | 158.2 | 158.8 | 163,9/165 | 168.8
1250 | 0 | 1.3 | 2.48 | 161.1 | 161.4 | 164,6/167,2 | 163
1250 | 0 | 2.6 | 2.28 | 155.4 | 155.2 | 159,7/161,1 | 164.6
1250 | 0 | 0.32 | 0.6 | 156.8 | 156.8 | 150,5/149,8 | 154
1250 | 0 | 1 | 1.72 | 146.2 | 146.1 | 158,6/158,5 | 163.4
1250 | 0 | 1.8 | 4 | 155.5 | 155.2 | 163,5/164,7 | 171.4
1250 | 0 | 0.7 | 1.6 | 163.3 | 163 | 155,7/156,8 | 163.6
1250 | 0 | 0.9 | 2.06 | 155.3 | 155.1 | 158,8/159,4 | 157.3
1250 | 0 | 0.6 | 1.2 | 157.4 | 157.2 | 156,6/156,1 | 160.7
1250 | 0 | 1.2 | 2.3 | 152.5 | 152.4 | 162,2/161,5 | 166.4
1250 | 0 | 1 | 2 | 158 | 158.2 | 160,2/159,2 | 168.4
1250 | 0 | 2.5 | 3.8 | 160.5 | 160.1 | 166/164,2 | 171.6
1250 | 0 | 1.9 | 2.9 | 163.5 | 163.4 | 159.1/161,8 | 169.5
1250 | 0 | 3.5 | 2.2 | 161.3 | 161.1 | 154,2/150,3 | 153
1250 | 0 | 4.3 | 3.1 | 144.4 | 144.4 | 158/154 | 155.6
1250 | 0 | 4 | 0.3 | 147.3 | 147.3 | 157,9/155,3 | 155.6
1250 | 0 | 2.3 | 2.9 | 147.3 | 147.6 | 162,4/163,1 | 167.9
1250 | 0 | 1.6 | 2.1 | 159.7 | 159.8 | 160,4/159.9 | 164.8
1250 | 0 | 1.2 | 1.6 | 156.6 | 156.6 | 158,9/157,7 | 162.7
1250 | 0 | 1.9 | 2.9 | 154.2 | 154.3 | 161,7/162,4 | 167.6
1250 | 0 | 1.4 | 2.2 | 159.2 | 159.3 | 158,7/159,5 | 164.8
1250 | 0 | 1.5 | 1.6 | 156.6 | 156.8 | 155,5/157,9 | 163.8
1250 | 0 | 2.4 | 2.6 | 155.2 | 155 | 159,7/162,0 | 167.5
1250 | 0 | 2.1 | 2.2 | 159.3 | 159.3 | 157,6/160,6 | 167.5
1250 | 0 | 1.3 | 1.9 | 159.1 | 159 | 158,6/158,6 | 164.8
1250 | 0 | 0.6 | 0.93 | 156.6 | 156.3 | 152,3/152,4 | 158.5
1250 | 0 | 1.3 | 1.9 | 150.1 | 150.1 | 158,8/158,8 | 164.8
1250 | 0 | 1.4 | 2.1 | 156.8 | 156.6 | 157,7/158,5 | 165.5
1250 | 0 | 1.7 | 2.4 | 157.2 | 157.3 | 159,7/160,4 | 165.5
1250 | 0 | 1.4 | 1.9 | 157.4 | 157.3 | 159,2/159,2 | 163.9
1250 | 0 | 0.36 | 0.48 | 155.7 | 155.7 | 148,8/148,0 | 153.2
1250 | 0 | 2 | 1.7 | 144.9 | 144.9 | 160,9/161,8 | 165.1
1250 | 0 | 3 | 2.4 | 156.9 | 156.9 | 165,6/166,8 | 170
1250 | 0 | 1 | 1.9 | 161.7 | 161.7 | 159,2/159,2 | 164.1
1250 | 0 | 1.2 | 2.4 | 155.9 | 155.6 | 159,2/159,1 | 165.1
1250 | 0 | 1.4 | 2.21 | 156.9 | 156.9 | 158,2/159,2 | 165.1
1250 | 0 | 2 | 3 | 156.4 | 156.4 | 161,9/161,9 | 165.1
1250 | 0 | 2.5 | 2.5 | 156 | 156.1 | 159,1/159,7 | 165.1
1250 | 0 | 1.8 | 1.9 | 156.2 | 156.2 | 156,5/157,4 | 162.2
1250 | 0 | 2.2 | 2.2 | 153.8 | 153.9 | 159,2/159,6 | 164.1
1250 | 0 | 2.2 | 2.1 | 155.6 | 155.7 | 158,6/159,3 | 165.1
1250 | 0 | 2.1 | 3 | 156.3 | 156.3 | 156/161,1 | 167.4
1250 | 0 | 2.7 | 1.6 | 159.8 | 159.6 | 158,7/161,4 | 161.3
1250 | 0 | 4.4 | 2.6 | 154.7 | 154.7 | 163/165,7 | 165.6
1250 | 0 | 3.4 | 1.68 | 159.1 | 159 | 155,5/158,2 | 159.7
1250 | 0 | 4 | 2 | 153.3 | 153.4 | 156,5/159,4 | 161.4
1250 | 0 | 1.3 | 0.97 | 155 | 154.9 | 158,4/160,2 | 163
1250 | 0 | 4 | 2.5 | 156.7 | 156.7 | 166,1/167,9 | 167.8
1250 | 0 | 4 | 2.2 | 162.7 | 162.7 | 163,9/167,6 | 167.8
1250 | 0 | 3.6 | 2 | 162.5 | 162.5 | 162,2/165,7 | 166.65
1250 | 0 | 3.5 | 1.88 | 160.6 | 160.8 | 160,4/164,0 | 166.6
1250 | 0 | 1.8 | 1.1 | 158.2 | 158.3 | 158,6/161,7 | 163.8
1250 | 0 | 1.4 | 0.85 | 156.1 | 156.1 | 159,4/161,8 | 161.8
1250 | 0 | 1.57 | 0.88 | 155 | 154.9 | 154,9/158,5 | 160.7
1250 | 0 | 1.96 | 1.34 | 160 | 160 | 160,3/163,1 | 165.5
1250 | 0 | 2.5 | 1.49 | 160 | 160 | 160,7/163,8 | 165.5
1250 | 0 | 4 | 1.66 | 159 | 159.1 | 162,4/164,3 | 164.6
1250 | 0 | 2.7 | 1.55 | 160.5 | 160.5 | 159,7/164,2 | 165.5
1250 | 0 | 3 | 2 | 162 | 161.9 | 164,3/166,7 | 167.8
1250 | 0 | 2.9 | 1.73 | 160.3 | 160.2 | 159,9/163,7 | 165.5
1250 | 0 | 2.5 | 1.82 | 160 | 160 | 161/163,7 | 165.5
1250 | 0 | 2.8 | 2.1 | 163.3 | 163.2 | 165,7/168,6 | 167.8
1250 | 0 | 2 | 1.8 | 161.2 | 161.3 | 164,2/165,4 | 167.8
1500 | 0 | 3.6 | 2 | 143.2 | 143.2 | 145.6/135,3 | 158.1
1500 | 0 | 3.6 | 2.6 | 144 | 144 | 148,5/139,9 | 160.7
1500 | 0 | 0.8 | 0.9 | 155.3 | 155.8 | 150,3/154,2 | 166.2
1500 | 0 | 1.7 | 3 | 140.4 | 140.3 | 152,5/147,4 | 150.7
1500 | 0 | 2.5 | 3.7 | 146.2 | 146.3 | 156,6/153,3 | 156.4
1500 | 0 | 3.6 | 0.5 | 154.2 | 154.2 | 147,2/153,5 | 164.1
1500 | 0 | 3 | 2.2 | 156.8 | 156.8 | 160,8/162 | 167.7
1500 | 0 | 1.2 | 1.17 | 151.2 | 151.1 | 151,9/151,7 | 160.8
1500 | 0 | 2.8 | 2.4 | 157.7 | 157.6 | 154,3/157,5 | 167.3
1500 | 0 | 1.8 | 1.62 | 154.4 | 154.3 | 153,6/155,7 | 164
1500 | 0 | 1.6 | 2.3 | 155.4 | 155.4 | 163,1/159,3 | 165.8
1500 | 0 | 1.7 | 2 | 155.4 | 155.3 | 161,6/159,5 | 165.6
1500 | 0 | 1.9 | 2.2 | 157.1 | 157.2 | 163,4/161,5 | 167.4
1500 | 0 | 3.6 | 3.3 | 160.1 | 160.7 | 166,9/166,8 | 170.3
1500 | 0 | 3.3 | 2.9 | 160.2 | 160.2 | 165,7/166,3 | 170.3
1500 | 0 | 4.7 | 2.2 | 141.3 | 141.3 | 139,7/144,4 | 151.5
1500 | 0 | 5 | 2.7 | 142.9 | 142.7 | 140,9/145,1 | 153.1
1500 | 0 | 3.2 | 2.7 | 152.5 | 152 | 157,5/157,5 | 162.6
1500 | 0 | 2.5 | 2.5 | 155.5 | 155.3 | 157,3/158,1 | 165.7
1500 | 0 | 1.8 | 1.9 | 153.7 | 153.8 | 150,4/153,7 | 163.9
1500 | 0 | 4 | 2.9 | 159.1 | 159.2 | 162,3/163,6 | 169.1
1500 | 0 | 3.1 | 2.2 | 156.6 | 156.7 | 159,4/160,8 | 165.7
1500 | 0 | 4.1 | 2.7 | 145 | 145.1 | 153,5/149,0 | 155.6
1500 | 0 | 2.1 | 1.8 | 156.2 | 156.1 | 161,0/161,0 | 165.7
1500 | 0 | 3.5 | 3.1 | 154 | 154 | 157,9/159,5 | 164.5
1500 | 0 | 4 | 1.7 | 154 | 153.8 | 154,4/159,4 | 164.3
1500 | 0 | 3 | 2.5 | 157.9 | 157.8 | 156,4/158,5 | 167.9
1500 | 0 | 2.3 | 1.8 | 155.5 | 155.4 | 157,9/159,6 | 157.8
1500 | 0 | 3.7 | 2.5 | 155.3 | 155.4 | 158,0/159,7 | 157.8
1500 | 0 | 4 | 1.6 | 156.5 | 156.7 | 159,6/162,2 | 166.4
1500 | 0 | 2.8 | 2.2 | 157 | 157 | 159/160,1 | 165.1
1500 | 0 | 3.5 | 2.5 | 154.2 | 154.2 | 158,7/160,8 | 164
1500 | 0 | 4 | 2.2 | 153.1 | 153 | 155,7/158 | 159.9
1500 | 0 | 4 | 2.2 | 153.3 | 153.2 | 155,8/158,1 | 160.2
1500 | 0 | 1.6 | 1.08 | 154.6 | 154.6 | 156,6/158,5 | 161.4
1500 | 0 | 4 | 2.4 | 161.3 | 161.3 | 161,3/165,1 | 168.3
1500 | 0 | 4 | 2.6 | 161.9 | 161.9 | 164,1/167,4 | 168.7
1500 | 0 | 3.6 | 2.37 | 162.3 | 162.3 | 164,0/167,2 | 169.1
1500 | 0 | 3.6 | 2.37 | 162.3 | 162.3 | 164,0/167,2 | 169.1
1500 | 0 | 4 | 2.3 | 160.2 | 160.3 | 162,6/165,4 | 167.4
1500 | 0 | 2.5 | 1.6 | 160.2 | 160.4 | 164,2/167,2 | 167.4
1500 | 0 | 2.5 | 1.5 | 160.2 | 160 | 164,2/167,1 | 167.4
1500 | 0 | 3.08 | 0.95 | 160 | 160 | 163/165,3 | 167.4
1500 | 0 | 4 | 2.37 | 162.1 | 162.1 | 164,7/167,8 | 168
1500 | 0 | 4 | 4 | 151.3 | 150.7 | 156,7/146,6 | 157.2
1500 | 0 | 3.2 | 2.25 | 162.3 | 162.2 | 164,9/167,8 | 168.2
1500 | 0 | 4 | 2 | 160.1 | 160.1 | 163,0/166,9 | 165.9
1500 | 0 | 3.2 | 2.1 | 160.2 | 160.2 | 163/165,3 | 165.9
1500 | 0 | 3.3 | 2.15 | 160 | 160 | 161,8/164,1 | 165.9
1750 | 0 | 4.1 | 1.8 | 141.6 | 141.4 | 140,9/129 | 149.4
1750 | 0 | 4.1 | 1.8 | 141.6 | 141.4 | 142,7/141,8 | 149.4
1750 | 0 | 3.3 | 2 | 147.9 | 147.8 | 149/147,4 | 146.2
1750 | 0 | 3.3 | 2 | 147.9 | 147.8 | 149/147,4 | 146.2
1750 | 0 | 4.1 | 2 | 140.5 | 140.6 | 141,9/141,2 | 149.9
1750 | 0 | 4 | 2 | 150.1 | 150.1 | 154,7/157,9 | 161.9
1750 | 0 | 3.6 | 3.1 | 150.9 | 150.9 | 152,3/144,4 | 163.1
1750 | 0 | 3.4 | 4.1 | 146.2 | 146.4 | 154,3/143,5 | 153.8
1750 | 0 | 3 | 3.1 | 145.9 | 145.8 | 153.2/151,6 | 153.1
1750 | 0 | 2 | 4.1 | 147 | 147 | 153,7/143,1 | 154.4
1750 | 0 | 2.2 | 4.2 | 142.4 | 142.1 | 154,2/148,8 | 149.9
1750 | 0 | 4.7 | 2.2 | 142.2 | 142.3 | 140,4/140,6 | 149.5
1750 | 0 | 4 | 3.5 | 146.6 | 146.6 | 151,7/152,6 | 154
1750 | 0 | 4 | 3.6 | 151.7 | 151.8 | 156,7/157,4 | 158.7
1750 | 0 | 2.8 | 4 | 147.8 | 147.8 | 157,2/153,9 | 154.5
1750 | 0 | 5.5 | 2.3 | 140.9 | 140.8 | 139,2/141,8 | 147.9
1750 | 0 | 3.6 | 4.9 | 147.1 | 147.3 | 153,2/151,3 | 154.5
1750 | 0 | 3 | 1.9 | 155.1 | 155.2 | 156,8/157,3 | 162.7
1750 | 0 | 4 | 2.3 | 157.1 | 157.2 | 157,3/162,1 | 164.6
1750 | 0 | 4 | 4.1 | 154.2 | 154.2 | 160,4/161,8 | 157.8
1750 | 0 | 4 | 2.06 | 157.8 | 157.9 | 150,7/159,4 | 161.4
1750 | 0 | 4 | 3.03 | 155.3 | 155.3 | 156,8/161,9 | 158.9
1750 | 0 | 4 | 3.27 | 155.7 | 155.7 | 154,8/161,7 | 158.9
1750 | 0 | 3.5 | 2.3 | 153.5 | 153.4 | 155,2/161,5 | 157.2
1750 | 0 | 4 | 3.43 | 159.5 | 159.5 | 157,6/159,5 | 162.9
1750 | 0 | 3.51 | 2.69 | 160 | 160 | 161,3/165,5 | 162.9
2000 | 0 | 2.6 | 4 | 140 | 140 | 150,3/139,6 | 145.9
2000 | 0 | 5 | 3.9 | 141.8 | 141.8 | 150,7/153,6 | 148.5
2000 | 0 | 4 | 3 | 146.9 | 146.8 | 149,3/155,6 | 153.7