[bookmark: _Toc97211900]Figure S5. Summary presentations of study sample sizes (n) and numbers of data pairs compared (N), accuracy root mean square (Arms), mean bias (SD) and limits of agreement (LoA) of pulse oximeters for the subgroup of Black/African American ethnic groups
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Note: 
· The Chi2 test for heterogeneity in the primary analysis suggested a Q(df = 21) = 1640.85, with P value < 0.0001. 
· Tau2 between the 9 studies = 0 (95% CI 0 to 3.04); Tau2 between the 22 comparisons = 6.86 (3.91 to 13.58). 
· The estimated overall I2 for the primary analysis = 96.39%, of which about 0% is due to between-studies heterogeneity, and 96.39% due to within-study heterogeneity. 
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