[bookmark: _Toc97211902]Figure S7. Summary presentations of study sample sizes (n) and numbers of data pairs compared (N), accuracy root mean square (Arms), mean bias (SD) and limits of agreement (LoA) of pulse oximeters for the subgroup of White/Caucasian ethnic groups
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Note: 
· The Chi2 test for heterogeneity in the primary analysis suggested a Q(df = 47) = 1100.39, with P value < 0.0001.
· Tau2 between the 13 studies = 1.10 (95% CI 0.31 to 3.48); Tau2 between the 9 comparisons = 0.38 (0.24 to 0.67).
· The estimated overall I2 for the primary analysis = 94.39%, of which about 69.92% is due to between-studies heterogeneity, and 24.47% due to within-study heterogeneity. 
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