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	Items
	Summary statistics (n (%))

	Pulse oximeter manufacturers or brands (32 studies)
	

	AFAC
	1 study (3.12%), including one model:
· AFAC FS10D [36]

	AGPTEK 
	1 study (3.12%), including one model: 
· AGPTEK FS10C [36]

	ANAPULSE 
	1 study (3.12%), including one model: 
· ANAPULSE ANP 100 [36]

	CocoBear
	1 study (3.12%), including one model: 
· Cocobear [36]

	Contec 
	1 study (3.12%), including one model: 
· Contec CMS50D1 [36]

	Criticare
	1 study (3.12%), including one model:
· Criticare CSI 501+ [30]

	Critikon 
	2 studies (6.25%), including two specified models:
· Oxyshuttle [51]
· Dinamap Plus 8700 [51]
· Unspecified model [40]

	GE Healthcare
	1 study (3.12%), including two models:
· Carescape B450 monitor with Nellcor probe [43]
· GE Dash 3000 [43]

	Hewlett-Packard 
	4 studies (12.50%), including one specified model:
· Hewlett-Packard 47201A [45; 46; 55]
· Unspecified model [49]

	HYLOGY 
	1 study (3.12%), including one specified model:
· HYLOGY MD-H37 [36]

	Masimo 
	8 studies (25.00%), including at least five specified models:
· Radical 7 or Rainbow SET Radical 7 [31; 32; 43]
· Masimo SET Quartz Q400 [43]
· Masimo SET with LNCS sensor [34; 35];
· Masimo SET Blue sensor [34];
· Masimo SET Quartz (unspecified model) [43]
· Unspecified model [28; 29; 47]

	Mommed 
	1 study (3.12%), including one specified model:
· Mommed YM101 [36]

	MiniOx 
	1 study (3.12%), including one model:
· MiniOx IV [51]

	Minolta
	1 study (3.12%), including one model:
· Pulsox-7 [42]

	Nellcor 
	18 studies (56.25%), including ten specified models:
· D-25 [24]
· Dura-Y [25]
· DS-100A Durasensor sensor (SIEMENS SC1281 monitor) [37; 38]
· MAX-N sensor (Philips IntelliVue MP70 or MX800 monitor) [53]
· N-100 [23; 33]
· N-200 [30]
· N-595 [26; 31]
· N-600 [34]
· Oxiband [25]
· OxiMax [32; 47; 48]
· Unspecified model [28; 39; 40; 47; 54]

	Nihon Koden
	1 study (3.12%), including one model:
· Nihon Koden [27]

	Novametrix 
	2 studies (6.25%), including two models:
· Novametrix 512 [43]
· Novametrix 513s [26]

	Nonin 
	4 studies (12.50%), including seven specified models:
· Nonin 2120 [43]
· Nonin 2140 [43]
· Nonin Avant 4000 [43]
· Nonin Avant 9700 [31; 43]
· Nonin Lifesense Medair [43]
· 3150 WristOx2 [35]
· Onyx [26]
· Nonin Avant (unspecified) [43]

	Ohmeda 
	11 studies (34.38%), including six specified models:
· Biox II [49]
· Biox IIA [45; 55]
· Biox III [46]
· Biox 3700 [30; 39; 41; 50; 51]
· Biox 3700E; [43]
· 3740 [27]

	Philips 
	4 studies (12.50%), including two specified models:
· Philips M1191A (Philips IntelliVue MP70 monitor) [37]
· Philips M1191BL [36]
· Unspecified Philips oximeter (Philips IntelliVue MP70 monitor) [29; 43]

	PRCMISEMED 
	1 study (3.12%), including one model:
· PRCMISEMED F4PRO [26]

	PULOX 
	1 study (3.12%), including one model: 
· PULOX PO-200 [26]

	Simed 
	2 studies (6.25%), including one specified model:
· S100e [27]
· Unspecified model [40]

	Welch Allyn
	1 study (3.12%), including one model:
· Welch Allyn [43]

	Xhale Assurance
	1 study (3.12%), including one model:
· Xhale Assurance [48]

	Zacurate
	1 study (3.12%), including one model: 
· Zacurate Pro Series 500 DL [36]

	Comparator co-oximeter devices (32 studies)
	

	AVOXimeter 
	1 study (3.12%), including one method: 
· AVOXimeter 1000E co-oximeter [34]

	Corning co-oximeter
	1 study (3.12%), including one method: 
· Corning 175 blood gas analyser co-oximeter [49]

	IL co-oximeter
	6 studies (18.75%), including three methods:
· IL 282 co-oximeter [45; 55]
· IL 482 co-oximeter [27; 41; 51]
· IL 682 co-oximeter [42]

	Nova Stat Profile co-oximeter
	1 study (3.12%), including one method:
· Nova Stat Profile 3 pH/blood gas analyser [40]

	Radiometer co-oximeter
	14 studies (43.75%), including six methods:
· Radiometer ABL520 [23]
· Radiometer ABL625 [37; 38]
· Radiometer ABL800 Flex co-oximeter [28; 29; 43; 48; 53]
· Radiometer ABL90 Flex Plus [36]
· Radiometer OSM2 [30; 33; 50]
· Radiometer OSM3 [26; 31]

	Siemens co-oximeter
	2 studies (6.25%), including two methods:
· Siemens Rapidlab 1265 analyser [32]
· Siemens RAPIDpoint 500 analyser [54]

	Combinations of different co-oximeters
	2 studies (6.25%), including two methods:
· 4-wavelength spectro-photometer, or co-oximeter (Radiometer OSM3) [24]
· Radiometer ABL800 and Rapidlab 1265 (Siemens Healthcare), IL Gem 3000 [47]

	Unspecified co-oximeter
	5 studies (15.62%), including:
· Unspecified methods [25; 35; 39; 46; 52]
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