Additional file 2 - Molecular biological detection methods and materials

The tumor immune microenvironment (TIME) was analyzed by multiplex immunofluorescence (mIF). Multiplex immunofluorescence staining was conducted using the Akoya OPAL Polaris 7-Color Automation IHC Kit (NEL871001KT). FFPE tissue slides were first deparaffinized in a BOND RX system (Leica Biosystems) and then incubated sequentially with primary antibodies targeting CD68 (Abcam, ab213363, 1:1000), PD-1 (CST, D4W2J, 86163S, 1:200), PD-L1 (CST, E1L3N, 13684S, 1:400), CD3 (Dako, A0452, 1:1), CD4 (Abcam, ab133616, 1:100), CD8 (Abcam, ab178089, 1:200), CD56 (Abcam, ab75813, 1:1000), CD20 (Dako, L26, IR604, 1:1), and pan-CK (Abcam, ab7753, 1:100) (Akoya Biosciences). This procedure was followed by incubation with secondary antibodies and corresponding reactive Opal fluorophores. Nuclei were stained with DAPI. Tissue slides that were bound with primary and secondary antibodies but not fluorophores were included as negative controls to assess autofluorescence. Multiplex-stained slides were scanned using a Vectra Polaris Quantitative Pathology Imaging System (Akoya Biosciences) at 20 nm wavelength intervals from 440 nm to 780 nm with a fixed exposure time and an absolute magnification of ×200. All the scans for each slide were then superimposed to obtain a single image. The multilayer images were imported to inForm v.2.4.8 (Akoya Biosciences) for quantitative image analysis. The tumor parenchyma and stroma were differentiated by Pan-CK staining. The quantities of various cell populations are expressed as the number of stained cells per square millimeter.

The levels of 65 cytokines and chemokines in the serum were measured simultaneously using the Immune Monitoring 65-Plex Human ProcartaPlex™ Panel (Invitrogen, EPX650-10065-901). The assay was performed and analyzed independently by Shanghai Laizee Biotech (Shanghai, China) via a Luminex 200 instrument and ProcartaPlex Analyst 1.0 software. In brief, 25 µL of plasma from each patient was incubated for 2h with a mixture of color-coded beads precoated with analyte-specific capture antibodies. After washing, biotinylated detection antibodies specific to the analytes of interest were added, forming an antibody‒antigen sandwich, and then, phycoerythrin (PE)-conjugated streptavidin was added to bind the biotinylated detection antibodies. The beads were read on a Luminex 200 analyzer. One laser was used to classify the bead and determine each analyte. The second laser was used to determine the magnitude of the PE-derived signal, which was directly proportional to the amount of analyte bound. Standard curves for all 65 analytes were generated, and the concentration level of each analyte was determined via ProcartaPlex Analyst 1.0 software. Sixty-five cytokines and chemokines were assessed as follows. Cytokines: G-CSF (CSF-3), GM-CSF, IFN-alpha, IFN-gamma, IL-1 alpha, IL-1 beta, IL-2, IL-3, IL-4, IL-5, IL-6, IL-7, IL-8 (CXCL8), IL-9, IL-10, IL-12p70, IL-13, IL-15, IL-16, IL-17A (CTLA-8), IL-18, IL-20, IL-21, IL-22, IL-23, IL-27, IL-31, LIF, M-CSF, MIF, TNF alpha, TNF beta, and TSLP. Chemokines: BLC (CXCL13), ENA-78 (CXCL5), eotaxin (CCL11), eotaxin-2 (CCL24), eotaxin-3 (CCL26), fractalkine (CX3CL1), Gro-alpha (CXCL1), IP-10 (CXCL10), I-TAC (CXCL11), MCP-1 (CCL2), MCP-2 (CCL8), MCP-3 (CCL7), MDC (CCL22), MIG (CXCL9), MIP-1 alpha (CCL3), MIP-1 beta (CCL4), MIP-3 alpha (CCL20), and SDF-1 alpha (CXCL12). Growth factors/regulators: FGF-2, HGF, MMP-1, NGF beta, SCF, and VEGF-A. Soluble receptors: APRIL, BAFF, CD30, CD40L (CD154), IL-2R (CD25), TNF-RII, TRAIL (CD253), TWEAK.