Annexes

Additional File 1: Indirect Fluorescent Antibody Test Laboratory Protocol

Annex I: A. Preparation of Ag coated Microplates (96 wells Tissue grade Microplate)

1. Prepare cell culture media (MEM +10% Fetal Calf Serum (FCS) + Antibiotics optional)
2. Add 100 μl of lamp testis cells suspension (2*104 cells/ml) to each 96 wells
3. Incubate the plates for 24hrs in 37°c and 5% CO2
4. Prepare the KS1 virus dilution of 2*103 TCID50 /ml in MEM cell media (without FCS)
5. Remove the previous media in the plate slowly using multichannel pipette keeping the plate in   
    gentle slope to remove all
6. Add 50 μl viral suspensions to each well and incubate at 37°c for 2hrs
7. Add 150 μl media with 10% Fetal Calf Serum to all wells and keep in 37°c for 48hrs
8. Remove the media by multi channel pipette in the same way as n° 5 to infect the cell
9. Add 100 μl acetone 80% cooled at 4°c to all wells for fixation and discard by pipette
10. Add 50 μl acetone 80% to each well & keep the plate in -20°c for 30min
11. Remove the acetone, wrap the plate with Aluminum paper and keep in -20°c until the plate is required for examination

Annex I: B. Procedure to test the sera

1. Add 50 μl PBS- 0.01M to each well and keep for 30min at room temperature.
2. Add 50μl blocking solution (1% skimmed milk or 0.5% lamb serum in 0.01M PBS) to each 
    well and incubate in 37°c for 20min
3. Dilute the test sera in blocking solution at 1/25 dilution
4. Take your record sheet and write the layout of the Microplate to add the test sera, strong +ve,    
    weak +ve and negative control sera.
5. Add 50 μl of diluted serum to the microplate in duplicate wells according to the layout and 
   incubate at 37°c for 30min
6. Rinse each well with 200 μl PBS 0.01M and discard by turning up-side down, repeat 3 times
7. Dilute the Fluorescein isothiocyanate conjugated anti-bovine gamma-globuline (IgG) of Rabbit 
   serum (FITC Rockland) in 1/40 dilution in blocking buffer solution 
   (Note: Antisheep and Anti-goat FITC from Dako also work perfectly like anti bovine FITC)
8. Add 50 μl diluted FITC to each well & keep in 37°c for 30min
9. (6) Wash the plate by 200 μl PBS 3 times
10. Add 50 μl PBS to each well and observe under UV light microscope.
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