Additional file 1: Optimisation and validation of qPCR assays for target gene-specific primers in the pig.

Table : Information about Intron-spanning primers.

| Target | Accession number | Sequence | Position. on plus-strand | Product-length (bp) | Exon junctions in | Intron size (bp) |
| --- | --- | --- | --- | --- | --- | --- |
| IL8 | NM_213867.1 | AACAGCCCGTGTCAACATGA | 68 | 125 | product | ~1000 |
|  |  | TGCACTGGCATCGAAGTTCT | 192 |  |  |  |

Table: Optimised protocol and validation studies using cDNA pool dilution series.

| Target | Annealing temp (°C)/time (sec) | Extension temp (°C)/time (sec) | Ct (RT+ to RT-) | slope | Correlation Coefficient (Pearson) R2 | Verified dynamic range |
| --- | --- | --- | --- | --- | --- | --- |
| IL8 | 62/30 | 72/40 | n.d. | -3.545 | 0.998 | 106 |

Figure The suitability of the newly designed primers was verified in separate experiments by performing of a cDNA pool (A). In melt curve (B) and amplification plots (C) samples are shown in green while controls (no reverse transcription control (NRT) and no template control (NTC)) are shown in yellow and orange respectively. In the inlet in B shows an agarose gel electrophoresis of the PCR products of undiluted cDNA pool and controls.