Supplementary Table.S1

| Test item | Test method | Instrument |
| --- | --- | --- |
| Ca2+ CO2 CK CHE BUN SAA CRP ALT CYSC HDL LDL TBIL DBIL GGT TP APOA1 APOB AST ALP LDH TBA TG CHO GLU UA CRE ALB WBC WBC differential count RBC&PLT HGB NLR PLR MLR SII AST/ALT IBIL GLB A/G NE LY MO EO BA HCT MCV MCH MCHC RDW-CV RDW-SD | Colorimetry Methyl alkyl dimethyl phenol blue method Colorimetry PEPC enzymatic method Ultraviolet spectrophotometry Continuous monitoring assay Colorimetry Methyl thiophenoyl thiocholine method Continuous monitoring assay/Enzyme assay Latex Enhanced Immunoturbidimetric method Latex Immunoturbidimetric method Continuous monitoring assay(IFCC) Latex immunological turbidimetry Homogeneous enzyme colorimetry Homogeneous enzyme colorimetry Diazo method/Vanadate oxidation Diazo method/Vanadate oxidation Enzyme colorimetry/Rate assay Colorimetry/Biuret method Immunoturbidimetry Immunoturbidimetry Colorimetry/Rate assay Colorimetry/Rate assay Colorimetry/Rate assay Enzyme Cycling method Enzyme colorimetry Enzyme colorimetry Hexokinase method Enzyme assay Enzyme assay Colorimetry Flow cytometry Flow cytometry Sheath flow or Dc impedance method SLS- Hemoglobin test Neutrophil-to-lymphocyte ratio Platelet-to-lymphocyte ratio Monocyte-to-lymphocyte ratio PLT multiplied by NE then divided by LY AST-to-ALT ratio TBIL minus DBIL TP minus ALB ALB-to-GLB ratio N-to-WBC ratio L-to-WBC ratio M-to-WBC ratio E-to-WBC ratio B-to-WBC ratio Total red blood cell volume / Total blood volume 10*HCT-to-RBC ratio 10E12*HGB-to-RBC ratio MCH-to-MCV ratio calculated by RBC histogram calculated by RBC histogram | ROCHEc702 Hitachi008 ROCHEc702 Hitachi008 ROCHEc702 Hitachi008 ROCHEc702 Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008 ROCHEc702/Hitachi008SYSMEX XN9000/2000 SYSMEX XN9000/2000 SYSMEX XN9000/2000 SYSMEX XN9000/2000 NA NA NA NA NA NA NA NA NA NA NA NA NA NA NA NA NA NA NA |

WBC differential Count contains N (neutrophil), L (lymphocyte), M (monocyte), E (eosinophil), B (basophils)