Supplementary Table 3. Immunohistochemistry conditions
	Target
	Antigen retrieval
	Primary Antibody
	[bookmark: _GoBack]Secondary Antibody (company)

	
	1Temp
	Solution
	Company/
Clone/Cat#
	Dilution/ Concentration
	

	SKP2
	121 C, 6 min
	Special Citrate (Agilent Dako #S1699)
	4CST (D3G5) #2652
	1:600     (0.5 µg /mL)
	6Biotinylated anti-rabbit (JIR), 7Avidin HRP (ebioscience)

	p21
	121 C, 6 min
	2Citrate, pH 6.0 
(In-house made)
	CST (12D1) #2947
	1:200      (1.2 µg /mL)
	Envision (Agilent Dako)

	p27
	121 C, 6 min
	3CC2
	5SCBT (F-8) 
#sc-1641
	1:120      (1.7 µg /mL)
	6Biotinylated anti-rabbit (JIR), 7Avidin HRP (ebioscience)


1. Temp= Antigen retrieval Temperature
2. Citrate solution prepared In-house
3. CC2= Citrate based antigen retrieval solution from Ventana Medical Systems
4. CST= Cell Signaling Technology, 
5. SCBT=Santa Cruz Biotechnology,
6. Biotinylated Goat anti-Rabbit antibody (Jackson ImmunoResearch 
Cat# 111-066-144, Ely, United Kingdom) diluted 1:1000 in 1% BSA in PBS
7. Avidin HRP (Cat# 18-4200-93, ebioscience, USA, diluted 1:1500) in 1% BSA in PBS

Sections from FFPE blocks of MDA-MB-231 were used as a positive control for SKP2, while MCF-7 was a positive control for p21 and p27 staining.

