Supplementary Table.S1: Detection methods and platforms for hematologic and biochemical parameters

	Test item
	Test method
	Instrument

	Ca2+

CO2

CK

CHE

BUN
SAA
CRP
[bookmark: OLE_LINK3]ALT
CYSC
HDL
LDL
TBIL
DBIL
GGT
TP
ApoA1
ApoB
AST
ALP
LDH
TBA
[bookmark: OLE_LINK5]TG
CHO
GLU
UA
CRE
ALB
WBC
WBC differential count
RBC&PLT
HGB
NLR
PLR
MLR
SII
[bookmark: OLE_LINK1]AST/ALT
IBIL
GLB
A/G
NE                                                 
LY
MO  
EO
BA   
HCT  
MCV  
MCH
MCHC
RDW-CV       
RDW-SD  
	Colorimetry
Methyl alkyl dimethyl phenol blue method
Colorimetry
PEPC enzymatic method
Ultraviolet spectrophotometry
Continuous monitoring assay
Colorimetry
Methyl thiophenoyl thiocholine method
Continuous monitoring assay/Enzyme assay
Latex Enhanced Immunoturbidimetric method
Latex Immunoturbidimetric method
Continuous monitoring assay(IFCC)
Latex immunological turbidimetry
Homogeneous enzyme colorimetry
[bookmark: OLE_LINK4]Homogeneous enzyme colorimetry
Diazo method/Vanadate oxidation
Diazo method/Vanadate oxidation
Enzyme colorimetry/Rate assay
Colorimetry/Biuret method
Immunoturbidimetry
Immunoturbidimetry
[bookmark: OLE_LINK2]Colorimetry/Rate assay
Colorimetry/Rate assay
Colorimetry/Rate assay
Enzyme Cycling method
Enzyme colorimetry
Enzyme colorimetry
Hexokinase method
Enzyme assay
Enzyme assay
Colorimetry
Flow cytometry
Flow cytometry

Sheath flow or Dc impedance method
SLS- Hemoglobin test
Neutrophil-to-lymphocyte ratio
Platelet-to-lymphocyte ratio
Monocyte-to-lymphocyte ratio
PLT multiplied by NE then divided by LY
AST-to-ALT ratio
TBIL minus DBIL
TP minus ALB
ALB-to-GLB ratio    
N-to-WBC ratio  
L-to-WBC ratio   
M-to-WBC ratio   
E-to-WBC ratio   
B-to-WBC ratio  
Total red blood cell volume / Total blood volume
10*HCT-to-RBC ratio        
10E12*HGB-to-RBC ratio        
MCH-to-MCV ratio   
calculated by RBC histogram
calculated by RBC histogram
	ROCHEc702
Hitachi008
ROCHEc702
Hitachi008
ROCHEc702
Hitachi008
ROCHEc702
Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008
ROCHEc702/Hitachi008SYSMEX XN9000/2000
SYSMEX XN9000/2000

SYSMEX XN9000/2000
SYSMEX XN9000/2000
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA
NA

	CRP/ALB
	CRP-to-ALB ratio
	NA

	ApoA1/ApoB
	ApoA1-to-ApoB ratio
	NA


WBC differential Count contains N (neutrophil), L (lymphocyte), M (monocyte), E (eosinophil), B (basophils)













