## E04_Epo_ELISA_Metadata
Experiment Information | Experiment number | 4
| Time point(s) | Multiple
| NHP host/human | Macaca mulatta
| Plasmodium species 1 | Plasmodium cynomolgi B strain
| Plasmodium species 2 | n/a
| Control drug 1 | Artemether
| Control drug 2 | n/a
Instrument Information | Instrument | VERSAmax Tunable Microplate Reader
| Machine Serial Number | B 02249
| Software Program | SOFTmax Pro
| Software Build | 2.6.1
| Date of data production | 2017-07-18
| Operator | Celia Saney
| SOP Name(s) | E04_EPO_ELISA_SOP_JustMaHPICEdits_080717.docx RDSystems_DEP00_EPOKit_SOP.pdf
Assay Information | Assay Company | R&D Systems
| Assay Catalog Number | DEP00
| Assay Lot | P116554
| Assay Expiration | 2017-10-24
| Plate Type | 96-well plate
| Secondary Antibody Specificity | Human Erythropoietin
| Sample Type | Plasma, diluted 1:2
| Notes | n/a
Data Transfer Information | Date of Data Deposition to ISILON | 2017-08-04
| Person Transferring Dataset to ISILON | Celia Saney

## EPO_Standards
Sample | Concentration | BackCalcConc | Wells | Values | MeanValue | Std.Dev. | CV%
St01 | 200 | 195.837 | A1 | 2.126 | 2.157 | 0.044 | 2
|  | 204.211 | A2 | 2.188
St02 | 100 | 101.986 | B1 | 1.285 | 1.264 | 0.03 | 2.3
|  | 98.071 | B2 | 1.243
St03 | 50 | 50.32 | C1 | 0.681 | 0.676 | 0.006 | 0.9
|  | 49.648 | C2 | 0.672
St04 | 20 | 18.751 | D1 | 0.259 | 0.276 | 0.024 | 8.5
|  | 21.18 | D2 | 0.293
St05 | 5 | 5.298 | E1 | 0.077 | 0.075 | 0.002 | 2.9
|  | 5.061 | E2 | 0.074
St06 | 2.5 | 2.282 | F1 | 0.038 | 0.039 | 0.001 | 3.1
|  | 2.42 | F2 | 0.04

## EPO_RawResults
Sample | Wells | Values | R | Result | MeanResult | Std.Dev. | CV% | Dilution | Adj.Result in mIU/ml
Un01 | A3 | 0.007 | R | Range? | Range? | Range? | Range? | 2 | Range?
| A4 | 0.008 | R | Range?
Un02 | B3 | 0.006 | R | Range? | Range? | Range? | Range? | 2 | Range?
| B4 | 0.005 | R | Range?
Un03 | C3 | 0.01 | R | Range? | Range? | Range? | Range? | 2 | Range?
| C4 | 0.008 | R | Range?
Un04 | D3 | 0.071 |  | 4.839 | 4.669 | 0.24 | 5.1 | 2 | 9.338
| D4 | 0.066 |  | 4.5
Un05 | E3 | 0.002 | R | Range? | Range? | Range? | Range? | 2 | Range?
| E4 | 0.001 | R | Range?
Un06 | F3 | -0.003 | R | Range? | Range? | Range? | Range? | 2 | Range?
| F4 | -0.003 | R | Range?
Un07 | G3 | 0.051 |  | 3.258 | 3.243 | 0.022 | 0.7 | 2 | 6.485
| G4 | 0.05 |  | 3.227
Un08 | H3 | 0.089 |  | 6.195 | 6.158 | 0.054 | 0.9 | 2 | 12.315
| H4 | 0.088 |  | 6.12
Un09 | A5 | 0.043 |  | 2.637 | 2.745 | 0.153 | 5.6 | 2 | 5.491
| A6 | 0.045 |  | 2.854
Un10 | B5 | 0.013 | R | 0.044 | 0.044 | 0 | 0 | 2 | 0.088
| B6 | 0.011 | R | Range?
Un11 | C5 | -0.001 | R | Range? | Range? | Range? | Range? | 2 | Range?
| C6 | -0.002 | R | Range?
Un12 | D5 | -0.003 | R | Range? | Range? | Range? | Range? | 2 | Range?
| D6 | -0.003 | R | Range?
Un13 | E5 | 0.036 | R | 2.111 | 2.033 | 0.11 | 5.4 | 2 | 4.067
| E6 | 0.034 | R | 1.956
Un14 | F5 | 0.008 | R | Range? | Range? | Range? | Range? | 2 | Range?
| F6 | 0.005 | R | Range?
Un15 | G5 | 0.033 | R | 1.815 | 1.885 | 0.099 | 5.3 | 2 | 3.771
| G6 | 0.034 | R | 1.956
Un16 | H5 | 0.005 | R | Range? | Range? | Range? | Range? | 2 | Range?
| H6 | 0.003 | R | Range?
Un17 | A7 | 0.008 | R | Range? | 0.021 | 0 | 0 | 2 | 0.041
| A8 | 0.013 | R | 0.021
Un18 | B7 | 0 | R | Range? | Range? | Range? | Range? | 2 | Range?
| B8 | 0.001 | R | Range?
Un19 | C7 | 0.013 | R | 0.033 | 0.055 | 0.032 | 57.6 | 2 | 0.11
| C8 | 0.013 | R | 0.077
Un20 | D7 | 0.018 | R | 0.515 | 0.515 | 0 | 0 | 2 | 1.03
| D8 | 0.01 | R | Range?
Un21 | E7 | 0 | R | Range? | Range? | Range? | Range? | 2 | Range?
| E8 | 0 | R | Range?
Un22 | F7 | -0.001 | R | Range? | Range? | Range? | Range? | 2 | Range?
| F8 | 0.01 | R | Range?
Un23 | G7 | 0.003 | R | Range? | Range? | Range? | Range? | 2 | Range?
| G8 | 0 | R | Range?
Un24 | H7 | 0.001 | R | Range? | Range? | Range? | Range? | 2 | Range?
| H8 | -0.001 | R | Range?
Un25 | A9 | 0.004 | R | Range? | Range? | Range? | Range? | 2 | Range?
| A10 | 0.005 | R | Range?
Un26 | B9 | 0.014 | R | 0.191 | 0.191 | 0 | 0 | 2 | 0.382
| B10 | 0.011 | R | Range?
Un27 | C9 | 0.186 |  | 13.395 | 13.048 | 0.492 | 3.8 | 2 | 26.095
| C10 | 0.176 |  | 12.7
Un28 | D9 | -0.003 | R | Range? | Range? | Range? | Range? | 2 | Range?
| D10 | -0.003 | R | Range?
Un29 | E9 | 0.004 | R | Range? | Range? | Range? | Range? | 2 | Range?
| E10 | 0.004 | R | Range?
Un30 | F9 | -0.002 | R | Range? | Range? | Range? | Range? | 2 | Range?
| F10 | -0.001 | R | Range?
Un31 | G9 | 0.001 | R | Range? | Range? | Range? | Range? | 2 | Range?
| G10 | 0.003 | R | Range?

## EPO_Finalized_Results
Plate | Sample | Aliquot ID | MaHPIC Experiment # | Monkey ID | MaHPIC Time Point | Infection Point | MeanResult | Dilution | EPO in mIU/ml
1 | Un01 | 3257149 | E04 | RSb14 | 6 | Relapse | Range? | 2 | <LOD
1 | Un02 | 3257147 | E04 | RSb14 | 4 | Relapse | Range? | 2 | <LOD
1 | Un03 | 3257124 | E04 | RFa14 | 7 | Relapse | Range? | 2 | <LOD
1 | Un04 | 3257150 | E04 | RSb14 | 2 | Acute Primary | 4.669 | 2 | 9.338
1 | Un05 | 3257133 | E04 | RIc14 | 4 | Relapse | Range? | 2 | <LOD
1 | Un06 | 3257132 | E04 | RIc14 | 5 | Inter-Relapse | Range? | 2 | <LOD
1 | Un07 | 3257136 | E04 | RIc14 | 2 | Acute Primary | 3.243 | 2 | 6.485
1 | Un08 | 3257143 | E04 | RMe14 | 2 | Acute Primary | 6.158 | 2 | 12.315
1 | Un09 | 3257131 | E04 | RIc14 | 3 | Post Peak | 2.745 | 2 | 5.491
1 | Un10 | 3257148 | E04 | RSb14 | 7 | Inter-Relapse | 0.044 | 2 | 0.088
1 | Un11 | 3257137 | E04 | RIc14 | 1 | Pre-Infection | Range? | 2 | <LOD
1 | Un12 | 3257151 | E04 | RSb14 | 1 | Pre-Infection | Range? | 2 | <LOD
1 | Un13 | 3257128 | E04 | RFv13 | 2 | Acute Primary | 2.033 | 2 | 4.067
1 | Un14 | 3257121 | E04 | RFa14 | 3 | Post Peak | Range? | 2 | <LOD
1 | Un15 | 3257126 | E04 | RFa14 | 2 | Acute Primary | 1.885 | 2 | 3.771
1 | Un16 | 3257129 | E04 | RFv13 | 3 | Post Peak | Range? | 2 | <LOD
1 | Un17 | 3257146 | E04 | RSb14 | 5 | Inter-Relapse | 0.021 | 2 | 0.041
1 | Un18 | 3257130 | E04 | RFv13 | 1 | Pre-Infection | Range? | 2 | <LOD
1 | Un19 | 3257141 | E04 | RMe14 | 7 | Inter-Relapse | 0.055 | 2 | 0.11
1 | Un20 | 3257142 | E04 | RMe14 | 6 | Relapse | 0.515 | 2 | 1.03
1 | Un21 | 3257134 | E04 | RIc14 | 7 | Inter-Relapse | Range? | 2 | <LOD
1 | Un22 | 3257139 | E04 | RMe14 | 5 | Inter-Relapse | Range? | 2 | <LOD
1 | Un23 | 3257144 | E04 | RMe14 | 1 | Pre-Infection | Range? | 2 | <LOD
1 | Un24 | 3257123 | E04 | RFa14 | 4 | Inter-Relapse | Range? | 2 | <LOD
1 | Un25 | 3257125 | E04 | RFa14 | 6 | Inter-Relapse | Range? | 2 | <LOD
1 | Un26 | 3257138 | E04 | RMe14 | 3 | Post Peak | 0.191 | 2 | 0.382
1 | Un27 | 3257145 | E04 | RSb14 | 3 | Post Peak | 13.048 | 2 | 26.095
1 | Un28 | 3257127 | E04 | RFa14 | 1 | Pre-Infection | Range? | 2 | <LOD
1 | Un29 | 3257140 | E04 | RMe14 | 4 | Inter-Relapse | Range? | 2 | <LOD
1 | Un30 | 3257135 | E04 | RIc14 | 6 | Relapse | Range? | 2 | <LOD
1 | Un31 | 3257122 | E04 | RFa14 | 5 | Inter-Relapse | Range? | 2 | <LOD

## Data_Dictionary
Data Dictionary for Raw Data (i.e. Workbook Page EPO_Standards) for Standard Curve Samples
Term | Definition
Sample | This field is the unknown number that was assigned to the standard.
Concentration | This is the concentration of the standard in mIU/ml (milli-international units per milliliter).
BackCalcConc | This is the concentration of the standard that was back calculated based on the absorbance values that were obtained. This is a metric for antigen recovery, which should be close to the values of the concentration in the columns (Concentration). Some variation in this value from what was predicted is acceptable.
Wells | This is the well on the 96-well plate that the standard was assigned to.
Values | This is the absorbance value of the standard.
MeanValue | This is the mean absorbance value taken into account that each standard was plated in duplicate.
Std.Dev. | This is the standard deviation of the standard.
CV% | This is the coefficient of variation that is calculated based on the absorbances of the two wells. These values are typically below 10%.
Data Dictionary for Raw Data (i.e. Workbook Page EPO_RawResults) for Unknown Samples
Term | Definition
Sample | This field is the unknown number that was assigned to the sample. It can be used to associate finalized results with the raw results
Wells | This is the well on the 96-well plate that the samples were assigned to.
Values | These are the absorbance values after the blank has automatically been subtracted out by the instrument
R | This column will have an 'R' if any of the samples did not hit the curve, and thus, the values are extrapolated from the standards provided.
Result | This is the raw concentration of EPO in each well based on the standard curve values. This value does not take into account dilution factors. A value of 'Range?' indicates that that the parameter could not be calculated because the value was not within the limits of the standard curve.
MeanResult | This is the average raw concentration of the EPO concentration of the two wells. This value does not take into account dilution factors. A value of 'Range?' indicates that that the parameter could not be calculated because the value was not within the limits of the standard curve.
Std.Dev. | This is the standard deviation of the sample. A value of 'Range?' indicates that that the parameter could not be calculated because the value was not within the limits of the standard curve.
CV% | This is the coeffiecient of variation between the two sample values that were obtained. A value of 'Range?' indicates that that the parameter could not be calculated because the value was not within the limits of the standard curve.
Dilution | This is the dilution factor that was used to dilute the original sample to ensure that the values obtained in the sample would lie on the standard curve.
Adj.Result | This value is the final concentration of EPO in a sample taking the dilution factor, technical duplicates, etc., into account. The unites for this column are mIU/ml (milli-international units per milliliter).
Data Dictionary for Finalized Results
Term | Definition
Plate | The plate on which samples were run. Each sample was randomly assigned to each plate needed to minimize batch effects
Sample | This field is the unknown number that was assigned to the sample. It can be used to associate finalized results with the raw data on the workbook pages EPO_RawResults.
Aliquot ID | The aliquot ID is the LIMS Barcode that is associated with the sample.
MaHPIC Experiment # | This indicates the MaHPIC experiment number that the sample is associated with.
Monkey ID | This is the ID of the NHP from which the sample was collected.
MaHPIC Time Point | This indicates the MaHPIC time point that the sample is associated with.
MeanResult | This is the mean absorbance that was taken from two technical replicates. It is used to calculate the concentration of EPO in the sample based on a standard curve, which values are provided in the Raw Data. A value of 'Range?' indicates that that the parameter could not be calculated because the value was not within the limits of the standard curve.
Dilution | This is the dilution factor used to allow the absorbance value to hit the standard curve.
EPO in mIU/ml | This is the concentration of EPO in the plasma as determined by the ELISA assay. The units for this result are mIU/ml (milli-international units per milliliter). This column contain the finalized EPO results that should be used for analysis. A result of <LOD indicates that the result obtained was below the level of detection of the assay.