Additional file 1. RDT and LAMP results used to calculate diagnostic accuracy of RDT using LAMP as gold standard (n=1919)

|  |  | LAMP Result |  |  |
| --- | --- | --- | --- | --- |
|  |  | Positive | Negative | Total |
| RDT Result | Positive | 1 | 15 | 16 |
|  | Negative | 42 | 1861 | 1903 |
|  | Total | 43 | 1876 | 1919 |

# RDT: Rapid Diagnostic test; LAMP: Loop-mediated isothermal amplification

*For quality assurance, nested PCR (nPCR) was performed on all samples positive by RDT and/or LAMP and 10% of samples negative by RDT and LAMP. All but one LAMP-negative sample was nPCR-negative (n=222). Of LAMP-positive samples, 27 of 43 were nPCR-positive, including the 1 RDT-positive/LAMP-positive sample.