Table S1. Primers and probes of 18s rRNA malaria parasites according to Perandin et al.

| Species | Primer and probe | Sequence | Product size |
| --- | --- | --- | --- |
| P. falciparum | FAL-F FAL-R FAL probe | 5’-CTTTTGAGAGGTTTTGTTACTTTGAGTAA 5’-TATTCCATGCTGTAGTATTCAAACACAA 5’ FAM-TGTTCATAACAGACGGGTAGTCATGATTGAGTTCA-TEMRA | 98 |
| P. vivax | VIV-F VIV-R VIV probe | 5’-ACGCTTCTAGCTTAATCCACATAACT 5’-ATTTACTCAAAGTAACAAGGACTTCCAAGC 5’ TET-TTCGTATCGACTTTGTGCGCATTTTGC-TEMRA | 141 |

Table S2: Parameters of the QCs independents of the model used on this study. NOTE. SD: Standard deviation.

| QC | Pre-processing | Calculation of relative concentration | Thresholds |
| --- | --- | --- | --- |
| H2O(g) | Normalization | Abs at 3846 cm-1 – Abs at 3852 cm-1 | < Average - 1.5 SD > Average + 1.5 SD |
| MeOH | First Derivative | Abs at 1029 cm-1 – Abs at 1033 cm-1 | > Average +1.5 SD |
| Sample | None | Absorbance at 1650 cm-1 | < Average -1.5 SD |

Table S3 summarizing the comparison of malaria diagnosis by light microscopy and serological RDT against the gold standard real time-PCR analysis (a). Diagnostic sensitivity and specificity of RDT (b) and light microscopy (c) were calculated.

a

b

c