Additional file 1

Table S1. PCR conditions for sWGA amplification using modified sWGA primers.

| Reagents | Volume (for 50μL reaction) | Cycling condition |
| --- | --- | --- |
| 10X NEB Phi29 Buffer | 5 μL | 35°C for 5 min 34°C for 10 min 33°C for 15 min 32°C for 20 min 31°C for 30 min 30°C for 16 hrs 65°C for 15 min 10°C hold |
| 10 mg/ml BSA | 0.5 μL |  |
| 100μM Primer set 6A* | 1.25 μL |  |
| 250μM Primer set 10A* | 0.5 μL |  |
| 5mM dNTP (Adjusted 70%AT: 30%GC) | 19.75 μL |  |
| NEB Phi29 Enzyme | 3 μL |  |
| Template DNA | 20μL |  |
| Total | 50μL |  |

*Primer sequences were previously reported for 6A (Sundararaman et al., 2016) and 10A (Oyola et al., 2016).

Table S2. Estimates of parasite densities from extracted DBS and WGA reactions

| Parasites per μL of blood | Parasitaemia* | # of parasites per punch** | # parasite per μL of extracted DNA | # parasites per WGA reaction |
| --- | --- | --- | --- | --- |
| 10 | 0.0002 | 120 | 0.8 | 16 |
| 100 | 0.002 | 1200 | 8 | 160 |
| 1,000 | 0.02 | 12000 | 80 | 1600 |
| 10,000 | 0.2 | 120000 | 800 | 16000 |

*Parasitaemia  = 100X(number of parasites per μL of blood/5 million RBC per μL of blood)

**An estimated average size of DBS is ~10mm in diameter, a 6mm punch contains ~60% of the 20μL of blood spotted on the Whatman paper

Figure S1: Comparison of genomic dropout of Saponin-Chelex, QIAamp-Investigator kit, and QIAamp-Mini for each sWGA and parasite densities from 10 parasites/uL to 10000 parasites/uL. The read depth for each sample was 20M reads.

Figure S2: Percentiles of coverage for QIAamp-Mini for 1000 parasites/uL at a read depth of 40M reads. Comparison of effects of sWGA and rWGA with McrBC.