| Additional file 1 The details of nested PCR testing for differentiating between various Plasmodium species |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Nested PCR | Specificity of primers | Primer name△ | Primer sequence△ | Expected PCR product (bp) | Reaction conditions | Reaction systems |
| First round | Genus | rPLU5 | 5’-CCTGTTGTTGCCTTAAACTTC-3； | 1200 | 94 ° C for 3min;94° C for 30s, 58° C for 30s, 72° C for 60s, 34 cycles; 72° C for 5min. | 25 ul reaction volume including 2.6 μl template, 14.0 μl 2 × PCR Mix hybrid system (Containing Taq enzyme), 0.7 μl upstream primer (20umol / L) and 0.7 μl downstream primers (20umol / L) |
|  |  | rPLU6 | 5’-TTAAAATTGTTGCAGTTAAAACG-3’ |  |  |  |
| Second round | P. falciparum | rFAL1 | 5’-TTAAACTGGTTTGGGAAAACCAAATATATT-3’ | 205 | 94 ° C for 3min;94° C for 30s, 60° C for 30s, 72° C for 60s, 34 cycles; 72° C for 5min |  |
|  |  | rFAL2 | 5’-ACACAATGAACTCAATCATGACTACCCGTC-3’ |  |  |  |
|  | P. vivax | rVIV1 | 5’-CGCTTCTAGCTTAATCCACATAACTGATAC-3’ | 120 |  |  |
|  |  | rVIV2 | 5’-ACTTCCAAGCCGAAGCAAAGAAAGTCCTTA-3’ |  |  |  |
|  | P. malariae | rMAL1 | 5’-ATAACATAGTTGTACGTTAAGAATAACCGC-3’ | 141 |  |  |
|  |  | rMAL2 | 5’-AAAATTCCCATGCATAAAAAATTATACAAA-3’ |  |  |  |
|  | P. ovale | rOVA1 | 5’-ATCTCTTTTGCTATTTTTTAGTATTGGAGA-3’ | 800 |  |  |
|  |  | rOVA2 | 5’-GGAAAGGACACATTAATTGTATCCTAGTG-3’ |  |  |  |
| △: The primers’ name and sequence were cited from References Snounou G, Viriyakosol S, Zhu XP, Jarra W, Pinheiro L, do Rosario VE, et al. High sensitivity of detection of human malaria parasites by the use of nested polymerase chain reaction. Mol Biochem Parasitol. 1993;61(2):315-20. |  |  |  |  |  |  |