Screening of malaria infections in human blood with varying parasite densities and anaemic conditions using AI-Powered mid-infrared spectroscopy

Issa H. Mshani1, 2*, Frank M. Jackson1, Rehema Y. Mwanga1, Prisca A. Kweyamba1,3,4, Emmanuel P. Mwanga1, 2 , Mgeni M. Tambwe1, Lorenz M. Hofer1,3, Doreen J. Siria1,2, Mario González-Jiménez2, 5, Klaas Wynne5, Sarah J. Moore1,3,4,6, Fredros Okumu1, 2, 6, 7†, Simon A. Babayan2† and Francesco Baldini1,2†

- Ifakara Health Institute, Environmental Health, and Ecological Sciences Department, Morogoro, United Republic of Tanzania.

- The University of Glasgow, School of Biodiversity, One Health and Veterinary Medicine, Glasgow, UK.

- Swiss Tropical and Public Health Institute, Kreuzstrasse , 4123 Allschwil, Switzerland

- University of Basel, Petersplatz , 4001 Basel, Switzerland

- The University of Glasgow, School of Chemistry, Glasgow G128QQ, UK.

- Nelson Mandela African Institution of Science and Technology, School of Life Sciences and Biotechnology, Arusha, United Republic of Tanzania.

- The University of the Witwatersrand, School of Public Health, Park Town, South Africa.

†Simon A. Babayan, Fredros Okumu and Francesco Baldini are equally co-supervised this work.

*Correspondence:

1. Issa H. Mshani: imshani@ihi.or.tz

2. Francesco Baldini: Francesco.Baldini@glasgow.ac.uk

3. Simon A. Babayan: Simon.Babayan@glasgow.ac.uk

4. Fredros Okumu: fredros@ihi.or.tz

Table S1: A two-way matrix of dried blood spots (DBS) generated in laboratory and used to train, test and validate machine-learning classifiers.

| Hematocrit concentrations that mimic anemic condition |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Malaria parasitemia (%) |  | Normal (40-50%) | Moderate anemia (25%) | Severe anemia (12.5%) | Total |
|  | 6% | 335 | 335 | 335 | 1005 |
|  | 0.1% | 335 | 335 | 335 | 1005 |
|  | 0.002% | 335 | 335 | 335 | 1005 |
|  | 0.00003% | 335 | 335 | 335 | 1005 |
|  | 0% | 335 | 150 | 150 | 635 |
| Total DBS |  | 1675 | 1490 | 1490 | 4655 |

Table S2:  A summary of total spectra discarded due to either excessive water content, atmospheric water vapor and carbon dioxide interferences or bad intensity.

| Hematocrit concentrations that mimic anemic condition |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Malaria parasitemia (%) |  | Normal (40-50%) | Moderate anemia (25%) | Severe anemia (12.5%) | Total |
|  | 6% | 4 | 5 | 11 | 20 |
|  | 0.1% | 2 | 10 | 8 | 20 |
|  | 0.002% | 1 | 6 | 16 | 23 |
|  | 0.00003% | 2 | 3 | 6 | 11 |
|  | 0% | 3 | 11 | 7 | 22 |
| Total DBS |  | 12 | 35 | 49 | 96 |

Figure S1: Average spectra of the generated anemic conditions, non-anemic (Ai), moderate (Aii), and severe anemia (Aiii) spectra. (B) Illustrates the magnified (Ai) for a better visualization of the average spectra of specific parasitemia in non-anemic samples. (C) Represent the estimated depth of light penetration to the DBS sample.

Figure S2: RDTS showing results when we tested the final dilutions sample as part of quality assurance processes

Figure S3: A representative PCR amplification cycles for the random samples generated in the laboratory as part of quality assurance processes