Additional file 1. Agreements in identification of Plasmodium species between microscopy, RDT and multiplex real-time PCR in peripheral and placental blood samples.

| Diagnostic Method |  | Microscopy |  |  |  |  | Agreement (%) | Kappa value |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | P. falciparum | P. vivax | Mixed | Negative | Total |  |  |
| Peripheral blood |  |  |  |  |  |  |  |  |
| Multiplex qPCR | P. falciparum | 87 | 1 | 0 | 31 | 119 | 95.9% | 0.814 |
|  | P. vivax | 0 | 15 | 0 | 6 | 21 |  |  |
|  | Mixed | 2 | 1 | 1 | 1 | 5 |  |  |
|  | Negative | 0 | 0 | 0 | 690 | 790 |  |  |
|  | Total | 89 | 17 | 1 | 728 | 835 |  |  |
| RDT | P. falciparum | 75 | 0 | 0 | 20 | 95 | 95.9% | 0.792 |
|  | P. vivax | 0 | 15 | 0 | 6 | 21 |  |  |
|  | Mixed | 3 | 0 | 1 | 2 | 6 |  |  |
|  | Negative | 11 | 2 | 0 | 700 | 713 |  |  |
|  | Total | 89 | 17 | 1 | 728 | 835 |  |  |
| Placental Blood |  |  |  |  |  |  |  |  |
| Multiplex qPCR | P. falciparum | 24 | 0 | 0 | 14 | 38 | 96.8% | 0.761 |
|  | P. vivax | 0 | 2 | 0 | 2 | 4 |  |  |
|  | Mixed | 0 | 0 | 2 | 1 | 3 |  |  |
|  | Negative | 0 | 0 | 0 | 327 | 327 |  |  |
|  | Total | 24 | 2 | 2 | 344 | 372 |  |  |
| RDT | P. falciparum | 20 | 0 | 0 | 6 | 26 | 97.3% | 0.786 |
|  | P. vivax | 0 | 1 | 0 | 3 | 4 |  |  |
|  | Mixed | 0 | 1 | 1 | 0 | 2 |  |  |
|  | Negative | 4 | 0 | 1 | 335 | 340 |  |  |
|  | Total | 24 | 2 | 2 | 344 | 372 |  |  |
|  |  | Multiplex qPCR |  |  |  |  |  |  |
| Peripheral blood |  |  |  |  |  |  |  |  |
| RDT | P. falciparum | 79 | 0 | 0 | 16 | 95 | 89.2% | 0.7 |
|  | P. vivax | 1 | 13 | 1 | 6 | 21 |  |  |
|  | Mixed | 1 | 0 | 3 | 2 | 6 |  |  |
|  | Negative | 38 | 8 | 1 | 666 | 713 |  |  |
|  | Total | 119 | 21 | 5 | 690 | 835 |  |  |
| Placental Blood |  |  |  |  |  |  |  |  |
| RDT | P. falciparum | 21 | 0 | 0 | 7 | 28 | 91.4% | 0.693 |
|  | P. vivax | 1 | 4 | 1 | 3 | 9 |  |  |
|  | Mixed | 0 | 0 | 1 | 0 | 1 |  |  |
|  | Negative | 16 | 0 | 1 | 317 | 334 |  |  |
|  | Total | 38 | 4 | 3 | 327 | 372 |  |  |