Supplement table 4: Diagnostic performance of index tests to detect Plasmodium infection among pregnant and parturient women using peripheral blood microscopy as reference in Majang Zone of Gambella Region, Southwest Ethiopia, November 2022-March 2023 (n= 640).

| Index test methods | Peripheral blood microscopy of pregnant and parturient women as a reference test method (n= 640) |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | TP | FP | FN | TN | Sensitivity (95% CI) | Specificity (95% CI) | PPV (95% CI) | NPV (95% CI) | Accuracy (95% CI) | Kappa (95% CI) | AUC (95% CI) | p |
| 1. RDT | 101 | 10 | 20 | 509 | 83.5% (80.6-86.3) | 98.1% (97.0-99.1) | 91.0% (88.7-93.2) | 96.2% (94.7-97.7) | 95.3% (93.3-96.8) | 0.842 (0.787-0.897) | 0.832 (0.746-0.918) | <0.001 |
| 2. qPCR | 38 | 14 | 3 | 147 | 92.7% (89.1-96.2) | 91.3% (87.4-95.2) | 73.1% (66.9-79.2) | 98.0% (96.1-99.9) | 91.6% (86.8-95.0) | 0.764 (0.658-0.869) | 0.920 (0.867-0.973) | <0.001 |
| 3. Microscopy & RDT combined | 121 | 10 | 0 | 509 | 100.0% (100.0-100.0) | 98.1% (97.1-99.1) | 92.4% (90.3-94.4) | 100.0% (100.0-100.0) | 98.4% (97.1-99.2) | 0.951 (0.921-0.980) | 0.978 (0.959-0.997) | <0.001 |