Supplemental table 1. Standardised checklist used to assess healthcare workers’ proficiency in the performance of malaria RDTs, Uganda 2023

RDT administration step

Assembles all material

Checks the expiry date

Puts on gloves

Removes contents from the packet

Writes the patient’s identifier on the test

Explains the procedure to the patient

Selects the correct finger for blood collection

Cleans the finger with the alcohol swab and allow it to dry

Pricks finger firmly with sterile lancet

Discards the lancet in the sharps bin

Does not squeeze finger excessively

Collects an adequate volume of blood

Dispenses blood in the appropriate well

Discards the pipette in the sharps box

Dispenses the correct number of drops of buffer

Disposes of waste in a non-sharps waste container

Waits for the appropriate time after adding a buffer to read the result

Interprets test correctly

Identifies control line correctly