| Sr. No. | Item Name |
| --- | --- |
|  | Lens cleansing paper |
|  | Pipetts (2-10ul), (10-100ul) & (100-1000ul) |
|  | Alcohol Swab |
|  | Syrings 5ml, 10 ml |
|  | Absorbent sheet |
|  | Cotton roll |
|  | Bi-valent RDT (Different manufacturers) |
|  | Tourniquets or arm band |
|  | Gloves (Large & Medium) |
|  | Methanol |
|  | Calculator |
|  | EDTA vials |
|  | Sharp container |
|  | slides |
|  | Slides box |
|  | Pen (Blue & Black) |
|  | Permanent Marker pen black |
|  | Staining Rack |
|  | Glass rods |
|  | Slide stand |
|  | Giemsa stain & JSB Stain |
|  | Distilled water |
|  | Hair dryer |
|  | Beakers 50 ml, 100 ml |
|  | Tissue Roll |
|  | Microscopes |
|  | Immersion Oil |
|  | Tally counter |
|  | Coupling jar |
|  | Pasteur pipettes |
|  | Desiccants |
|  | Timer |
|  | Phosphate buffer tablets |
|  | Falcon tube 15 ml, 50 ml |

Table.1_Spplematroy file for items required for training