Multiple NN in children: supplementary table 2 - final

Table title: validation parameters for the different analytes in the different matrices
Table legend: IS; internal standard; LOQ limit of quantification; CSF cerebrospinal fluid
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	IS
	Matrix
	Precision (RSD%)
	Accuracy (%)
	LOQ (pg/mL)

	Thiamethoxam
	Thiamethoxam-d3
	CSF
	1.65
	98.4
	2

	
	
	Plasma
	1.89
	104.2
	2

	
	
	Urine
	1.69
	105.6
	20

	Clothianidin
	Clothianidin-d3
	CSF
	2.09
	91.5
	4

	
	
	Plasma
	1.32
	97.5
	4

	
	
	Urine
	2.81
	105.7
	20

	Imidacloprid
	Imidacloprid-d4
	CSF
	0.60
	97.4
	4

	
	
	Plasma
	1.81
	102.6
	4

	
	
	Urine
	3.23
	108.9
	20

	Desnitro-imidacloprid
	Thiamethoxam-d3
	CSF
	3.36
	74.1
	15

	
	
	Plasma
	4.03
	84.6
	15

	
	
	Urine
	5.54
	107.4
	40

	Imidacloprid-olefin
	Clothianidin-d3
	CSF
	4.41
	89.2
	10

	
	
	Plasma
	4.54
	67.1
	15

	
	
	Urine
	9.20
	81.9
	150

	Acetamiprid
	Acetamiprid-d3
	CSF
	1.52
	97.6
	1

	
	
	Plasma
	1.19
	102.4
	2

	
	
	Urine
	1.33
	107.1
	10

	Desmethyl-acetamiprid
	Acetamiprid-d3
	CSF
	1.62
	97.5
	4

	
	
	Plasma
	1.48
	101.5
	4

	
	
	Urine
	6.94
	105.6
	10

	Thiacloprid
	Thiacloprid-d3
	CSF
	1.62
	97.5
	1

	
	
	Plasma
	1.86
	102.2
	2

	
	
	Urine
	0.84
	104.1
	5

	Flupyradifurone
	Acetamiprid-d3
	CSF
	1.68
	93.8
	5

	
	
	Plasma
	0.87
	94.8
	5

	
	
	Urine
	7.60
	96.1
	25

	Sulfoxaflor
	Thiacloprid-d3
	CSF
	2.75
	103.1
	1

	
	
	Plasma
	1.88
	106.1
	2

	
	
	Urine
	4.59
	93.7
	10

	Dinotefuran
	Dinotefuran-d3
	CSF
	2.67
	97.1
	20

	
	
	Plasma
	1.94
	96.8
	25

	
	
	Urine
	2.36
	104.5
	50

	Nitempyram
	Nitempyram-13C-d3
	CSF
	0.98
	98.4
	15

	
	
	Plasma
	0.33
	101.2
	25

	
	
	Urine
	2.82
	108.3
	40

	Chloronicotinic acid
	Clothianidin-d3
	CSF
	5.01
	88.3
	200

	
	
	Plasma
	2.15
	94.6
	200

	
	
	Urine
	7.21
	90.5
	1000





