Technical Description of the method used for Antimicrobial Susceptibility Testing 

[bookmark: _GoBack]After overnight growth of K. pneumoniae isolates on Brain Heart Infusion agar (BD), a suspension was made containing the isolates in sterile saline to a turbidity equal to that of a 0.5 McFarland turbidity standard. This was then spread on Mueller-Hinton agar plates by swabbing them with a sterile cotton swab. Thereafter, the antibiotic discs were placed on the plates, incubated 18 to 24 hrs in aerobic conditions at 35°C ± 2°. ESBL production was confirmed if a ≥5-mm increase in a zone diameter for either antimicrobial agent tested in combination with clavulanate vs the zone diameter of the agent when tested alone.

Technical Description of the method used for Random Amplification of Polymorphic DNA

The reaction mixture contained 12.5μL GoTaq® Green Master Mix, 5.0μL primer, 2.5μL extract and nuclease free water up to 25μL. Amplification was performed in an Eppendorf Mastercycler Gradient. The reaction mixture was denatured at 94°C for 4 min followed by 50 consecutive cycles of 1 min at 94°C, 2 min at 34°C, and 2 min at 72°C, and a final extension of 10 min at 72°C.
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