Supporting Information

Controllable self-cleaning FET self-assembled RNA-cleaving DNAzyme based DNA nanotree for culture-free staphylococcus aureus detection

Hui Wang a, Ruipeng Chen a, Yue He a,c, Xiaoyan Zhu a, Zhixue Yu a, Zemeng Feng b, Dongxia Pan a, Liang Yang a*, Xiangfang Tang a*, Benhai Xiong a *

- State Key Laboratory of Animal Nutrition and Feeding, Institute of Animal Science, Chinese Academy of Agricultural Sciences, Beijing, 100193, P. R. China.

- Institute of Subtropical Agriculture, Chinese Academy of Sciences, Changsha, 410125, China

- State Key Laboratory of Animal Nutrition and Feeding, College of Animal Science and Technology, China Agricultural University, Beijing, 100193, P. R. China

Table S1. DNA oligonucleotides in this study.

| Name | Sequence and modifications (from 5’ -terminus) |
| --- | --- |
| SA-substrate without ’rA’ | GAG AGA GAG AGA GAG TTT TCT AAT GAG TAC CTA CTG TCT CTG GAT GAT CCT ATG AAC TGA CTA TGA CCT CAC TAC CAA G |
| SA-substrate | GAG AGA GAG AGA GAG TTT TCT AAT GAG TAC CTA CTG TCT CTG GAT GAT CCT ATG AAC TGA CTrA TGA CCT CAC TAC CAA G |
| SA-DNAzyme | ATG CCA TCC TAC CAA CCA CGA AGT ACA TTT CAA ACT CAT AAC AAT CCA TCG GTT AGG TCC TGG TTG GAG CTC TGA ACT CGA GAC AGT AGG TAC TCA TTA GTT TTG AGA GAG AGA GAG AG |
| Branch-05 | CTC TCT CTC TCT CTC GTA GGA ATG GAG CTT TCG CCT GCA CTC TAC CTA GCT CCA TAT CGG ATG TTC GCC TGC ACT CTA CCT GAT CCG ATT CGT TGG ATT CGC CTG CAC TCT ACC TTC CAA CGT TCC TAC |
| Branch -03 | GTA GGA ATG GAG CTT TCG CCT GCA CTC TAC CTA GCT CCA TAT CGG ATG TTC GCC TGC ACT CTA CCT GAT CCG ATT CGT TGG ATT CGC CTG CAC TCT ACC TTC CAA CGT TCC TAC CTC TCT CTC TCT CTC |

Table S2. DNA oligonucleotides for RCD-Nanotree.

| Name | Sequence and modifications (from 5’ -terminus) |
| --- | --- |
| SA-DNAzyme | ATG CCA TCC TAC CAA CCA CGA AGT ACA TTT CAA ACT CAT AAC AAT CCA TCG GTT AGG TCC TGG TTG GAG CTC TGA ACT CGA GAC AGT AGG TAC TCA TTA GTT TT GCGCTATCGGGAAG |
| SA-substrate | GCGCTATCGGGAAG TTT TCT AAT GAG TAC CTA CTG TCT CTG GAT GAT CCT ATG AAC TGA CT/rA/ TGA CCT CAC TAC CAA G-(CH2)6-NH2 |
| YA-1 | CTTCCCGATAGCGCCCTCTGATCTAGTATGTTACTCTGCGTGCTTCCCGATAGCGC |
| YA-2 | CTTCGACGGTCATGTACTAGATCAGAGGCTTCCCGATAGCGC |
| YA-3 | CACGCAGAGTAACACATGACCGTCGAAG |
| YB-1 | CACGCAGAGTAACACATGACCGTCGAAGCTTCCCGATAGCGC |
| YB-2 | CTTCGACGGTCATGTACTAGATCAGAGGCTTCCCGATAGCGC |
| YB-3 | CCTCTGATCTAGTATGTTACTCTGCGTGCTTCCCGATAGCGC |
| YC-1 | CACGCAGAGTAACACATGACCGTCGAAGGCGCTATCGGGAAG |
| YC-2 | CTTCGACGGTCATGTACTAGATCAGAGGGCGCTATCGGGAAG |
| YC-3 | CCTCTGATCTAGTATGTTACTCTGCGTGGCGCTATCGGGAAG |
| CS-B | GCGCTATCGGGAAG |
| CS-C | CTTCCCGATAGCGC |

- Branch-05                                                    (B) Branch-03

Figure S1. The second structure of Branch-05 and Branch-03

Figure S2. SC-FET/s-SWNT functionalized with different materials including Pbase, SA-substrate, SA-DNAzyme, Branch-03, Branch-05, and BSA

Figure S3. (A)Water sprayed on the surface of self-cleaning cellulose paper; (B) Different droplets of water, oil, and organic reagent on the surface of cellulose paper and self-cleaning cellulose paper.

Figure S4. The detailed SEM of SWNT-OH based carbon nano-film functionalized with polymeric PTS nanocomposites

Figure S5. Resistance value at -0.1 V of SCFET/s-SWNT functionalized with Pbase, SA-substrate, SA-DNAzyme, Branch-03, Branch-05 and BSA

Table S3. Calculation parameters of carrier mobility

| Different modification | Gm (A/V) | Vth (V) | VDS (V) | Cox （F/cm2） | μ (cm2/V·s) |
| --- | --- | --- | --- | --- | --- |
| Vs-SWNT | -1.9E-05 | -3.43 | 0.2 | 5.67E-07 | 331.76 |
| Pbase | -2.8E-05 | -2.56 | 0.2 | 1.03E-06 | 274.01 |
| SA-substrate | -4.4E-05 | -2.75 | 0.2 | 2.66E-06 | 165.26 |
| SA-DNAzyme | -7.6E-05 | -2.72 | 0.2 | 3.99E-06 | 190.19 |
| Branch | -6.6E-05 | -2.9 | 0.2 | 5.17E-06 | 127.64 |
| BSA | -0.00011 | -2.79 | 0.2 | 1.00E-05 | 111.86 |

Figure S6. The sensitive mechanism of SC-FET/s-SWNT/RCD-Branch for SA determination

Figure S7. (A)Current-voltage plots, (B) Resistance-voltage and (C) Relative resistance-voltage of SC-FET/s-SWNT/RCD-Branchs to detect the different SA concentrations in the range from -0.2 V to 0.2 V with a scanning rate of 0.05 V/s

Figure S8. Brief diagram of different RCD-based DNA structures

Linear relationship of SC-FET/s-SWNT/RCD-Branch

Figure S9. (A) Change in relative resistance after SC-FET/s-SWNT/RCD-Branch exposure to 0, 100, 101, 102, 103, 104, 105, 106, and 107 CFU/mL of three different SA; (B) Linear regression curves and equations of three different SA detection.

The potential application of SC-FET/s-SWNT/RCD-Branch for SA detection was assessed by measuring varying concentrations of three different SA from 1 to 107 CFU/mL. The results are shown in Figure 6(A). the relative resistance of the biosensor changes more rapidly at lower SA concentrations, which the calibration curve shows is a dynamic variation with the logarithm of the SA concentration in the range from 1 to 105 CFU/mL. Three linear regression equations in Figure 6(B) were very close, indicating that this device has similar detection performance.  This means that the biosensor can be used to roughly evaluate the number of different SA types with the same level of accuracy. The limit of detection was calculated to be 1 CFU/mL.

SA-271626:      Relative resistance=3.9279log10SA concentration+7.8044   (R2=0.99)

SA-326053:      Relative resistance=4.8031log10SA concentration+4.1142 (R2=0.98)

SA-310011:     Relative resistance=4.0571log10SA concentration+4.1928 (R2=0.99)