| Start protocol |  |  |
| --- | --- | --- |
| Command | Time (min) | Injection Port |
| Calibrate |  |  |
| Wait | 10 |  |
| Mix | 1 |  |
| Wait | 3 |  |
| Mix | 1 |  |
| Wait | 3 |  |
| Mix | 1 |  |
| Measure | 3 |  |
| Mix | 1 |  |
| Measure | 3 |  |
| Mix | 1 |  |
| Inject |  | A |
| Mix | 1 |  |
| Measure | 3 |  |
| Mix | 1 |  |
| Inject |  | B |
| Mix | 1 |  |
| Measure | 3 |  |
| Mix | 1 |  |
| Inject |  | C |
| Mix | 1 |  |
| Measure | 3 |  |
| Mix | 1 |  |
| Inject |  | D |
| Mix | 1 |  |
| Measure | 3 |  |
| Mix | 1 |  |

Table-S1: Instrument running protocol