Table S1. Methods for the determination of the studied biochemical parameters

| Parameters | Method | %CV | Instruments | Manufacturer |
| --- | --- | --- | --- | --- |
| FBG | hexokinase method | 2% | HITACHI7600 automatic analyzer | Hitachi Ltd |
| TG | glycerol phosphate oxidase-PAP method | 5% | HITACHI7600 automatic analyzer | Hitachi Ltd |
| TC | Cholesterol oxidase method | 5% | HITACHI7600 automatic analyzer | Hitachi Ltd |
| HDL-C | selective inhibition method | 5% | HITACHI7600 automatic analyzer | Hitachi Ltd |
| LDL-C | selective elimination method | 5% | HITACHI7600 automatic analyzer | Hitachi Ltd |
| NEFA | Enzymatic method | 10% | HITACHI7600 automatic analyzer | Hitachi Ltd |
| HbA1c | HPLC | 5% | Tosoh Automated Glycohemoglobin Analyzer HLC-723 G8 | Tosoh Corporation |
| ALT | Enzymatic method | 10% | HITACHI7600 automatic analyzer | Hitachi Ltd |
| AST | Enzymatic method | 10% | HITACHI7600 automatic analyzer | Hitachi Ltd |
| Urea | urease method | 3% | HITACHI7600 automatic analyzer | Hitachi Ltd |
| UA | Enzymatic method | 5% | HITACHI7600 automatic analyzer | Hitachi Ltd |
| Crea | Enzymatic method | 5% | HITACHI7600 automatic analyzer | Hitachi Ltd |
| WBC | Flow cytometry | 4% | Sysmex XN-20 automated hematology analyzer | Sysmex Corporation |
| neutrophil | Flow cytometry | 4% | Sysmex XN-20 automated hematology analyzer | Sysmex Corporation |
| eosnophils | Flow cytometry | 4% | Sysmex XN-20 automated hematology analyzer | Sysmex Corporation |

Abbreviations: CV: coefficients of variation; FBG: fasting blood glucose, TG: triglycerides, TC: total cholesterol, HDL-C: high-density lipoprotein-cholesterol, LDL-C: low-density lipoprotein-cholesterol, NEFA: non-esterified fatty acids. ALT: Alanine transaminase; AST: aspartate transaminase, Urea: blood urea nitrogen, Crea: creatinine, UA: uric acid, WBC: white blood cell; HPLC: High performance liquid chromatography.