Supplementary methods

  - Proteomic analysis by TripleTOF 6600 LC-MS/MS System

    - Protein digestion

- In order to perform global protein identification and quantification, HEPATosomes and STEATosomes samples (n=4/36mL ultracentrifuged secretome/each) were loaded on a 10% SDS-PAGE gel. The run was stopped as soon as the front penetrated 3 mm into the resolving gel 1,2. The protein bands were detected by Sypro Ruby fluorescent staining (Lonza, Switzerland), excised, and processed for in-gel, manual tryptic digestion as described elsewhere 3. Gel pieces were reduced with 10 mM dithiothreitol (Sigma-Aldrich). St. Louis, MO, USA) in 50 mM ammonium bicarbonate (Sigma-Aldrich). Louis, MO), and alkylated with 55 mM iodoacetamide (Sigma-Aldrich, St. Louis, MO, USA).  Louis, MO, USA) in a 50 mM ammonium bicarbonate solution. The gel pieces were then rinsed with 50 mM ammonium bicarbonate in 50% methanol (HPLC grade, Scharlau, Barcelona, Spain), dehydrated by the addition of acetonitrile (HPLC grade, Scharlau), and dried in a SpeedVac. Modified porcine trypsin (Promega, Madison, WI, USA) was added to dry gel pieces at a final concentration of 20 ng/μl in 20mM ammonium bicarbonate and incubated at 37 °C for 16 h. Peptides were extracted three times after 20 min of incubation in 40 μL of 60% acetonitrile in 0.5% HCOOH. The resulting peptide extracts were pooled, concentrated in a SpeedVac, and stored at −20 °C.

- Mass spectrometric analysis (DDA acquisition)

- The digested peptides were separated using reverse-phase chromatography. A gradient was created using a micro liquid chromatography system (Eksigent Technologies nanoLC 400, Sciex) coupled to a high-speed Triple TOF 6600 mass spectrometer (Sciex) with a micro flow source. The analytical column was a silica-based reversed phase column Eksigent C18 150 × 0.30 mm, 3 mm particle size, and 120 Å pore size (Eksigent, Sciex). The trap column was a YMC-TRIART C18 (YMC Technologies, Teknokroma) with a 3 mm particle size and 120 Å pore size, which was switched online with the analytical column. The loading pump delivered a solution of 0.1% formic acid in water at a flow rate of 10 µL/min. The micro-pump generated a flow-rate of 5 µl/min and was operated under gradient elution conditions, using 0.1% formic acid in water as mobile phase A, and 0.1% formic acid in acetonitrile as mobile phase B. Peptides were separated using a 90 minutes gradient ranging from 2% to 90% mobile phase B.

- Data acquisition was performed using a TripleTOF 6600 System (Sciex, Foster City, CA, USA) with a data-dependent analysis (DDA) workflow. The source and interface conditions were as follows: ion spray voltage floating (ISVF) 5500 V, curtain gas (CUR) 25, collision energy (CE), 10 and ion source gas 1 (GS1) 25. The instrument was operated with Analyst TF 1.7.1 software (Sciex, USA). The switching criteria were set to ions greater than the mass-to-charge ratio (m/z) of 350 and smaller than m/z 1400 with a charge state of 2–5, mass tolerance of 250 ppm, and an abundance threshold of more than 200 counts per second (cps). The previous  target precursor ions were excluded for 15 s. The instrument was automatically calibrated every 4 h using tryptic peptides from PepCalMix as external standards.

- Data analysis

- After MS/MS analysis (MS2 data), data files were processed using ProteinPilotTM 5.0.1 software from Sciex, which uses the algorithm ParagonTM for database search and ProgroupTM for data grouping. Data were searched using a human-specific Uniprot database specifying iodoacetamide at cysteine alkylation as a variable modification and methionine oxidation as a fixed modification. The false discovery rate was determined using a nonlinear fitting method, displaying only those results that reported a 1% global false discovery rate or better 4.

Relative quantification: Spectral count

- Scaffold 5 and Scaffold DDA (version Scaffold-5.2.2 and Scaffold-DDA 6.2.0 Proteome Software Inc., Portland, OR) were used to validate MS/MS-based peptide and protein identifications and to perform semiquantitative analysis by spectral counting 5,6. Peptide identifications were accepted if they could be established at a probability greater than 97.0% to achieve a false discovery rate (FDR) <1.0% by the Scaffold Local FDR algorithm. Protein identifications were accepted if they could be established at a probability greater than 99.0% to achieve an FDR <1.0% and contained at least two identified peptides. Protein probabilities were assigned using a protein probe algorithm. Fisher’s exact test was used for quantification and fold change determination. Proteins were considered differentially expressed at p<0.05.

- Protein quantification by SWATH-MS (Sequential Window Acquisition of all Theoretical Mass Spectra)

- Since its early development, SWATH-MS has proved a valuable translational tool in multiple fields, and has been successfully applied by our group in a wide range of studies 7–21

- Generation of the spectral library

- To build the MS2 (MS/MS) spectral libraries, peaks were analyzed by a shotgun data-dependent acquisition (DDA) approach using micro-LC-MS/MS. To ensure adequate representation of the peptides and proteins present in all samples, pooled vials of samples from each group were prepared using equal volumes of the original samples. For each pool (control and steatotic hepatocyte samples), 4 μL was separated into an micro-LC system Ekspert nLC425 (Eksigen, Dublin, CA, USA) using an Eksigent C18 150 × 0.30 mm, 3 mm particle size, and 120 Å pore size (Eksigent, Sciex) at a flow rate of 5 L/min. Water and ACN, both containing 0.1% formic acid, were used as solvents A and B, respectively. The gradient run consisted of 5–95% B for 30 min, 90% B for 5 min, and finally 5% B for 5 min for column equilibration (total run time, 40 min). The eluted peptides were directly injected into a hybrid quadrupole-TOF mass spectrometer (Triple TOF 6600, Sciex, Redwood City, CA, USA) operated with a data-dependent acquisition system in the positive ion mode. A microsource (Sciex) was used for the interface between the microLC and MS, with an application of 2600 V. The acquisition mode consisted of a 250 ms survey (MS scan) MS1 scan from 400 to 1250 m/z, followed by an MS2 (MSMS) scan from 100 to 1500 m/z (25 ms acquisition time) of the top 65 precursor ions from the survey scan, with a total cycle time of 2.8 s. The fragmented precursors were then added to the dynamic exclusion list for 15 s. Any singly charged ions were excluded from the MS2 (MS/MS) analysis.

- Peptide and protein identification was performed using Protein Pilot software (version 5.0.1, Sciex). Data were analyzed using a human-specific Uniprot database specifying iodoacetamide as a Cys alkylation as a variable modification and methionine oxidation as a fixed modification. The false discovery rate (FDR) was set to 1% for both peptides and proteins. The MS2 spectra (MS/MS spectra) of the identified peptides were then used to generate the spectral library for SWATH peak extraction using add-in for PeakView Software (version 2.2, Sciex): MS/MSALL with SWATH Acquisition MicroApp (version 2.0, Sciex). Peptides with a confidence score of >99% (obtained from the Protein Pilot database search) were included in the spectral library.

- Relative quantification by SWATH acquisition

- Sequential Window Acquisition of all Theoretical Mass Spectra (SWATH–MS) was performed on a TripleTOF® 6600 LC-MS/MS system (Sciex). Each sample was analyzed using a data-independent acquisition (IDA) method. Each 4-μL sample was analyzed with the LC-MS equipment, applying the aforementioned LC gradient used to build the spectral library, but using the SWATH-MS acquisition method instead. The method involved repeating a cycle that consisted of the acquisition of 100 TOF MS2 (MS/MS) scans (400–1500 m/z, high-sensitivity mode, 50 ms acquisition time) of overlapping sequential precursor isolation windows of variable width (1 m/z overlap), covering the 400–1250 m/z mass range with a previous TOF MS1 scan (400–1500 m/z, 50 ms acquisition time) for each cycle. Total cycle time was 6.3 s The 100 variable windows width was optimized according to the ion density found in the DDA runs using a SWATH variable window calculator worksheet from Sciex.

- Data analysis

- The targeted data extraction of the fragment ion chromatogram traces from the SWATH runs was performed by PeakView (version 2.2, Sciex) using the SWATH Acquisition MicroApp (version 2.0). This application processed the data using the spectral library generated from the shotgun data. Up to 10 peptides per protein and seven fragments per peptide were selected based on signal intensity; any shared and modified peptides were excluded from the processing. Five-minute windows and 30 ppm widths were used to extract the ion chromatograms; SWATH quantization was attempted for all proteins in the ion library that were identified by ProteinPilot with an FDR <1%. The retention times of the peptides selected for each protein were realigned in each run according to the internal retention time (iRT) peptides corresponding to the different proteins identified in each sample and eluted along the whole time axis. Chromatograms of the extracted ions were generated for each selected fragment ion. Peak areas for the protein were obtained by summing the peak areas from 10 peptides (MS1 scan) and seven corresponding fragment ions (MS2 scan) from each peptide. PeakView computes an FDR and a score for each assigned peptide according to the chromatographic and spectral components. Only peptides with FDR <5% were used for protein quantization. Protein quantization was performed by adding the peak areas of the corresponding peptides.

- Integrated peak areas (processed) mrkvw files from PeakView) were directly exported to the MarkerView 1.3.1 software (Sciex) for relative quantitative analysis. The export generated three files containing quantitative information about individual ions, summed intensity of different ions for a particular peptide, and summed intensity of different peptides for a particular protein. MarkerView uses processing algorithms that accurately find chromatographic and spectral peaks directly from the raw SWATH data. Data alignment using MarkerView compensates for minor variations in both mass and retention time values, ensuring that identical compounds in different samples are accurately compared to one another. Unsupervised multivariate statistical analysis using principal component analysis was performed to compare data from the different samples. A most-like ratio normalization was performed after statistical analysis to control for possible uneven sample loss across different samples during the sample preparation process 22,23. The average MS peak area for each protein was derived from each sample, followed by analysis using Student’s t-test (MarkerView software, Sciex, Redwood City, CA, USA) to compare the samples based on the average total area of all transitions for each protein. The t-test results (p-value) indicate the extent to which each variable distinguishes between the two groups. Candidate proteins were selected for each library based on t-test results (p<0.005 and FC (increase or decrease)>1.5).

1.	Bonzon-Kulichenko E, Pérez-Hernández D, Núñez E, et al. A robust method for quantitative high-throughput analysis of proteomes by 18O labeling. Mol Cell Proteomics. 2011;10(1):M110.003335. doi:10.1074/mcp.M110.003335

2.	Perez-Hernandez D, Gutiérrez-Vázquez C, Jorge I, et al. The intracellular interactome of tetraspanin-enriched microdomains reveals their function as sorting machineries toward exosomes. J Biol Chem. 2013;288(17):11649-11661. doi:10.1074/jbc.M112.445304

3.	Shevchenko A, Wilm M, Vorm O, Mann M. Mass Spectrometric Sequencing of Proteins from Silver-Stained Polyacrylamide Gels. Anal Chem. 1996;68(5):850-858. doi:10.1021/ac950914h

4.	Shilov I V., Seymour SL, Patel AA, et al. The Paragon Algorithm, a Next Generation Search Engine That Uses Sequence Temperature Values and Feature Probabilities to Identify Peptides from Tandem Mass Spectra. Molecular & Cellular Proteomics. 2007;6(9):1638-1655. doi:10.1074/mcp.T600050-MCP200

5.	López-López M, Regueiro U, Bravo SB, et al. Shotgun Proteomics for the Identification and Profiling of the Tear Proteome of Keratoconus Patients. Invest Ophthalmol Vis Sci. 2022;63(5). doi:10.1167/IOVS.63.5.12

6.	Lee HY, Kim EG, Jung HR, et al. Refinements of LC-MS/MS Spectral Counting Statistics Improve Quantification of Low Abundance Proteins. Scientific Reports 2019 9:1. 2019;9(1):1-10. doi:10.1038/s41598-019-49665-1

7.	Novelle MG, Bravo SB, Deshons M, et al. Impact of liver-specific GLUT8 silencing on fructose-induced inflammation and omega-oxidation. iScience. Published online January 2021:102071. doi:10.1016/j.isci.2021.102071

8.	Tamara C, Nerea LB, Belén BS, et al. HUMAN OBESE WHITE ADIPOSE TISSUE SHEDS DEPOT-SPECIFIC EXTRACELLULAR VESICLES AND REVEALS CANDIDATE BIOMARKERS FOR MONITORING OBESITY AND ITS COMORBIDITIES. Translational Research. Published online January 2021. doi:10.1016/j.trsl.2021.01.006

9.	M GV, MDP CV, A SF, et al. Protein Extraction From FFPE Kidney Tissue Samples: A Review of the Literature and Characterization of Techniques. Front Med (Lausanne). 2021;8. doi:10.3389/FMED.2021.657313

10.	Chantada-Vázquez M del P, García Vence M, Serna A, Núñez C, Bravo SB. SWATH-MS Protocols in Human Diseases. In: Methods in Molecular Biology. Vol 2259. Humana Press Inc.; 2021:105-141. doi:10.1007/978-1-0716-1178-4_7

11.	JV Á, SB B, MP CV, et al. Plasma Proteomic Analysis in Morquio A Disease. Int J Mol Sci. 2021;22(11). doi:10.3390/IJMS22116165

12.	L OO, E AL, M PM, et al. Circulating Extracellular Vesicle Proteins and MicroRNA Profiles in Subcortical and Cortical-Subcortical Ischaemic Stroke. Biomedicines. 2021;9(7). doi:10.3390/BIOMEDICINES9070786

13.	Peñas-Martínez J, Barrachina MN, Cuenca-Zamora EJ, et al. Qualitative and quantitative comparison of plasma exosomes from neonates and adults. Int J Mol Sci. 2021;22(4):1-21. doi:10.3390/IJMS22041926

14.	Tamara C, Nerea LB, Belén BS, et al. Vesicles Shed by Pathological Murine Adipocytes Spread Pathology: Characterization and Functional Role of Insulin Resistant/Hypertrophied Adiposomes. Int J Mol Sci. 2020;21(6). doi:10.3390/ijms21062252

15.	Álvarez VJ, Bravo SB, Chantada-Vazquez MP, et al. Characterization of New Proteomic Biomarker Candidates in Mucopolysaccharidosis Type IVA. Int J Mol Sci. 2020;22(1):226. doi:10.3390/ijms22010226

16.	da Silva Lima N, Fondevila MF, Nóvoa E, et al. Inhibition of ATG3 ameliorates liver steatosis by increasing mitochondrial function. J Hepatol. Published online September 2021. doi:10.1016/J.JHEP.2021.09.008

17.	Gonzalez-Rellan MJ, Fondevila MF, Fernandez U, et al. O-GlcNAcylated p53 in the liver modulates hepatic glucose production. Nat Commun. 2021;12(1). doi:10.1038/S41467-021-25390-0

18.	López-López M, Regueiro U, Bravo SB, et al. Tear proteomics in keratoconus: A quantitative SWATH-MS analysis. Invest Ophthalmol Vis Sci. 2021;62(10). doi:10.1167/IOVS.62.10.30

19.	Anfray C, Mainini F, Digifico E, et al. Intratumoral combination therapy with poly(I:C) and resiquimod synergistically triggers tumor-associated macrophages for effective systemic antitumoral immunity. J Immunother Cancer. 2021;9(9). doi:10.1136/JITC-2021-002408

20.	Gómez-Cid L, López-Donaire ML, Velasco D, et al. Cardiac extracellular matrix hydrogel enriched with polyethylene glycol presents improved gelation time and increased on-target site retention of extracellular vesicles. Int J Mol Sci. 2021;22(17). doi:10.3390/IJMS22179226

21.	Pereira-Veiga T, Bravo S, Gómez-Tato A, et al. Red blood cells protein profile is modified in breast cancer patients. Molecular & Cellular Proteomics. 2022;21(12):100435. doi:10.1016/j.mcpro.2022.100435

22.	Redestig H, Fukushima A, Stenlund H, et al. Compensation for systematic cross-contribution improves normalization of mass spectrometry based metabolomics data. Anal Chem. 2009;81(19):7974-7980. doi:10.1021/AC901143W/SUPPL_FILE/AC901143W_SI_001.PDF

23.	Lambert JP, Ivosev G, Couzens AL, et al. Mapping differential interactomes by affinity purification coupled with data-independent mass spectrometry acquisition. Nat Methods. 2013;10(12):1239-1245. doi:10.1038/NMETH.2702