# Additional file 2

| Table S1 Individual comparison between manual consensus and fully automated LV parameters based on the SCMR consensus data. |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | EDV (ml) |  | ESV (ml) |  | LV Mass (g) |  | LV EF (%) |  |
| Case | Pathology | Consensus | Automatic | Consensus | Automatic | Consensus | Automatic | Consensus | Automatic |
| 1 | Healthy | 104 | 109 | 48 | 46 | 70 | 70 | 54 | 58 |
| 2 | Infarct | 285 | 291 | 187 | 190 | 155 | 134 | 35 | 35 |
| 3 | Heart Failure | 293 | 300 | 254 | 230 | 134 | 143 | 13 | 23 |
| 4 | Infarct | 191 | 188 | 112 | 107 | 114 | 106 | 41 | 43 |
| 5 | Heart Failure | 369 | 345 | 268 | 253 | 171 | 153 | 28 | 27 |
| 6 | Hypertrophy | 151 | 155 | 48 | 58 | 175 | 163 | 68 | 63 |
| 7 | Infarct | 191 | 188 | 105 | 101 | 114 | 106 | 45 | 46 |
| 8 | Infarct | 201 | 205 | 142 | 144 | 122 | 119 | 30 | 30 |
| 9 | Infarct | 265 | 260 | 161 | 154 | 130 | 116 | 39 | 41 |
| 10 | Healthy | 158 | 152 | 65 | 56 | 133 | 146 | 59 | 63 |
| 11 | Healthy | 159 | 164 | 69 | 71 | 100 | 92 | 57 | 57 |
| 12 | Healthy | 222 | 223 | 88 | 88 | 122 | 107 | 60 | 61 |
| 13 | Infarct | 217 | 214 | 106 | 102 | 129 | 136 | 51 | 52 |
| 14 | Healthy | 170 | 163 | 74 | 77 | 117 | 105 | 56 | 53 |
| 15 | Hypertrophy | 167 | 201 | 76 | 52 | 193 | 172 | 54 | 74 |
| LV = left ventricle; EDV/ESV = end-diastolic/systolic volume, EF = ejection fraction. Note that LV mass was calculated from the end-diastolic frame. |  |  |  |  |  |  |  |  |  |

| Table S2 Agreement between expert manual and automated segmentation based on the SCMR consensus data. |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Parameter | Mean Difference (SD of the Diff.) | ICC (95% CI) | CoV (%) |
| SCMR Consensus Data | LV Mass | 7.3 (10.6) | 0.95 (0.80-0.99) | 8.3 |
| (n=15) | LV EDV | -1.1 (12.0) | 0.99 (0.98-1.00) | 5.7 |
|  | LV ESV | 4.9 (9.5) | 0.99 (0.98-1.00) | 8.1 |
|  | LV EF | -2.4 (5.8) | 0.96 (0.87-0.99) | 12.2 |
| SD: standard deviation, ICC: intraclass correlation coefficient, CoV: coefficient of variation, LV: left ventricular, EDV/ESV end-diastolic/systolic volume, EF: ejection fraction |  |  |  |  |

Figure S1 Agreement of automatically and manually derived consensus LV parameters based on the SCMR consensus data.

Bland Altman plots (automatic – manual) are shown for LV parameters (15 subjects). LV: left ventricle, EDV/ESV: end-diastolic/systolic volume, EF: ejection fraction, Δ: difference.