Table S1

| Phantom: Differences between 2D flow and R = 2/4/6/8/10/12/15/20 |  |
| --- | --- |
| Peak flow rate CCA: | Difference [ml/s] (%*) |
| 2D scan vs. R = 2 | -0.4 (-3.4) |
| 2D scan vs. R = 4 | -0.1 (-0.6) |
| 2D scan vs. R = 6 | 0.4 ( 4.3) |
| 2D scan vs. R = 8 | 0.4 ( 3.6) |
| 2D scan vs. R = 10 | -0.4 (-4.1) |
| 2D scan vs. R = 12 | 0.5 ( 4.4) |
| 2D scan vs. R =15 | 0.1 ( 0.6) |
| 2D scan vs. R = 20 | 0.2 ( 1.7) |

* Relative to the 2D scan

Table S2

| Phantom: Differences between R = 2 and R = 4/6/8/10/12/15/20 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Bland-Altman |  |  | Orthogonal regression |  |  | Correlation |
| WSS: | Mean difference [Pa] (%*) | LOA [Pa] |  | Slope | Intercept [Pa] |  | ρ |
| R = 2 vs. R = 4 | 0.03 ( 1.29) | 0.79 |  | 1.01 | 0.02 |  | 0.94 |
| R = 2 vs. R = 6 | -0.06 (-2.29) | 0.93 |  | 0.97 | 0.01 |  | 0.91 |
| R = 2 vs. R = 8 | 0.14 ( 5.15) | 1.12 |  | 1.04 | 0.02 |  | 0.87 |
| R = 2 vs. R = 10 | -0.02 (-0.71) | 1.28 |  | 1.03 | -0.08 |  | 0.83 |
| R = 2 vs. R = 12 | 0.05 ( 2.03) | 1.34 |  | 1.04 | -0.04 |  | 0.82 |
| R = 2 vs. R = 15 | 0.06 ( 2.46) | 1.33 |  | 1.08 | -0.16 |  | 0.83 |
| R = 2 vs. R = 20 | 0.14 ( 5.31) | 1.42 |  | 1.11 | -0.13 |  | 0.81 |
| Velocity: | [m/s] (%*) | [m/s] |  |  | [m/s] |  |  |
| R = 2 vs. R = 4 | 0.01 ( 2.00) | 0.12 |  | 0.99 | 0.01 |  | 0.95 |
| R = 2 vs. R = 6 | -0.01 (-1.47) | 0.14 |  | 0.94 | 0.02 |  | 0.94 |
| R = 2 vs. R = 8 | 0.01 ( 2.20) | 0.17 |  | 0.90 | 0.06 |  | 0.90 |
| R = 2 vs. R = 10 | -0.01 (-2.39) | 0.19 |  | 0.87 | 0.05 |  | 0.89 |
| R = 2 vs. R = 12 | -0.01 (-1.31) | 0.21 |  | 0.83 | 0.07 |  | 0.86 |
| R = 2 vs. R = 15 | -0.01 (-2.39) | 0.24 |  | 0.80 | 0.08 |  | 0.81 |
| R = 2 vs. R = 20 | 0.00 (-0.29) | 0.24 |  | 0.78 | 0.10 |  | 0.80 |

* Relative to R = 2

Supplemental Table 3

| In vivo: Peak flow rate and velocity differences between 2D flow and R = 10/20/25/30 (averaged left and right carotid, averaged volunteers) |  |  |
| --- | --- | --- |
|  | Difference ± SD* [ml/s] (%**) | Difference ± SD* [m/s] (%**) |
| 2D scan vs. R = 10 | -3.3 ± 2.2 (-16.1 ± 10.6) | -0.03 ± 0.07 (-6.2 ± 18.4) |
| 2D scan vs. R = 20 | -5.0 ± 2.1 (-24.4 ± 10.4) | -0.08 ± 0.04 (-15.6 ± 17.4) |
| 2D scan vs. R = 25 | -5.7 ± 2.4 (-28.0 ± 12.0) | -0.09 ± 0.05 (-18.5 ± 24.3) |
| 2D scan vs. R = 30 | -6.6 ± 3.4 (-32.6 ± 16.7) | -0.12 ± 0.06 (-23.9 ± 29.1) |

* Difference for over all volunteers ± SD for volunteer values,  
** Relative to the 2D scan

Supplemental Table 4

| In vivo: Differences between R = 10 and R = 20/25/30 (averaged left and right carotid, averaged volunteers) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Bland-Altman |  |  | Orthogonal regression |  |  |  | Correlation |  |
| WSS: | Mean difference ± SD* [Pa] (%**) | LOA ± SD* [Pa] |  |  | Slope ± SD* |  | Ρ ± SD* |  |
| R = 10 vs. R = 20 | -0.18 ± 0.21 (-9.91 ± 10.93) | 1.23 ± 0.29 |  |  | 0.95 ± 0.22 |  | 0.76 ± 0.11 |  |
| R = 10 vs. R = 25 | -0.25 ± 0.22 (-13.44 ± 11.77) | 1.29 ± 0.25 |  |  | 0.78 ± 0.18 |  | 0.72 ± 0.10 |  |
| R = 10 vs. R = 30 | -0.31 ± 0.23 (-16.86 ± 12.16) | 1.30 ± 0.25 |  |  | 0.77 ± 0.22 |  | 0.71 ± 0.10 |  |
| Velocity: | [m/s] (%**) | [m/s] |  |  |  |  |  |  |
| R = 10 vs. R = 20 | -0.03 ± 0.04 (-8.35 ± 9.94) | 0.16 ± 0.0 |  |  | 0.90 ± 0.10 |  | 0.89 ± 0.03 |  |
| R = 10 vs. R = 25 | -0.04 ± 0.04 (-10.79 ± 9.64) | 0.18 ± 0.0 |  |  | 0.83 ± 0.10 |  | 0.87 ± 0.04 |  |
| R = 10 vs. R = 30 | -0.05 ± 0.04 (-13.97 ± 10.76) | 0.18 ± 0.0 |  |  | 0.81 ± 0.12 |  | 0.87 ± 0.03 |  |

* Mean “mean difference” for all volunteers ± SD for volunteer values, ** Relative to R = 10