Table S1. Acquisition parameters of cine and 4D flow CMR imaging in two centres.

| Vendor | Philips | Siemens |
| --- | --- | --- |
| Magnetic field strength | 3.0T | 1.5T |
| Pulse sequence | Spoiled gradient echo | Spoiled gradient echo |
| Cine images |  |  |
| TR/TE (ms) | 2.8/1.4 | 3.4/1.3 |
| Flip angle (°) | 45 | 72 |
| Field of view (mm2) | 320 x 320 | 320 x 260 |
| Slice thickness, mm | 8 | 8 |
| Cardiac phases | 30 | 30 |
| 4D flow images |  |  |
| Acceleration method | EPI factor 5 and SENSE factor 2 | GRAPPA factor 2 |
| Field of view (mm2) | 340 × 340 | 340 × 236.8 |
| Slice orientation | Coronal | Sagittal |
| Acquired voxel size (mm3) | 3.0 × 3.0 × 3.0 | 3.0 × 3.0 × 3.0 |
| Bandwidth, Hz/pixel | 1419 | 495 |
| TR/TE (ms) | 6.4-12.0/3.3-4.0 | 8-12/2.94 |
| Flip angle (°) | 10 | 9 |
| Cardiac phases | 30 | 23 (20, 24)* |
| VENC (cm/s) | 150 - 220 | 150 - 220 |
| Cardiac gating | Retrospective ECG gating | Prospective ECG gating |
| Respiratory motion | Free breathing | Free breathing |
| Scan time (min) | 5 - 10 | 20 |

4D four-dimensional, CMR cardiovascular magnetic resonance, ECG electrocardiogram, EPI echo-planar imaging, GRAPPA generalized autocalibrating partially parallel acquisition, SENSE sensitivity encoding, TR repetition time, TE echo time, VENC velocity encoding. *Median (25th percentile, 75th percentile).

Table S2. Flow components and kinetic energy (KE) parameters for the overall population, men and women

|  | All (n = 163) | Men (n = 95) | Women (n = 68) | P |
| --- | --- | --- | --- | --- |
| LV flow components |  |  |  |  |
| Direct flow, % | 34 ± 7 | 33 ± 7 | 35 ± 6 | 0.080 |
| Retained inflow, % | 15 ± 5 | 15 ± 5 | 16 ± 4 | 0.135 |
| Delayed ejection flow, % | 17 ± 5 | 17 ± 5 | 18 ± 5 | 0.106 |
| Residual volume, % | 33 ± 7 | 35 ± 7 | 31 ± 6 | <0.001 |
| LV KEiEDV parameters |  |  |  |  |
| Global KEiEDV, μJ/ml | 9.9 ± 3.6 | 9.9 ± 3.6 | 9.9 ± 3.5 | 0.973 |
| Peak systolic KEiEDV, μJ/ml | 20.2 ± 8.5 | 21.4 ± 8.0 | 18.6 ± 9.0 | 0.043 |
| Average systolic KEiEDV, μJ/ml | 11.0 ± 4.3 | 11.5 ± 4.0 | 10.2 ± 4.7 | 0.062 |
| Average diastolic KEiEDV, μJ/ml | 9.4 ± 3.6 | 9.1 ± 3.6 | 9.8 ± 3.5 | 0.183 |
| Peak E-wave KEiEDV, μJ/ml | 26.0 ± 9.5 | 24.6 ± 9.6 | 28.0 ± 9.0 | 0.022 |
| Peak A-wave KEiEDV, μJ/ml | 12.6 ± 7.8 | 12.8 ± 7.8 | 12.2 ± 7.8 | 0.626 |
| KEiEDV E/A ratio | 2.95 ± 2.34 | 2.82 ± 2.50 | 3.15 ± 2.09 | 0.374 |
| RV flow components |  |  |  |  |
| Direct flow, % | 36 ± 7 | 35 ± 7 | 37 ± 7 | 0.014 |
| Retained inflow, % | 17 ± 5 | 17 ± 5 | 17 ± 5 | 0.587 |
| Delayed ejection flow, % | 17 ± 5 | 15 ± 4 | 17 ± 5 | 0.019 |
| Residual volume, % | 31 ± 7 | 33 ± 7 | 29 ± 7 | 0.001 |
| RV KEiEDV parameters |  |  |  |  |
| Global KEiEDV, μJ/ml | 8.8 ± 2.9 | 8.4 ± 2.9 | 9.3 ± 2.8 | 0.032 |
| Peak systolic KEiEDV, μJ/ml | 22.6 ± 7.5 | 22.9 ± 8.0 | 22.2 ± 6.7 | 0.554 |
| Average systolic KEiEDV, μJ/ml | 12.3 ± 3.9 | 12.4 ± 4.2 | 12.3 ± 3.5 | 0.952 |
| Average diastolic KEiEDV, μJ/ml | 6.6 ± 2.7 | 6.2 ± 2.6 | 7.3 ± 2.8 | 0.007 |
| Peak E-wave KEiEDV, μJ/ml | 13.4 ± 5.2 | 12.3 ± 5.1 | 15.0 ± 5.0 | 0.001 |
| Peak A-wave KEiEDV, μJ/ml | 9.2 ± 4.7 | 9.0 ± 4.3 | 9.5 ± 5.3 | 0.506 |
| KEiEDV E/A ratio | 1.80 ± 1.19 | 1.65 ± 1.02 | 2.03 ± 1.37 | 0.048 |

Data were represented as mean ± SD. EDV end-diastolic volume, KEiEDV KE normalized to EDV, LV left ventricle, RV right ventricle. Bonferroni significance levels for LV flow parameters, LV KEiEDV parameters, RV flow parameters and RV KEiEDV parameters are calculated as 0.05/4 = 0.0125; 0.05/7 = 0.007; 0.05/4 = 0.0125 and 0.05/7 = 0.007, respectively.

Table S3. Flow components and kinetic energy (KE) parameters according to age groups

|  | 20-29 (n = 31) | 30-39 (n = 45) | 40-49 (n = 38) | 50-59 (n = 29) | 60-70 (n = 20) | P1 |
| --- | --- | --- | --- | --- | --- | --- |
| LV flow components |  |  |  |  |  |  |
| Direct flow, % | 37 ± 6 | 33 ± 6 | 33 ± 7 | 33 ± 6 | 32 ± 8 | 0.090 |
| Retained inflow, % | 14 ± 4 | 16 ± 5 | 15 ± 4 | 16 ± 4 | 16 ± 6 | 0.256 |
| Delayed ejection flow, % | 16 ± 4 | 18 ± 6 | 17 ± 5 | 17 ± 7 | 18 ± 5 | 0.714 |
| Residual volume, % | 33 ± 7 | 33 ± 6 | 33 ± 7 | 33 ± 6 | 33 ± 7 | 0.997 |
| LV KEiEDV parameters |  |  |  |  |  |  |
| Global KEiEDV, μJ/ml | 9.9 ± 2.8 | 9.8 ± 3.7 | 9.7 ± 3.3 | 10.2 ± 4.7 | 10.2 ± 3.2 | 0.978 |
| Peak systolic KEiEDV, μJ/ml | 19.3 ± 6.7 | 20.9 ± 7.8 | 20.0 ± 7.9 | 21.0 ± 12.9 | 19.5 ± 6.6 | 0.906 |
| Average systolic KEiEDV, μJ/ml | 10.3 ± 2.9 | 11.0 ± 4.3 | 10.8 ± 3.7 | 11.5 ± 6.7 | 11.5 ± 3.2 | 0.843 |
| Average diastolic KEiEDV, μJ/ml | 9.7 ± 3.1 | 9.3 ± 3.8 | 9.1 ± 3.3 | 9.5 ± 4.3 | 9.4 ± 3.6 | 0.969 |
| Peak E-wave KEiEDV, μJ/ml | 31.0 ± 10.2 | 28.3 ± 8.6 | 25.0 ± 7.5 | 21.9 ± 9.9*$ | 21.1 ± 8.5*$ | <0.001 |
| Peak A-wave KEiEDV, μJ/ml | 9.0 ± 3.5 | 10.2 ± 7.6 | 11.9 ± 6.0 | 16.4 ± 9.4*$ | 18.7 ± 8.0*$# | <0.001 |
| KEiEDV E/A ratio | 3.72 ± 1.50 | 4.31 ± 3.30 | 2.62 ± 1.57$ | 1.63 ± 0.89*$ | 1.33 ± 0.81*$ | <0.001 |
| RV flow components |  |  |  |  |  |  |
| Direct flow, % | 36 ± 7 | 35 ± 7 | 35 ± 7 | 37 ± 8 | 37 ± 5 | 0.321 |
| Retained inflow, % | 16 ± 3 | 17 ± 6 | 17 ± 4 | 18 ± 6 | 18 ± 5 | 0.609 |
| Delayed ejection flow, % | 17 ± 4 | 16 ± 4 | 16 ± 5 | 15 ± 5 | 15 ± 6 | 0.342 |
| Residual volume, % | 33 ± 7 | 32 ± 7 | 30 ± 8 | 31 ± 8 | 29 ± 8 | 0.435 |
| RV KEiEDV parameters |  |  |  |  |  |  |
| Global KEiEDV, μJ/ml | 9.2 ± 2.4 | 8.8 ± 2.6 | 8.9 ± 2.6 | 9.0 ± 4.0 | 7.7 ± 2.7 | 0.476 |
| Peak systolic KEiEDV, μJ/ml | 24.0 ± 7.8 | 23.3 ± 7.5 | 23.0 ± 7.7 | 21.4 ± 7.1 | 20.1 ± 6.9 | 0.323 |
| Average systolic KEiEDV, μJ/ml | 13.4 ± 3.9 | 12.3 ± 3.7 | 12.6 ± 4.0 | 11.7 ± 4.4 | 11.0 ± 3.6 | 0.258 |
| Average diastolic KEiEDV, μJ/ml | 6.8 ± 1.9 | 6.7 ± 2.6 | 6.6 ± 2.2 | 7.1 ± 4.1 | 5.9 ± 2.4 | 0.646 |
| Peak E-wave KEiEDV, μJ/ml | 15.4 ± 5.6 | 14.4 ± 4.8 | 13.1 ± 4.1 | 12.6 ± 6.3 | 9.9 ± 3.9*$ | 0.002 |
| Peak A-wave KEiEDV, μJ/ml | 7.4 ± 3.0 | 8.1 ± 4.9 | 9.1 ± 3.5 | 12.1 ± 6.4*$ | 10.4 ± 4.0 | <0.001 |
| KEiEDV E/A ratio | 2.37 ± 1.36 | 2.36 ± 1.40 | 1.64 ± 0.80$ | 1.16 ± 0.65*$ | 1.01 ± 0.38*$ | <0.001 |

Data were represented as mean ± SD. EDV end-diastolic volume, KEiEDV KE normalized to EDV, LV left ventricle, RV right ventricle. 1P value from one-way ANOVA analysis with Bonferroni correction. *Significant difference compared with 20-29 age group; $significant difference compared with 30-39 age group; #significant difference compared with 40-49 age group.

Table S4. Right ventricular (RV) flow parameters between different scanners with age- and sex-matched subjects

|  | Philips 3.0T with EPI (n=22) | Siemens 1.5T with non-EPI (n=22) | P |
| --- | --- | --- | --- |
| Age, years | 43 ± 11 | 42 ± 11 | 0.926 |
| Gender, M/F | 10/12 | 10/12 | 1.000 |
| Percentage of valid particles, % | 90 ± 4 | 91 ± 8 | 0.530 |
| RV direct flow, % | 36 ± 7 | 36 ± 8 | 0.956 |
| RV retained inflow, % | 17 ± 4 | 17 ± 7 | 0.825 |
| RV delayed ejection flow, % | 17 ± 4 | 16 ± 6 | 0.277 |
| RV residual volume, % | 30 ± 8 | 31 ± 8 | 0.643 |
| RV retained inflow – RV delayed ejection flow, % | -0.1 ± 4.3 | 0.3 ± 7.6 | 0.842 |

Data were represented as mean ± SD. EPI echo-planar imaging.

Table S5. Impact of phase offset correction on the flow component and kinetic energy

|  | Philips scanner (n=10) |  |  | Siemens scanner (n=10) |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | With phase offset error correction | Without phase offset error correction | P | With phase offset error correction | Without phase offset error correction | P |
| LV flow components |  |  |  |  |  |  |
| Direct flow, % | 34 ± 2 | 28 ± 5 | 0.011 | 33 ± 2 | 32 ± 3 | 0.631 |
| Retained inflow, % | 16 ± 3 | 16 ± 4 | 0.912 | 17 ± 4 | 19 ± 3 | 0.063 |
| Delayed ejection flow, % | 19 ± 2 | 21 ± 6 | 0.739 | 16 ± 2 | 17 ± 5 | 0.579 |
| Residual volume, % | 32 ± 4 | 35 ± 5 | 0.105 | 35 ± 4 | 31± 4 | 0.089 |
| LV KEiEDV parameters |  |  |  |  |  |  |
| Global KEiEDV, μJ/ml | 7.8 ± 1.5 | 8.5 ± 1.9 | 0.436 | 8.7 ± 1.6 | 8.9 ± 2.0 | 0.853 |
| Peak systolic KEiEDV, μJ/ml | 16.0 ± 4.0 | 19.4 ± 5.7 | 0.190 | 20.3 ± 5.7 | 20.6 ± 6.3 | 0.971 |
| Average systolic KEiEDV, μJ/ml | 9.1 ± 2.6 | 10.5 ± 3.0 | 0.218 | 10.1 ± 2.3 | 10.2 ± 2.5 | 0.739 |
| Average diastolic KEiEDV, μJ/ml | 7.1 ± 1.2 | 7.5 ± 1.8 | 0.796 | 7.9 ± 1.9 | 8.4 ± 2.2 | 0.529 |
| Peak E-wave KEiEDV, μJ/ml | 26.6 ± 5.0 | 27.7 ± 6.6 | 0.684 | 25.0 ± 10.0 | 26.4 ± 11.7 | 0.684 |
| Peak A-wave KEiEDV, μJ/ml | 8.1 ± 3.0 | 8.4 ± 3.0 | 0.796 | 7.5 ± 3.6 | 8.1 ± 3.7 | 0.798 |
| KEiEDV E/A ratio | 3.77 ± 1.61 | 3.65 ± 1.20 | 0.971 | 3.66 ± 2.60 | 3.54 ± 2.55 | 0.878 |
| RV flow components |  |  |  |  |  |  |
| Direct flow, % | 34 ± 6 | 35 ± 6 | 0.247 | 35 ± 6 | 35 ± 4 | 0.912 |
| Retained inflow, % | 17 ± 3 | 18 ± 3 | 0.436 | 17 ± 2 | 18 ± 6 | 0.739 |
| Delayed ejection flow, % | 20 ± 4 | 16 ± 5 | 0.123 | 15 ± 4 | 11 ± 4 | 0.052 |
| Residual volume, % | 30 ± 7 | 31 ± 7 | 0.971 | 33 ± 6 | 36 ± 7 | 0.165 |
| RV KEiEDV parameters |  |  |  |  |  |  |
| Global KEiEDV, μJ/ml | 7.8 ± 1.5 | 7.6 ± 1.3 | 1.000 | 8.0 ± 1.6 | 8.3 ± 2.0 | 0.796 |
| Peak systolic KEiEDV, μJ/ml | 20.9 ± 5.1 | 20.1 ± 4.4 | 0.912 | 24.6 ± 6.9 | 26.1 ± 7.1 | 0.631 |
| Average systolic KEiEDV, μJ/ml | 11.8 ± 2.7 | 11.4 ± 2.6 | 0.971 | 12.1 ± 2.8 | 11.7 ± 4.0 | 1.000 |
| Average diastolic KEiEDV, μJ/ml | 5.7 ± 1.1 | 5.7 ± 1.0 | 0.971 | 5.5 ± 1.2 | 5.8 ± 1.5 | 0.853 |
| Peak E-wave KEiEDV, μJ/ml | 15.5 ± 4.3 | 15.3 ± 4.2 | 0.971 | 12.5 ± 4.0 | 12.3 ± 3.1 | 1.000 |
| Peak A-wave KEiEDV, μJ/ml | 6.3 ± 2.7 | 6.3 ± 2.7 | 0.971 | 6.6 ± 2.1 | 6.4 ± 2.1 | 0.902 |
| KEiEDV E/A ratio | 2.87 ± 1.35 | 2.83 ± 1.35 | 0.853 | 1.81 ± 0.70 | 1.93 ± 0.79 | 0.902 |

P values are from nonparametric Wilcoxon Signed-Ranks Test.