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	Study Participant Questionnaire Response Ratings1
	Average Rating
Mean ± SD

	The dimensions (size, height, length, width) of your assistive device?
	4.2 ± 1.2

	
	

	The weight of your assistive device?
	4.2 ± 1.0

	
	

	The ease in adjusting (fixing, fastening) the parts of your assistive device?
	4.0 ± 1.1

	
	

	How safe and secure your assistive device is?
	4.6 ± 0.6

	
	

	The durability (endurance, resistance to wear) of your assistive device?
	4.4 ± 0.8

	
	

	How easy it is to use your assistive device?
	4.2 ± 1.2

	
	

	[bookmark: _GoBack]How comfortable your assistive device is?
	3.9 ± 1.1

	
	

	How effective your assistive device is (the degree to which your device meets your needs)?
	4.3 ± 1.1

	
	

	Overall Score:        
	33.8 ± 6.1

	Most Important Item Selection2
	N (%)

	Effectiveness
	25 (69.4%)

	Comfort
	19 (52.8%)

	Easy to use
	18 (50.0%)

	Safety
	16 (44.4%)

	Weight
	9 (25.0%)

	Adjustments
	8 (22.2%)

	Durability
	7 (19.4%)

	Dimensions
	6 (16.7%)


1 At the end of the study, the 36 study participants who completed all training visits and activities with the ReStoreTM were asked to rate their satisfaction with their experience with the ReStore using a 1 to 5 scale, with 1 = “not satisfied” at all and 5 = “very satisfied”.
2 Subjects were asked to rate the three items that they considered to be the most important.

Supplementary Table 2: Physical Therapist Questionnaire Responses
	Physical Therapist Questionnaire Response Ratings1
	Average Rating
Mean ± SD

	The training I received adequately prepared me to use the device with subjects
	3.9 ± 1.20

	
	

	The amount of time spent donning/doffing the device is feasible for use in clinical practice
	3.1 ± 0.95

	
	

	I am satisfied with the ease of operation of the device through the user interface
	4.3 ± 0.83

	
	

	I was able to adjust the device settings to address the unique needs of individual subjects
	3.9 ± 0.83

	
	

	Using the device did not interfere with my ability to provide appropriate supervision and guarding of the subject throughout all sessions
	4.3 ± 0.91

	
	

	The device was compatible with gait training activities
	3.8 ± 0.97

	
	

	I felt that the device had a positive impact on the subjects’ walking performance
	3.6 ± 0.84

	
	

	This device would be useful in my clinical practice
	3.4 ± 0.94

	
	

	I would recommend this device to other PTs
	3.4 ± 0.94

	
	


1 At the end of the study, the 14 licensed physical therapists who operated the ReStoreTM were asked to rate their satisfaction with the ReStore using a 1 to 5 scale, with 1 = “strongly disagree” and 5 = “strongly agree”.
