Additional file 2. Screening technologies by country, government Regulator [R], Manufacturer [M], and Distributor/Pharmacy [DP].

Africa and the Americas

| Screening Technology | Argentina |  |  |  |  | Mexico |  |  |  | Nigeria |  |  |  |  | USA |  |  |  | Zimbabwe |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | R1 | M1 | M2 | DP1 | DP2 | R1 | M1 | DP1 | DP2 | R1 | M1 | M2 | DP1 | DP2 | R1 | M1 | M2 | DP1 | R1 | M1 | M2 | DP1 | DP2 |
| Documentation check (inclusive of WHO checklist) | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ |
| Alternate Light Sources |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ✓ |  |  |  |  |  |  |  |  |
| Handheld Refractometer |  | ✓ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ✓ |  |  |  |  |
| Handheld Viscometer |  | ✓ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Portable colorimetric tests |  | ✓ |  |  |  |  | ✓ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Simple disintegration |  |  |  |  |  |  |  |  |  | ✓ | ✓ |  |  |  |  |  |  |  | ✓ |  |  |  |  |
| Capillary electrophoresis |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Portable conductometer |  | ✓ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Portable TLC |  |  |  |  |  |  |  |  |  | ✓ |  |  |  |  |  |  |  |  | ✓ |  |  |  |  |
| Portable GC-MS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Handheld IR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Handheld NIR |  |  | ✓ |  |  |  | ✓ |  |  |  |  |  |  |  | ✓ | ✓ | ✓ |  |  |  |  |  |  |
| Handheld FTIR |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ✓ |  |  |  |  |  |  |  |  |
| Handheld UV-Vis |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Handheld Raman |  | ✓ | ✓ |  |  |  | ✓ |  |  | ✓ |  |  |  |  | ✓ | ✓ | ✓ |  |  |  |  |  |  |
| Portable IMS |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ✓ |  |  |  |  |  |  |  |  |
| Handheld NMR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Handheld NQR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Handheld XRD |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Handheld XRF |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ✓ |  |  |  |  |  |  |  |  |
| Portable MS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Portable sterility |  | ✓ |  |  |  |  | ✓ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

S3 Annex continued. Screening technologies by government Regulator [R], Manufacturer [M], and Distributor/Pharmacy [DP].

Eastern Mediterranean, Asia, and Western Pacific

| Screening Technology | China |  |  |  | Egypt |  | India |  |  |  |  | Jordan |  | Philippines |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | R1 | M1 | M2 | DP1 | R1 | M1 | R1 | M1 | M2 | DP1 | DP2 | R1 | M1 | R1 | M1 | M2 | DP1 | DP2 |
| Documentation check (inclusive of WHO checklist) | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ |
| Alternate Light Sources | ✓ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Handheld Refractometer |  |  |  |  |  |  | ✓ | ✓ | ✓ |  |  |  |  |  |  |  |  |  |
| Handheld Viscometer |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Portable colorimetric tests | ✓ |  |  |  |  |  | ✓ | ✓ | ✓ |  |  |  |  | ✓ |  |  |  |  |
| Simple disintegration | ✓ |  |  |  |  |  | ✓ | ✓ | ✓ |  |  |  |  | ✓ |  |  |  |  |
| Capillary electrophoresis |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Portable conductimeter |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Portable TLC | ✓ |  |  |  |  |  | ✓ | ✓ | ✓ |  |  |  |  | ✓ |  |  |  |  |
| Portable GC-MS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Handheld IR |  |  |  |  |  |  |  | ✓ |  |  |  |  |  |  |  |  |  |  |
| Handheld NIR | ✓ |  |  |  |  |  | ✓ | ✓ | ✓ |  |  |  | ✓ |  |  |  |  |  |
| Handheld FTIR | ✓ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Handheld UV-Vis |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Handheld Raman | ✓ | ✓ | ✓ |  |  |  | ✓ | ✓ | ✓ |  |  | ✓ | ✓ |  |  |  |  |  |
| Portable IMS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Handheld NMR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Handheld NQR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Handheld XRD |  |  |  |  |  |  |  | ✓ |  |  |  |  |  |  |  |  |  |  |
| Handheld XRF | ✓ |  |  |  |  |  | ✓ | ✓ |  |  |  |  |  |  |  |  |  |  |
| Portable MS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Portable sterility |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |