Additional file 2. Screening technologies by country, government Regulator [R], Manufacturer [M], and Distributor/Pharmacy [DP].
[bookmark: _GoBack]Africa and the Americas
	Screening Technology
	Argentina
	Mexico
	Nigeria
	USA
	Zimbabwe

	
	R1
	M1
	M2
	DP1
	DP2
	R1
	M1
	DP1
	DP2
	R1
	M1
	M2
	DP1
	DP2
	R1
	M1
	M2
	DP1
	R1
	M1
	M2
	DP1
	DP2

	Documentation check 
(inclusive of WHO checklist)
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓

	Alternate Light Sources
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	✓
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld Refractometer
	 
	✓
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	✓
	 
	 
	 
	 

	Handheld Viscometer
	 
	✓
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Portable colorimetric tests
	 
	✓
	 
	 
	 
	 
	✓
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Simple disintegration
	 
	 
	 
	 
	 
	 
	 
	 
	 
	✓
	✓
	 
	 
	 
	 
	 
	 
	 
	✓
	 
	 
	 
	 

	Capillary electrophoresis
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Portable conductometer
	 
	✓
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Portable TLC
	 
	 
	 
	 
	 
	 
	 
	 
	 
	✓
	 
	 
	 
	 
	 
	 
	 
	 
	✓
	 
	 
	 
	 

	Portable GC-MS
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld IR
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld NIR
	 
	 
	✓
	 
	 
	 
	✓
	 
	 
	 
	 
	 
	 
	 
	✓
	✓
	✓
	 
	 
	 
	 
	 
	 

	Handheld FTIR
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	✓
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld UV-Vis
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld Raman
	 
	✓
	✓
	 
	 
	 
	✓
	 
	 
	✓
	 
	 
	 
	 
	✓
	✓
	✓
	 
	 
	 
	 
	 
	 

	Portable IMS
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	✓
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld NMR
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld NQR
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld XRD
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld XRF
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	✓
	 
	 
	 
	 
	 
	 
	 
	 

	Portable MS
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Portable sterility
	 
	✓
	 
	 
	 
	 
	✓
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 


S3 Annex continued. Screening technologies by government Regulator [R], Manufacturer [M], and Distributor/Pharmacy [DP].
Eastern Mediterranean, Asia, and Western Pacific
	Screening Technology
	China
	Egypt
	India
	Jordan
	Philippines

	
	R1
	M1
	M2
	DP1
	R1
	M1
	R1
	M1
	M2
	DP1
	DP2
	R1
	M1
	R1
	M1
	M2
	DP1
	DP2

	Documentation check 
(inclusive of WHO checklist)
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓
	✓

	Alternate Light Sources
	✓
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld Refractometer
	 
	 
	 
	 
	 
	 
	✓
	✓
	✓
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld Viscometer
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Portable colorimetric tests
	✓
	 
	 
	 
	 
	 
	✓
	✓
	✓
	 
	 
	 
	 
	✓
	 
	 
	 
	 

	Simple disintegration
	✓
	 
	 
	 
	 
	 
	✓
	✓
	✓
	 
	 
	 
	 
	✓
	 
	 
	 
	 

	Capillary electrophoresis
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Portable conductimeter
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Portable TLC
	✓
	 
	 
	 
	 
	 
	✓
	✓
	✓
	 
	 
	 
	 
	✓
	 
	 
	 
	 

	Portable GC-MS
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld IR
	 
	 
	 
	 
	 
	 
	 
	✓
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld NIR
	✓
	 
	 
	 
	 
	 
	✓
	✓
	✓
	 
	 
	 
	✓
	 
	 
	 
	 
	 

	Handheld FTIR
	✓
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld UV-Vis
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld Raman
	✓
	✓
	✓
	 
	 
	 
	✓
	✓
	✓
	 
	 
	✓
	✓
	 
	 
	 
	 
	 

	Portable IMS
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld NMR
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld NQR
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld XRD
	 
	 
	 
	 
	 
	 
	 
	✓
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Handheld XRF
	✓
	 
	 
	 
	 
	 
	✓
	✓
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Portable MS
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 

	Portable sterility
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 
	 




