Table S1 Mechanical properties of materials used in finite element analysis models.

| Materials | Elastic Modulus (MPa) | Poisson Ratio | References |
| --- | --- | --- | --- |
| Crown (Zr) | 140000 | 0.28 | Lee et al.[1] |
| Crown (LD) | 95000 | 0.24 | Tribst et al.[2] |
| Crown (RC) | 12000 | 0.33 | Ding et al.[3] |
| Crown (PICN) | 37950 | 0.23 | Della et al.[4] |
| Enamel | 41000 | 0.31 | Furuya et al.[5] |
| Dentin | 15000 | 0.31 | Huang et al.[6] |
| Pulp | 70 | 0.45 | Shahmoradi et al.;Furuya et al.[5, 7] |
| Periodontal ligament | 68.9 | 0.45 | Dal et al.[8] |
| Cement (resin luting) | 10760 | 0.35 | [9] |
| Alveolar bone | 13700 | 0.30 | [2] |

REFERENCES

1.	Lee H, Park S, Noh G. Biomechanical analysis of 4 types of short dental implants in a resorbed mandible. J Prosthet Dent. 2019;121(4):659-70.

2.	Tribst JPM, Dal Piva AMO, de Melo RM, Borges ALS, Bottino MA, Özcan M. Short communication: Influence of restorative material and cement on the stress distribution of posterior resin-bonded fixed dental prostheses: 3D finite element analysis. J Mech Behav Biomed Mater. 2019;96:279-84.

3.	Ding X, Li J, Zhang X, Yan X. Effects of 3 different residual root treatments after post-and-core restoration: An in vitro fracture resistance experiment and finite element analysis. J Prosthet Dent. 2020;124(4):485.e1-.e10.

4.	Della Bona A, Corazza PH, Zhang Y. Characterization of a polymer-infiltrated ceramic-network material. Dent Mater. 2014;30(5):564-9.

5.	Furuya Y, Huang SH, Takeda Y, Fok A, Hayashi M. Fracture strength and stress distributions of pulpless premolars restored with fiber posts. Dent Mater J. 2014;33(6):852-8.

6.	Huang L, Nemoto R, Okada D, Shin C, Saleh O, Oishi Y, et al. Investigation of stress distribution within an endodontically treated tooth restored with different restorations. J Dent Sci. 2022;17(3):1115-24.

7.	Shahmoradi M, Wan B, Zhang Z, Wilson T, Swain M, Li Q. Monolithic crowns fracture analysis: The effect of material properties, cusp angle and crown thickness. Dent Mater. 2020;36(8):1038-51.

8.	Dal Piva AMDO, Tribst JPM, Souza RODAE, Borges ALS. Influence of Alveolar Bone Loss and Cement Layer Thickness on the Biomechanical Behavior of Endodontically Treated Maxillary Incisors: A 3-dimensional Finite Element Analysis. J Endod. 2017;43(5):791-5.

9.	Tolidis K, Papadogiannis D, Papadogiannis Y, Gerasimou P. Dynamic and static mechanical analysis of resin luting cements. J Mech Behav Biomed Mater. 2012;6:1-8.