Table S1. Comparison of setup errors in 3DUS versus CBCT for all patients in all three directions.
	　
	SI
	LR
	AP

	Mean ± SD
	-0.28 ± 5.28
	-0.16 ± 3.48
	-0.47 ± 4.31

	P value
	0.066
	0.124
	<0.001

	Shift agreement (%)
	67.6
	87.3
	77.7

	LOA (mm)
	[bookmark: _GoBack](-10.63, 10.07)
	(-6.98, 6.66)
	(-8.92, 7.98)


CBCT cone-beam computed tomography; 3DUS three-dimensional ultrasound; SI superior-inferior; LR left-right; AP anterior-posterior; SD standard deviation; LOA limits of agreement.
