Table S1. Comparison of setup errors in 3DUS versus CBCT for all patients in all three directions.

|  | SI | LR | AP |
| --- | --- | --- | --- |
| Mean ± SD | -0.28 ± 5.28 | -0.16 ± 3.48 | -0.47 ± 4.31 |
| P value | 0.066 | 0.124 | <0.001 |
| Shift agreement (%) | 67.6 | 87.3 | 77.7 |
| LOA (mm) | (-10.63, 10.07) | (-6.98, 6.66) | (-8.92, 7.98) |

CBCT cone-beam computed tomography; 3DUS three-dimensional ultrasound; SI superior-inferior; LR left-right; AP anterior-posterior; SD standard deviation; LOA limits of agreement.