Table S2. Inter-operator variability of the registration of CT/CBCT and US/US images.

| (mm) | SI | LR | AP |
| --- | --- | --- | --- |
| CBCT | 1.4 | 1.3 | 1.7 |
| 3DUS | 1.7 | 2.1 | 2.6 |

CBCT cone-beam computed tomography; 3DUS three-dimensional ultrasound; SI superior-inferior; LR left-right; AP anterior-posterior.