Appendix A

| Lung SBRT 60 Gy in 8 fractions Planning Dose Constraints |  |
| --- | --- |
| Spinal cord Dmax | < 30.6 Gy |
| Proximal bronchial tree D0.035 cc1 | < 46.3 Gy |
| Proximal trachea D0.035 cc1 | < 46.3 Gy |
| Esophagus D0.035 cc1 | < 40 Gy |
| Great vessels D0.035 cc1 | < 65 Gy |
| Brachial plexus D0.035 cc1 | < 35 Gy |
| Heart D0.035 cc1 V 39 Gy | < 46 Gy < 15 cc |
| Both lungs Dmean V 26 Gy > 1500 cc normal lung | < 7 Gy < 10% < 14 Gy |
| Chest wall2 D0.035 cc1 V 45 Gy | < 68 Gy < 30 cc |
| 1 Use of D0.035 cc consistent to the recommendations from American Association of Physicists in Medicine (AAPM) Task Group 101 report [30] 2 Chest wall constraint prioritized below PTV coverage Abbreviations: Dmax = absolute maximum point dose, D0.035 cc = maximum dose to 0.035 cc, V 39 Gy = volume receiving at least 39 Gy, Dmean = mean dose, V 26 Gy = volume receiving at least 26 Gy, V 45 Gy = volume receiving at least 45 Gy. |  |