Supplementary Table 3. The Pearson's correlation coefficient between three similarity indexes and volumes at each site of head and neck cancer patients

|  | Brainstem | Mandible | Eye_L | Eye_R | Chiasma | Optic nerve_L | Optic nerve_R | Parotid_L | Parotid_R | Spinal cord |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SEGatlas (atlas-based segmentation) |  |  |  |  |  |  |  |  |  |  |
| DSC | -0.12 p = 0.54 | 0.32 p = 0.14 | 0.25 p = 0.32 | 0.18 p = 0.47 | -0.29 p = 0.23 | -0.40 p = 0.10 | -0.16 p = 0.55 | 0.55 p = 0.01 | 0.28 p = 0.20 | 0.79 p = 0.00 |
| HD | -0.08 p = 0.68 | -0.13 p = 0.56 | -0.20 p = 0.43 | -0.20 p = 0.42 | 0.57 p = 0.01 | -0.01 p = 0.96 | 0.13 p = 0.61 | 0.23 p = 0.29 | 0.29 p = 0.18 | 0.20 p = 0.30 |
| MDA | 0.10 p = 0.61 | -0.11 p = 0.61 | -0.23 p = 0.36 | -0.20 p = 0.41 | 0.63 p = 0.00 | 0.19 p = 0.45 | 0.14 p = 0.59 | -0.27 p = 0.21 | 0.09 p = 0.69 | -0.72 p = 0.00 |
| SEGAI (AI-based segmentation) |  |  |  |  |  |  |  |  |  |  |
| DSC | 0.41 p = 0.03 | 0.75 p = 0.00 | 0.50 p = 0.04 | 0.26 p = 0.28 | -0.01 p = 0.96 | -0.16 p = 0.52 | -0.01 p = 0.98 | 0.55 p = 0.01 | 0.39 p = 0.07 | -0.65 p = 0.00 |
| HD | -0.30 p = 0.13 | -0.62 p = 0.00 | -0.38 p = 0.12 | -0.05 p = 0.84 | 0.32 p = 0.19 | 0.05 p = 0.83 | 0.00 p = 0.99 | 0.08 p = 0.71 | 0.16 p = 0.46 | 0.69 p = 0.00 |
| MDA | -0.32 p = 0.10 | -0.62 p = 0.00 | -0.42 p = 0.08 | -0.25 p = 0.29 | 0.64 p = 0.00 | 0.18 p = 0.48 | 0.13 p = 0.62 | -0.23 p = 0.29 | -0.07 p = 0.74 | 0.68 p = 0.00 |