
[bookmark: _GoBack]Supplemental Table 1: MRI scan parameters for the segmentation sequences (black) and sCT specific sequences (blue). BW: band width; ET: Echo time; TR: repetition time; FA: flip angle; ST: slice thickness; FOV: field of view
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Supplementary Table 2: mean value of the mean error for Dmean, D2% and D98% for various structures in the brain and pelvis cohorts. Standard deviation are given in parenthesis.
	
	
	Brain
	Pelvis

	
	
	PTV
	Brain
	Skull
	PTV
	Femoral heads
	Rectum
	Bladder

	Dmean
	Syngo_BD
	1.2 (0.6)
	1.4 (1.1)
	0.1 (1.2)
	1.3 (1.1)
	2.6 (3.7)
	1.5 (1.6)
	1.1 (2.3)

	
	Spectronic
	0.3 (0.3)
	0.6 (1.0)
	0.0 (1.2)
	0.8 (0.9)
	2.1 (3.3)
	1.2 (3.0)
	0.3 (4.0)

	
	Syngo_AI
	0.3 (0.4)
	0.3 (1.1)
	-0.3 (1.1)
	0.6 (1.0)
	1.7 (7.1)
	1.1 (1.6)
	0.8 (2.4)

	
	Therapanacea
	-0.5 (0.7)
	-0.5 (1.5)
	-0.3 (1.5)
	0.8 (1.2)
	0.5 (6.1)
	1.7 (1.7)
	0.9 (2.3)

	D2%
	Syngo_BD
	1.7 (0.7)
	1.4 (0.5)
	1.3 (1.2)
	1.9 (1.7)
	2.3 (3.0)
	1.3 (2.0)
	1.6 (1.6)

	
	Spectronic
	0.4 (0.5)
	0.4 (0.8)
	-1.2 (2.3)
	1.1 (1.1)
	1.4 (2.5)
	1.1 (1.3)
	1.2 (1.2)

	
	Syngo_AI
	0.6 (0.7)
	0.3 (0.4)
	0.2 (0.9)
	1.0 (1.6)
	1.2 (2.8)
	0.8 (1.2)
	1.1 (1.5)

	
	Therapanacea
	-0.2 (0.5)
	-0.4 (0.5)
	-0.2 (0.9)
	1.2 (1.5)
	1.4 (3.0)
	1.4 (1.4)
	1.5 (1.4)

	D98%
	Syngo_BD
	-0.1 (2.7)
	-3.1 (3.7)
	-1.9 (3.1)
	0.3 (2.9)
	-0.5 (8.1)
	12.1 (72.5)
	3.1 (29.6)

	
	Spectronic
	0.3 (0.5)
	0.4 (1.8)
	0.5 (1.8)
	0.1 (1.7)
	-1.9 (13.0)
	11.7 (74.0)
	2.6 (30.4)

	
	Syngo_AI
	0.1 (0.4)
	-0.1 (3.6)
	-0.1 (3.6)
	-0.1 (2.2)
	-2.3 (11.5)
	12.1 (72.5)
	3.5 (29.6)

	
	Therapanacea
	-1.0 (3.4)
	0.6 (7.2)
	1.2 (7.6)
	0.1 (2.0)
	-0.8 (16.8)
	13.0 (72.5)
	6.5 (30.1)
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Sequence
Time (min)  (He/Bx)  (ms) (mg) (mmxmm)  (mm) (mm)
T2 SPACE 3D 645 558 132 1600 170 10x10 1 450

Pelvis
DIXON 3D 215 1010 239 627 15 20x20 2 a8
16430 450 150 287 2200 s 10x10 1 255
T2SPACESD 532 723 % 1900 160 10x10 1 256
Brain T2 PETRA 3D (8ages) 257 01 007 333 6 15x15 15 480
1 VIBE DIXON 3D 207 500 239 683 10 15x15 15 288

T2 FLASH Gradient Echo

255 320 350 7 20 15x15 3 288

20(vessels)





