Supplements

| Patient | Original IMRT (n = 5) beam fields | Original VMAT (n = 15) arcs | Replanned IMRT (n = 20) beam fields | Replanned VMAT (n = 20) arcs |
| --- | --- | --- | --- | --- |
| 1 | 4 |  | 6 | 2 |
| 2 | 4 |  | 7 | 2 |
| 3 | 6 |  | 5 | 3 |
| 4 | 7 |  | 7 | 3 |
| 5 | 7 |  | 9 | 4 |
| 6 |  | 2 | 6 | 2 |
| 7 |  | 2 | 6 | 2 |
| 8 |  | 2 | 6 | 2 |
| 9 |  | 2 | 6 | 2 |
| 10 |  | 2 | 6 | 2 |
| 11 |  | 2 | 6 | 2 |
| 12 |  | 2 | 6 | 2 |
| 13 |  | 2 | 7 | 2 |
| 14 |  | 2 | 7 | 2 |
| 15 |  | 2 | 7 | 2 |
| 16 |  | 2 | 7 | 2 |
| 17 |  | 2 | 8 | 2 |
| 18 |  | 2 | 8 | 2 |
| 19 |  | 2 | 8 | 2 |
| 20 |  | 2 | 9 | 2 |

Supplement 1. Beam arrangement per patient for the original and replanned IMRT and VMAT treatment plans.

|  | Heart |  |  |  | Pericardium |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Original | IMRT | VMAT |  | Original | IMRT | VMAT |  |
| Mean [Gy] | 19.7±4.2 | 15.9±2.8 | 16.1±3.0 | a,b | 20.0±3.5 | 18.0±2.6 | 18.2±2.8 | a,b |
| Median [Gy] | 17.6±5.1 | 12.6±4.0 | 12.8±3.8 | a,b | 17.4±4.9 | 13.9±4.3 | 14.3±4.1 | a,b |
| Max [Gy] | 43.7±0.7 | 44.1±0.6 | 44.1±0.8 |  | 43.7±0.7 | 44.1±0.6 | 44.1±0.8 |  |
| D1cc[Gy] | 42.5±0.5 | 43.0±0.6 | 42.9±0.5 | a,b | 42.5±0.5 | 42.8±0.5 | 42.8±0.4 |  |
| V5Gy[%] | 93.8±8.5 | 89.1±11.5 | 92.6±9.4 | a,c | 90.6±12.0 | 85.8±12.9 | 89.8±12.8 | a,c |
| V10Gy[%] | 80.9±17.8 | 60.8±12.1 | 62.3±14.0 | a,b | 76.4±16.3 | 61.2±9.2 | 63.3±11.0 | a,b |
| V15Gy [%] | 63.8±21.5 | 41.7±11.6 | 41.6±13.7 | a,b | 59.8±18.3 | 47.6±8.2 | 47.9±9.6 | a,b |
| V20Gy [%] | 43.6±19.0 | 28.2±10.9 | 28.3±11.5 | a,b | 43.5±14.3 | 37.2±8.1 | 36.8±9.3 | a,b |
| V25Gy [%] | 27.6±15.5 | 19.8±8.9 | 19.9±8.7 | a,b | 31.0±11.7 | 29.0±7.9 | 28.7±7.9 |  |
| V30Gy [%] | 17.8±9.8 | 14.3±5.9 | 14.0±6.1 | a,b | - | - | - | - |
| V40Gy [%] | 5.9±3.2 | 6.0±3.3 | 5.7±3.0 |  | - | - | - | - |
|  | CAA |  |  |  | Aortic Valve Root |  |  |  |
|  | Original | IMRT | VMAT |  | Original | IMRT | VMAT |  |
| Mean [Gy] | 19.5±4.9 | 13.3±3.7 | 13.0±3.6 | a,b | 20.2±7.5 | 9.5±3.7 | 9.9±5.3 | a,b |
| Median [Gy] | 18.6±5.5 | 11.3±4.5 | 10.8±4.2 | a,b | 20.3±7.8 | 9.0±3.3 | 9.4±5.4 | a,b |
| Max [Gy] | 40.7±3.7 | 39.8±5.4 | 39.5±6.5 |  | 29.3±8.0 | 21.6±8.3 | 21.3±7.6 | a,b |
| D1cc[Gy] | 37.7±4.4 | 35.1±7.3 | 34.9±8.2 | a,b | 25.7±7.9 | 15.5±6.6 | 15.5±6.4 | a,b |
| V5Gy[%] | 97.9±4.3 | 89.0±16.4 | 93.3±11.8 | a,b,c | 97.8±7.9 | 91.4±20.6 | 93.1±13.6 | a,b |
| V10Gy[%] | 86.0±14.6 | 53.8±20.7 | 50.7±21.3 | a,b | 88.5±28.9 | 33.5±29.9 | 28.5±27.8 | a,b,c |
| V15Gy [%] | 68.5±21.1 | 32.4±18.7 | 29.0±20.2 | a,b | 75.4±35.5 | 10.4±20.9 | 13.1±30.4 | a,b |
| V20Gy [%] | 45.0±26.2 | 19.7±15.8 | 18.2±16.0 | a,b | 50.2±37.8 | 4.5±10.7 | 9.5±27.2 | a,b |
| V25Gy [%] | 24.7±25.2 | 11.6±10.4 | 10.3±8.5 | a,b | 23.6±34.8 | 1.7±4.6 | 4.7±15.8 | a,b |
| V30Gy [%] | 13.4±16.8 | 6.2±5.1 | 5.5±4.2 | a,b | 14.3±29.0 | 0.7±2.1 | 1.1±3.8 | a,b |
| V40Gy [%] | 1.4±2.1 | 1.0±1.3 | 1.1±1.6 |  | 0.0±0.0 | 0.0±0.0 | 0.0±0.0 |  |
|  | Sinoatrial Node |  |  |  | Atrioventricular Node |  |  |  |
|  | Original | IMRT | VMAT |  | Original | IMRT | VMAT |  |
| Mean [Gy] | 13.8±8.0 | 6.8±2.6 | 7.6±2.8 | a,b,c | 28.7±5.0 | 18.2±5.2 | 18.3±5.4 | a,b |
| Median [Gy] | 13.6±8.3 | 6.3±2.6 | 7.2±2.7 | a,b,c | 28.5±5.5 | 15.9±5.1 | 16.3±5.9 | a,b |
| Max [Gy] | 24.5±9.4 | 17.5±8.4 | 17.4±7.2 | a,b | 40.1±3.5 | 39.1±5.0 | 39.3±5.8 | a |
| D1cc[Gy] | 17.0±8.4 | 9.4±4.2 | 10.3±4.6 | a,b | 36.1±5.6 | 30.7±8.2 | 31.0±8.8 | a,b |
| V5Gy[%] | 89.7±23.0 | 70.6±37.6 | 85.4±24.4 | a,c | 100.0±0.0 | 99.6±1.3 | 99.8±0.6 |  |
| V10Gy[%] | 56.5±40.2 | 12.8±15.7 | 16.0±19.6 | a,b | 99.9±0.3 | 77.9±19.5 | 73.9±22.5 | a,b |
| V15Gy [%] | 36.7±42.2 | 3.0±8.8 | 4.0±12.7 | a,b | 97.6±5.1 | 50.8±25.1 | 51.4±26.6 | a,b |
| V20Gy [%] | 24.1±37.0 | 1.4±4.8 | 1.8±7.2 | a,b | 85.9±21.2 | 35.2±26.0 | 36.7±27.5 | a,b |
| V25Gy [%] | 12.9±27.5 | 0.4±1.6 | 0.9±4.2 |  | 67.0±31.6 | 23.6±18.4 | 24.5±19.8 | a,b |
| V30Gy [%] | 5.9±22.3 | 0.1±0.5 | 0.4±1.9 |  | 44.0±30.2 | 15.9±13.9 | 16.5±15.2 | a,b |
| V40Gy [%] | 0.0±0.0 | 0.0±0.0 | 0.0±0.0 |  | 8.0±11.0 | 2.7±4.4 | 3.9±6.4 | a,b |
|  | Right Atrium |  |  |  | Left Atrium |  |  |  |
|  | Original | IMRT | VMAT |  | Original | IMRT | VMAT |  |
| Mean [Gy] | 19.5±4.7 | 14.8±4.0 | 14.2±3.5 | a,b | 32.2±4.2 | 28.8±4.9 | 29.1±5.3 | a,b |
| Median [Gy] | 18.2±5.0 | 13.1±5.1 | 12.0±3.9 | a,b | 33.1±5.4 | 29.5±7.6 | 29.9±7.8 | a,b |
| Max [Gy] | 25.1±7.4 | 22.5±8.6 | 22.6±9.1 | b | 43.1±0.8 | 43.8±0.7 | 43.7±0.9 | a,b |
| D1cc[Gy] | 16.5±6.0 | 12.0±6.1 | 10.5±5.2 | a,b | 41.9±0.5 | 42.5±0.7 | 42.3±0.6 | a,b |
| V5Gy[%] | 96.5±11.6 | 85.4±26.8 | 86.6±21.0 | a,b | 99.1±3.9 | 98.9±4.9 | 99.0±4.6 |  |
| V10Gy[%] | 85.9±12.9 | 62.1±20.6 | 59.5±21.3 | a,b | 98.2±5.6 | 94.4±8.3 | 96.2±7.0 | a,b,c |
| V15Gy [%] | 67.0±21.0 | 40.4±19.4 | 35.3±19.3 | a,b | 95.2±8.1 | 84.1±13.8 | 85.0±13.8 | a,b |
| V20Gy [%] | 43.8±26.4 | 25.2±18.2 | 21.8±14.8 | a,b | 89.2±11.0 | 72.1±16.6 | 73.9±18.4 | a,b |
| V25Gy [%] | 25.3±24.5 | 15.3±12.9 | 12.6±8.7 | a,b | 77.7±16.7 | 61.4±18.3 | 63.4±20.9 | a,b |
| V30Gy [%] | 13.5±14.3 | 8.3±6.6 | 7.2±5.5 | a,b | 62.8±20.6 | 51.6±18.7 | 52.9±21.2 | a,b |
| V40Gy [%] | 1.9±2.8 | 1.4±1.8 | 1.5±2.1 |  | 27.0±18.6 | 25.9±15.5 | 25.3±15.7 |  |
|  | Right Ventricle |  |  |  | Left Ventricle |  |  |  |
|  | Original | IMRT | VMAT |  | Original | IMRT | VMAT |  |
| Mean [Gy] | 16.6±4.6 | 11.3±3.2 | 11.7±3.1 | a,b | 16.3±5.5 | 14.4±2.8 | 14.6±3.0 | a,b |
| Median [Gy] | 16.1±4.9 | 10.2±3.9 | 10.2±3.4 | a,b | 15.0±5.7 | 12.1±2.7 | 12.4±3.0 | a,b |
| Max [Gy] | 34.3±7.1 | 32.2±8.4 | 34.3±7.4 |  | 40.8±5.0 | 41.7±4.6 | 41.3±4.7 |  |
| D1cc[Gy] | 30.3±6.6 | 27.5±6.9 | 29.6±6.7 | a | 37.6±6.0 | 39.2±5.4 | 38.3±5.5 | a |
| V5Gy[%] | 95.0±11.4 | 86.4±13.1 | 89.8±9.6 | a | 92.2±11.7 | 90.1±11.0 | 95.5±7.3 | c |
| V10Gy[%] | 83.5±24.0 | 47.3±20.9 | 48.4±23.2 | a,b | 71.8±28.3 | 59.1±14.9 | 63.8±16.9 | a,c |
| V15Gy [%] | 60.6±32.1 | 26.8±20.4 | 27.3±18.3 | a,b | 51.1±29.5 | 37.3±13.3 | 36.9±14.9 | a,b |
| V20Gy [%] | 30.1±25.7 | 10.7±11.6 | 12.4±11.1 | a,b | 31.1±24.1 | 22.1±10.6 | 21.2±12.5 | a,b |
| V25Gy [%] | 9.9±16.6 | 4.1±8.2 | 5.4±5.3 | a | 17.2±15.3 | 13.8±8.3 | 12.6±9.2 | b |
| V30Gy [%] | 3.3±6.2 | 1.7±4.1 | 1.7±2.0 | a | 8.4±8.2 | 8.6±6.0 | 7.4±5.8 |  |
| V40Gy [%] | 0.3±0.8 | 0.2±0.6 | 0.2±0.7 |  | 1.8±2.5 | 2.1±2.4 | 1.6±1.9 | c |
|  | Left Anterior Descending Artery |  |  |  | Right Coronary Artery |  |  |  |
|  | Original | IMRT | VMAT |  | Original | IMRT | VMAT |  |
| Mean [Gy] | 13.7±5.6 | 8.7±2.3 | 8.6±2.4 | a,b | 15.6±5.5 | 10.3±4.2 | 9.7±4.0 | a,b |
| Median [Gy] | 12.3±5.9 | 7.0±2.1 | 7.8±2.7 | a,b,c | 15.0±6.1 | 9.2±4.3 | 8.8±4.2 | a,b |
| Max [Gy] | 29.4±6.7 | 26.3±8.0 | 23.4±7.2 | b,c | 25.1±7.4 | 22.5±8.6 | 22.6±9.1 | b |
| D1cc[Gy] | 17.8±6.5 | 12.2±4.0 | 11.4±3.3 | a,b | 16.5±6.0 | 12.0±6.1 | 10.5±5.2 | a,b |
| V5Gy[%] | 85.6±22.1 | 75.3±23.7 | 84.7±19.9 | c | 96.5±11.6 | 85.4±26.8 | 86.6±21.0 | a,b |
| V10Gy[%] | 65.4±36.9 | 30.1±14.6 | 28.3±17.7 | a,b | 80.1±28.9 | 38.5±32.1 | 33.4±30.7 | a,b |
| V15Gy [%] | 42.7±38.1 | 9.7±9.7 | 9.0±15.2 | a,b | 52.8±39.4 | 18.3±25.6 | 16.1±26.1 | a,b |
| V20Gy [%] | 19.5±19.4 | 4.3±8.3 | 2.6±5.1 | a,b | 20.7±33.6 | 10.5±15.7 | 7.2±13.1 | b |
| V25Gy [%] | 9.0±13.5 | 3.1±7.0 | 0.8±2.2 | a,b | 10.3±25.2 | 2.7±6.1 | 3.1±7.0 |  |
| V30Gy [%] | 3.9±6.2 | 1.6±5.1 | 0.3±1.3 | b | 3.4±10.1 | 0.5±1.5 | 0.9±2.0 |  |
| V40Gy [%] | 0.0±0.0 | 0.0±0.1 | 0.0±0.0 |  | 0.0±0.2 | 0.0±0.2 | 0.0±0.1 |  |
|  | Bicuspid Valve |  |  |  | Tricuspid Valve |  |  |  |
|  | Original | IMRT | VMAT |  | Original | IMRT | VMAT |  |
| Mean [Gy] | 25.9±7.7 | 25.2±7.3 | 25.3±7.2 |  | 21.3±4.0 | 14.2±5.0 | 13.8±4.4 | a,b |
| Median [Gy] | 25.4±8.3 | 25.0±8.5 | 24.9±8.2 |  | 21.1±4.1 | 13.6±5.4 | 12.4±4.7 | a,b |
| Max [Gy] | 38.0±5.4 | 39.5±6.4 | 38.2±5.9 |  | 30.9±6.5 | 26.0±9.3 | 29.3±8.4 | a,c |
| D1cc[Gy] | 31.1±7.8 | 32.3±7.9 | 31.4±7.1 |  | 25.1±4.7 | 18.0±6.5 | 18.5±6.7 | a,b |
| V5Gy[%] | 100.0±0.0 | 100.0±0.0 | 100.0±0.0 |  | 100.0±0.0 | 95.0±14.6 | 98.3±5.7 |  |
| V10Gy[%] | 95.4±12.8 | 94.4±12.9 | 97.6±6.9 |  | 97.5±5.6 | 66.3±32.9 | 61.8±30.5 | a,b |
| V15Gy [%] | 87.2±24.9 | 83.1±22.8 | 87.7±20.2 |  | 89.1±18.8 | 42.4±34.6 | 38.6±30.2 | a,b |
| V20Gy [%] | 70.3±31.8 | 63.8±34.7 | 66.3±28.8 |  | 58.3±32.2 | 18.7±23.8 | 18.5±18.6 | a,b |
| V25Gy [%] | 52.4±38.2 | 48.9±32.9 | 45.3±36.2 |  | 21.9±24.2 | 7.7±15.2 | 7.6±10.0 | a,b |
| V30Gy [%] | 35.0±35.5 | 33.8±28.4 | 33.1±34.8 |  | 9.4±23.2 | 1.8±5.4 | 3.2±6.7 |  |
| V40Gy [%] | 6.2±11.3 | 10.7±19.5 | 6.5±12.3 |  | 0.9±2.9 | 0.4±1.7 | 0.5±1.7 |  |

a=Original vs IMRT	b=Original vs VMAT	c=IMRT vs VMAT

Supplement 2. Mean dosimetric parameters for all cardiac substructures and subvolumes, including mean dose, median dose, maximum dose, D1cc, and V5Gy, V10Gy, V15Gy, V20Gy, V25Gy, V30Gy, and V40Gy, reported for the original plan, replanned IMRT plan, and replanned VMAT plan. Significant differences are denoted by a (original vs. IMRT), b (original vs. VMAT), and c (IMRT vs. VMAT). CAA = cardiac avoidance area.

Supplement 3. Mean differential dose–volume histograms (dDVHs) for all cardiac substructures and subvolumes across all patients, comparing the original plan (blue), replanned IMRT plan (dashed red), and replanned VMAT plan (dashed green). CAA, cardiac avoidance area.

|  | Lungs |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Original |  | IMRT |  | VMAT |  |  |  |  |  |  |  |  |  |
| Mean [Gy] | 9.1±1.9 |  | 9.0±1.6 |  | 9.2±1.8 |  |  |  |  |  |  |  |  |  |
| Median [Gy] | 5.6±1.5 |  | 5.1±1.3 |  | 5.7±1.5 |  | a,c |  |  |  |  |  |  |  |
| Max [Gy] | 44.1±0.7 |  | 43.7±0.9 |  | 43.8±0.9 |  | a |  |  |  |  |  |  |  |
| D1cc[Gy] | 43.0±0.5 |  | 42.7±0.7 |  | 42.7±0.6 |  | a,b |  |  |  |  |  |  |  |
| V5Gy[%] | 53.9±7.9 |  | 52.1±8.4 |  | 57.7±10.9 |  | b,c |  |  |  |  |  |  |  |
| V10Gy[%] | 33.2±6.6 |  | 30.8±4.4 |  | 31.3±5.9 |  | a,b |  |  |  |  |  |  |  |
| V15Gy [%] | 21.4±6.8 |  | 21.7±4.5 |  | 21.0±6.0 |  |  |  |  |  |  |  |  |  |
| V20Gy [%] | 12.5±6.0 |  | 14.3±4.5 |  | 12.6±5.0 |  | a,c |  |  |  |  |  |  |  |
| V25Gy [%] | 6.9±4.3 |  | 8.4±4.2 |  | 7.0±3.7 |  | a,c |  |  |  |  |  |  |  |
| V30Gy [%] | 4.2±3.2 |  | 5.0±3.1 |  | 4.2±2.7 |  | c |  |  |  |  |  |  |  |
| V40Gy [%] | 1.4±1.1 |  | 1.4±1.1 |  | 1.3±1.0 |  | c |  |  |  |  |  |  |  |
|  | Right Lung |  |  |  |  |  |  | Left Lung |  |  |  |  |  |  |
|  | Original |  | IMRT |  | VMAT |  |  | Original |  | IMRT |  | VMAT |  |  |
| Mean [Gy] | 8.9±2.3 |  | 8.7±2.0 |  | 9.0±2.1 |  | c | 9.3±2.0 |  | 9.4±1.7 |  | 9.3±1.9 |  |  |
| Median [Gy] | 5.4±1.5 |  | 4.8±1.3 |  | 5.5±1.4 |  | a,c | 6.1±2.2 |  | 5.5±1.7 |  | 6.0±1.7 |  | c |
| Max [Gy] | 44.0±0.9 |  | 43.7±1.0 |  | 43.6±0.9 |  | b | 43.5±1.0 |  | 42.9±1.0 |  | 43.3±1.0 |  | a |
| D1cc[Gy] | 42.6±1.1 |  | 42.4±1.0 |  | 42.3±1.3 |  |  | 42.1±1.3 |  | 41.7±1.1 |  | 41.9±1.0 |  | a |
| V5Gy[%] | 52.2±9.9 |  | 49.6±8.6 |  | 55.7±12.0 |  | b,c | 55.8±10.0 |  | 54.9±10.5 |  | 59.8±12.0 |  | b,c |
| V10Gy[%] | 31.4±8.1 |  | 28.3±5.9 |  | 29.5±7.1 |  | a | 35.2±8.4 |  | 33.6±6.2 |  | 33.3±6.6 |  |  |
| V15Gy [%] | 19.7±8.0 |  | 20.0±6.1 |  | 19.8±7.1 |  |  | 23.5±7.7 |  | 23.6±6.1 |  | 22.4±6.7 |  |  |
| V20Gy [%] | 11.8±7.2 |  | 13.5±6.0 |  | 12.1±6.2 |  | a,c | 13.2±6.2 |  | 15.2±4.9 |  | 13.1±5.4 |  | c |
| V25Gy [%] | 7.0±5.2 |  | 8.4±5.1 |  | 7.2±4.5 |  | a,c | 6.7±4.5 |  | 8.4±4.2 |  | 6.8±4.0 |  | c |
| V30Gy [%] | 4.6±3.8 |  | 5.3±3.7 |  | 4.5±3.1 |  | a,c | 3.6±3.2 |  | 4.6±3.0 |  | 3.8±3.0 |  | c |
| V40Gy [%] | 1.8±1.5 |  | 1.9±1.5 |  | 1.6±1.3 |  | c | 1.0±1.0 |  | 0.8±0.9 |  | 0.8±0.9 |  |  |
|  | Spinal Cord |  |  |  |  |  |  | Spinal Cord_PRV3 |  |  |  |  |  |  |
|  | Original | IMRT |  | VMAT |  |  |  | Original | IMRT |  | VMAT |  |  |  |
| Max [Gy] | 28.7±6.4 | 29.6±6.0 |  | 29.0±6.9 |  |  |  | 30.2±6.3 | 31.3±7.0 |  | 31.0±7.0 |  |  |  |
| D1%[Gy] | 27.1±6.2 | 27.9±5.9 |  | 28.0±6.9 |  |  |  | 28.3±6.4 | 29.2±6.6 |  | 29.2±7.1 |  |  |  |
| V30Gy [%] | 8.4±18.3 | 12.3±19.1 |  | 13.9±22.2 |  | b |  | 11.0±20.2 | 14.3±19.3 |  | 15.8±23.2 |  |  |  |
| V40Gy [%] | 0.0±0.0 | 0.0±0.0 |  | 0.6±2.3 |  |  |  | 0.0±0.2 | 0.0±0.0 |  | 0.9±3.1 |  |  |  |
|  | Liver |  |  |  |  |  |  | Spleen |  |  |  |  |  |  |
|  | Original | IMRT |  | VMAT |  |  |  | Original | IMRT |  | VMAT |  |  |  |
| Mean [Gy] | 12.4±3.2 | 12.8±3.3 |  | 12.7±3.0 |  |  |  | 12.5±3.6 | 11.2±4.4 |  | 12.7±4.2 |  |  |  |
| Median [Gy] | 10.4±4.1 | 11.4±4.7 |  | 10.8±3.3 |  |  |  | 11.8±3.9 | 9.6±5.3 |  | 11.8±4.2 |  |  |  |
| V10Gy[%] | 54.6±20.9 | 52.8±16.4 |  | 55.8±18.4 |  |  |  | 61.8±24.8 | 44.6±23.2 |  | 58.0±28.7 |  | a |  |
| V15Gy [%] | 32.6±13.6 | 39.2±15.8 |  | 31.8±12.5 |  | a,c |  | 31.2±23.4 | 29.7±23.9 |  | 32.2±26.7 |  |  |  |
| V20Gy [%] | 17.8±7.9 | 22.2±10.7 |  | 17.3±7.7 |  | a,c |  | 13.7±15.1 | 17.5±16.7 |  | 14.9±16.9 |  |  |  |
| V25Gy [%] | 9.5±4.9 | 11.0±6.1 |  | 9.5±4.9 |  | c |  | 4.4±5.6 | 8.1±10.7 |  | 6.3±8.6 |  |  |  |
| V30Gy [%] | 5.7±3.5 | 6.6±4.2 |  | 5.4±3.1 |  | c |  | 1.8±2.5 | 3.7±5.0 |  | 2.8±4.2 |  | a |  |
| V40Gy [%] | 1.5±0.9 | 2.1±1.5 |  | 1.7±1.1 |  | a,b,c |  | 0.3±0.8 | 0.5±0.9 |  | 0.3±0.8 |  | a,c |  |

a=Original vs IMRT	b=Original vs VMAT	c=IMRT vs VMAT

Supplement 4. Mean dosimetric parameters for all organs at risk, including the left and right lungs, whole lung, spinal cord, spinal cord PRV 3 mm, liver, and spleen. Reported parameters (varying by organ) include mean dose, median dose, maximum dose, D1cc, and V5Gy, V10Gy, V15Gy, V20Gy, V25Gy, V30Gy, and V40Gy for the original plan, replanned IMRT plan, and replanned VMAT plan. Significant differences are denoted by a (original vs. IMRT), b (original vs. VMAT), and c (IMRT vs. VMAT).

|  | CTV |  |  |  | PTV |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Original | IMRT | VMAT |  | Original | IMRT | VMAT |  |
| V90%[%] | 100.0±0.0 | 100.0±0.0 | 100.0±0.0 |  | 99.7±0.4 | 99.3±0.4 | 99.6±0.3 | a,c |
| V95%[%] | 99.9±0.1 | 99.8±0.4 | 99.9±0.2 |  | 96.9±1.5 | 96.9±1.1 | 96.8±1.0 |  |
| V107%[%] | 0.0±0.1 | 0.1±0.1 | 0.0±0.0 |  | 0.1±0.2 | 0.1±0.1 | 0.0±0.1 | c |
| D1%[Gy] | 43.1±0.3 | 43.2±0.5 | 43.1±0.4 |  | 43.3±0.3 | 43.2±0.4 | 43.2±0.3 |  |

a=Original vs IMRT	b=Original vs VMAT	c=IMRT vs VMAT

Supplement 5. Mean dosimetric parameters for the clinical target volume (CTV) and planning target volume (PTV), including V90%, V95%, V107%, and D1%, for the original plan, replanned IMRT plan, and replanned VMAT plan. Significant differences are indicated by a (original vs. IMRT), b (original vs. VMAT), and c (IMRT vs. VMAT).