Table S1 Parameters for MRI sequences

|  | MR Sequences |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Imaging parameter | Sagittal T1 FSE | Sagittal T2 FSE | Sagittal fat-sat PD FSE | Coronal fat-sat PD FSE | Axial fat-sat PD FSE |
| Repetition time (ms) | 640 | 4400 | 2000 | 2000 | 2000 |
| Echo time (ms) | 8.6 | 82 | 27.8 | 27.7 | 27.7 |
| Field of view (cm) | 16 | 16 | 16 | 16 | 16 |
| Section thickness (mm) | 3 | 3 | 3 | 3 | 3 |
| Spacing (mm) | 1 | 1 | 1 | 1 | 1 |
| Echo train length | 3 | 19 | 8 | 8 | 8 |