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	MR Sequences

	Imaging parameter
	Sagittal T1 FSE
	Sagittal T2 FSE
	Sagittal fat-sat PD FSE
	Coronal fat-sat PD FSE
	Axial fat-sat PD FSE

	Repetition time (ms)
	640
	4400
	2000
	2000
	2000

	Echo time (ms)
	8.6
	82
	27.8
	27.7
	27.7

	Field of view (cm)
	16
	16
	16
	16
	16

	Section thickness (mm)
	3
	3
	3
	3
	3

	Spacing (mm)
	1
	1
	1
	1
	1

	Echo train length
	3
	19
	8
	8
	8



