Additional file 2. Chromatographic conditions for UPLC analysis of AGNHW samples.

| Mobile phase | A: Acetonitrile B: 0.17% Phosphoric acid |  |
| --- | --- | --- |
| Gradient | Time (min) 0-2 2-15 15-23 23-45 45-50 50-60 60-70 | % A 10 10-23 23 23-35 35-45 45-55 55-90 |
| Flow rate | 1 ml/min |  |
| Detection wavelength | 240 nm |  |
| Injection volume | 10 µl |  |
| Column temperature | 30 0C |  |