Table S1. HPLC conditions for analysis standard compound and PLG extract.

| HPLC Conditions |  |  |  |
| --- | --- | --- | --- |
| Detector | 245nm |  |  |
| Column | X-bidge C18 Column (250 mm × 4.6 mm, 5 μm) |  |  |
| Column Temperature | 25℃ |  |  |
| Injection Volume | 10μL |  |  |
| Flow rate | 1.0mL / min |  |  |
| Mobile phase | Time (min) | A | B |
| A: Water B : Methanol | 0.0 | 97 | 3 |
|  | 12.0 | 90 | 10 |
|  | 17.0 | 80 | 20 |
|  | 25.0 | 80 | 20 |
|  | 35.0 | 70 | 30 |
|  | 40.0 | 60 | 40 |
|  | 50.0 | 0 | 100 |